SCOPE 1 МЛ

Sofia, 10.09.2024

UMBAL SVETI IVAN RILSKI EAD

/UNIVERSITY GENERAL HOSPITAL FOR ACTIVE TREATMENT/

LABORATORY ON PORPHYRIA AND

MOLECULAR DIAGNOSIS OF LIVER DISEASES

AT CLINICAL LABORATORY

Management address: 1431 Sofia, Triaditsa District, 15 Acad. Ivan Gesshov Blvd.

Laboratory address: 1431 Sofia, Triaditsa District, 15 Acad. Ivan Gesshov Blvd.

To perform testing of:

| Type of the scope: Fixed |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods ### (standard / validated method) |
| 1 | 2 | 3 | ### 4 |
| ### Field of activity of the medical laboratory: Virology |  |  |  |
| 1. | Blood serum/ plasma | Quantification of HBV DNA | ### Real Time PCR ПК-5.5.3-04/2023 - PRM: 3th WHO IS for HBV NAT, NIBSC code 10/264, - PEI Reference Preparation, HBV DNA - LightCycler 1.5 – PCR Real-Time, Roche Diagnostic. |
| 2. |  | Quantification of HCV RNA | Real Time PCR ПК-5.5.3-03/2023 - PRM: 5th WHO IS for HCV NAT, NIBSC code 14/150, PEI Reference Preparation, HCV RNA - LightCycler 1.5 – PCR Real-Time, Roche Diagnostic. |
| 3. |  | Determination of HCV genotype | Real Time PCR ПК-5.5.3-03/2023 - PRM: 5th WHO IS for HCV NAT, NIBSC code 14/150, PEI Reference Preparation, HCV RNA - LightCycler 1.5 – PCR Real-Time, Roche Diagnostic. |

References:

| ### Code/Validation Date | Procedure Name | Procedure Type |
| --- | --- | --- |
| ### ПК-5.5.3-04/2023 | Quantification of HBV DNA | Operating internal documented procedure developed in accordance with manufacturer’s instruction and inserts to kit packaging |
| ### ПК-5.5.3-03/2023 | Quantification of HCV RNA |  |
| ### ПК-5.5.3-03/2023 | Determination of HCV genotype |  |