




                   




ORDER

№ A 288

Sofia, 01.09.2025
[bookmark: bookmark0]
[bookmark: _Hlk63245839]
INSPECTION BODY „STATIC EQUIPMENT CONTROL AND DIAGNOSTICS“, TYPE С 
at „R TEST“ LTD, 
town of Burgas

Registered office: 8010 Burgas, Slaveykov Complex, bl. 150, office floor
Office address: 8010 Kameno, Production facility of “PMU” JSC



To perform inspection of:

Scope type: flexible*
	№
	Field of inspection
	Type of inspection
	Parameter of Inspection/ Characteristic
	Test and Measurement Methods Used During Inspection, Inspection Procedure
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	1.
	Non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints
	new and/or in use/operation products and facilities
	type and size of discontinuities/ imperfections through radiographic control method
	БДС EN ISO 5579
БДС EN ISO 17636-1
БДС EN 12681-1 
БДС EN ISO 10893-6 

Procedure of non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints (type and size of discontinuities/ imperfections through radiographic control method) -  WP 7.1.1

	Regulation*1 (art. 19; 21), SG #64/ 2008;  
Regulation*2 (art. 6; 9), SG #67/2004;
Regulation*3 (art. 105), SG #82/ 2004;
Regulation*4 (art. 7; 26), SG #104/ 2004; 
Regulation*5 (art. 52; 156; 157), SG #66/ 2001;
Instruction*6; 
TC*7;    
БДС EN 14015
БДС EN 14163+AC
БДС EN 12732+A1
БДС EN 13445-5+A1
БДС EN 13480-5+A1 
БДС EN 12952-6
БДС EN ISO 286-1 +A1 +A2 +AC
БДС EN ISO 17636
БДС EN ISO 5817
БДС EN ISO 6520-1
БДС EN ISO 10675-1
БДС EN 12681-1
БДС EN ISO 10893-6
БДС 13060

	2.
	Non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints
	new and/or in use/ operation products and facilities
	type and size of discontinuities/ imperfections/ indications through penetrating liquids control method
	БДС EN ISO 3542-1
БДС EN ISO 3452-5
БДС EN ISO 3452-6
БДС EN ISO 10893-4
БДС EN 1371-1 
БДС EN 1371-2
БДС EN 10228-2
БДС EN ISO 3059 
БДС 15830 
(revoked)

Procedure of non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints (type and size of discontinuities/ imperfections/ indications through penetrating liquids  control method) -  WP 7.1.2
	Regulation*1 (art. 20; 21), SG #64/ 2008;  
Regulation*2 (art. 6; 9), SG #32/ 2009;
Regulation*3 (art. 6; 9), SG #67/ 2004;
Regulation*4 (art. 7), SG #104/ 2004; 
Regulation*5 (art. 52; 156; 157), SG #66/ 2001;
Instruction*6;
TС*7     
БДС EN 14015
БДС EN 14163+AC
БДС EN 12732+A1
БДС EN 13445-5+A1
БДС EN 13480-5+A1 
БДС EN 12952-6
БДС EN ISO 286-1 +A1 +A2 +AC
БДС EN ISO 17635
БДС EN ISO 5817
БДС EN ISO 6520-1
БДС EN ISO 23277
БДС EN 1371-1
БДС EN 1371-2
БДС EN 10228-2
БДС EN ISO 10893-4

	3.
	Non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints
	new and/or in use/ operation products and facilities
	type and size of discontinuities/ imperfections/ indications through magnetic-powder control method 
	БДС EN ISO 9934-1
БДС EN ISO 17638
БДС EN 10228-1
БДС EN 1369
БДС EN ISO 10893-5 
БДС EN ISO 3059 
БДС 7156 
БДС 15575 

Procedure of non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints (type and size of discontinuities/ imperfections/ indications through magnetic-powder  control method) -  WP 7.1.3
	Regulation*1 (art. 20; 21), SG #64/2008; 
Regulation*2 (art. 6; 9), SG #67/2004;
Regulation*3 (art. 105), SG #82/2004;
Regulation*4, SG #46/2007;  
Regulation*5 (art. 52; 156; 157), SG #66/ 2001;
Instruction*6; 
TС*7   
БДС EN 14015
БДС EN 14163+AC
БДС EN 12732+A1
БДС EN 13445-5+A1
БДС EN 13480-5+A1 
БДС EN 12952-6
БДС EN ISO 286-1 +A1 +A2 +AC
БДС EN ISO 17635
БДС EN ISO 5817
БДС EN ISO 6520-1
БДС EN ISO 23278 
БДС EN 10228-2
БДС EN 1369
БДС EN ISO 10893-5   

	4.
	Non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints
	new and/or in use/operation products and facilities
	type and size of discontinuities/ imperfections through visual control method
	БДС EN ISO 13018
БДС EN ISO 17637

Procedure of non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints (type and size of discontinuities/ imperfections  through visual   control method) -  WP 7.1.4  
	Regulation*1 (art. 19; 20; 21), SG #64/ 2008; 
Regulation*2 (art. 6; 9), SG #67/2004;
Regulation*3 (art. 105), SG #82/2004;
Regulation*4 (art. 7), SG #104/2004;  
Regulation*5 (art. 52; 156; 157), SG #66/ 2001;
Instruction*6; 
TС*7     
БДС EN 14015
БДС EN 14163+AC
БДС EN 12732+A1
БДС EN 13445-5+A1
БДС EN 13480-5+A1 
БДС EN 12952-6
БДС EN ISO 286-1 +A1 +A2 +AC
БДС EN ISO 17635
БДС EN ISO 5817
БДС EN ISO 6520-1

	5.
	Metals and metal equipment, pressure vessels, reservoirs, pipelines
	new and/or in use/ operation products and facilities
	Coating thickness through magnetic control method
	БДС EN ISO 2178

Procedure of control of metals and metal equipment, pressure vessels, reservoirs, pipelines (coating thickness through magnetic control method) – WP 7.1.5
	TС*7

	6.
	Metals and metal equipment: basic metal, welded joints and samples thereof – hardness
	new and/or in use/ operation products and facilities
	Brinell hardness through Poldi method
	BDS БДС 7179 (revoked without replacement)

Procedure of control of metals and metal equipment: basic metal, welded joints and samples thereof  (control of  Brinell hardness through Poldi method) – WP 7.1.6
	TС*7

	7.
	Non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints
	new and/or in use/operation products and facilities
	type and size of discontinuities/ imperfections through ultrasound control method
	БДС 9234 (revoked without replacemen)
БДС EN ISO 16810
БДС EN ISO 23279
БДС EN 10160 

Procedure of non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints (type and size of discontinuities/ imperfections through ultrasound control method) -  WP 7.1.7 

	Regulation*1 (art. 19; 21), SG #64/ 2008; 
Regulation*2 (art. 6; 9), SG #67/2004;
Regulation*3 (art. 105, SG #82/ 2004;
Regulation*4 (art. 7; 26), SG #104/ 2004; 
Instruction*6, 
NEK, 1996      
БДС EN ISO 17635
БДС 9234 (revoked without replacement)
БДС 13661
БДС EN 10160
БДС EN 11666
БДС EN 14015 
БДС EN 13445-5+A1
БДС EN 13480-5+A1 
БДС EN 14163+AC
БДС EN ISO 12732 +A1 
БДС EN ISO 5817 
ТС

	8.
	Non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints
	new and/or in use/operation products and facilities
	control of metals and metal equipment (wall thickness under ultrasound  control method)
	БДС EN ISO 16809

Procedure of non-destructive control of metals and metal equipment, pressure vessels, reservoirs, pipelines: basic metal and welded joints (wall thickness under ultrasound  control method) -  WP 7.1.8  
	Regulation*1 (art. 218; 269; 273), SG #64/ 2008;  
Regulation*2 (art. 6; 9), SG #67/2004; 
Regulation*3 (art. 5; 6), SG #82/ 2004;
Regulation*4 (art. 7), SG #104/ 2004; 
Instruction*6, 
NEK, 1996      
TC

	9.
	Electric equipment and facilities for voltage up to 1000V
	new and/or in operation sites and facilities
	Resistance of insulation
	БДС 1986, items 3.3 a), b), e), and f) 
PK 7.1-1
	Regulation No. 3 (SG #90 & 91/2004)
 Regulation No. 16-116 (SG #26/2008)
TC

	
	
	
	Impedance of “phase-protective conductor” loop
	PK 7.1-4
	Regulation No. 3 (SG #90 & 91/2004)
 Regulation No. 16-116 (SG #26/2008)
TC  

	10.
	Electric equipment and facilities for voltage up to 1000V
Protective circuit breakers
	new and/or in operation sites and facilities
	Trigger current
Contact voltage
	PK 7.1-5
	Regulation No. 3 (SG #90 & 91/2004)
 Regulation No. 16-116 (SG #26/2008)
TC

	11.
	Electric equipment and facilities up to and over 1000V
	new and/or in operation sites and facilities
	Resistance of protective earthing systems
	PK 7.1-2
	Regulation No. 3 (SG #90 & 91/2004)
 Regulation No. 16-116 (SG #26/2008)
TC

	
	
	
	Resistance of lightning-protection earthing systems
	PK 7.1-3
	Regulation No. 4 (SG #6/2011)
Regulation No. 3 (SG #90 & 91/2004)
 Regulation No. 16-116 (SG #26/2008)
TC

	12.
	Electric equipment and facilities up to and over 1000V
	new and/or in operation sites and facilities
	Active resistance
	PK 7.1-6
	Regulation No. 3 (SG #90 & 91/2004)
TC

	13.
	Electric equipment and facilities up to and over 1000V
	new and/or in operation sites and facilities
	Insulation resistance of electric apparatuses and machines
	PK 7.1-7
	Regulation No. 3 (SG #90 & 91/2004)
TC



*The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the Conformity Assessment Body (САВ).

Regulation (art. 19; art. 20; art. 21; art. 218; art. 269; art. 273) – Regulations adopted by Ordinance of the Council of Ministers No. 164 “Regulations on the arrangement, safe operation and technical supervision of pressure equipment” (State Gazette #64/2008);
Regulation – “Regulations on the arrangement, safe operation of transfer and distribution gas pipelines and of the facilities, installations and devices for natural gas” (State Gazette #67/2004);
Regulation – “Regulations on the arrangement, safe operation and technical supervision of gas facilities and installations for liquefied hydrocarbon gases” (State Gazette #82/2004);
Regulation – Regulations on the arrangement and safe operation of pipelines for crude oil and oil products” (State Gazette #104/2004);
Regulation (art. 52; art. 156; art. 157) – Regulations adopted by Ordinance of the Council of Ministers No. 187 “Regulations on the arrangement, operation and technical supervision of acetylene installations” (State Gazette #66/2001);
Regulation – “Regulations on the arrangement, safe operation and technical supervision of pressurized vessels” (State Gazette #64/2008);
Regulation No. 3 – on the arrangement of electric installations and power transfer lines (State Gazette #90 & 91/2004);
Regulation No. 16-116 – on the technical operation of the electric equipment (State Gazette #26/2008);
Regulation No. 4 – on the lightning protection of buildings, outdoor facilities and open spaces (State Gazette #6/2011);
Instruction – Instruction of the control of metals and evaluation of the technical condition of boiler, turbines and pipelines components and systems in Thermal power plants (NEK, 1996);
Instruction – “Instruction of the control of metals and evaluation of the technical condition of boiler, turbines and pipelines components and systems in Thermal power plants”;
[bookmark: _GoBack]TC – technical specification.
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