ORDER

№ A 309
Sofia, 30.09.2025
INSPECTION BODY “4M ENERGY”, TYPE C 

AT "4M ENERGY” Ltd, TOWN OF VARNA
Management and office address: 9020 Varna, Vladislav Varnenchik District, 
273 Slivnitsa blvd.
To perform inspection of the following scope:
	Scope type: Flexible*

	№ 
	Field of Inspection
	Type of Inspection
	Parameter of Inspection/ Characteristic
	Test and Measurement Methods Used During Inspection
	Ordinances, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	1
	Electrical systems and equipment up to 1000V
	of new and/or

operational sites/

equipment
	Phase-protective conductor loop impedance
	RPK 01
	Ordinance № 16-116, 

SG issue 26/2008;

Ordinance № 3, 

SG issue 90, 91/2004; 

TS

	2
	Electrical systems and equipment up to 1000V
	of new and/or

operational sites/

equipment
	Circuit breakers for zero-sequence currents:

-touch voltage,

-tripping current

-switch-off time

	RPK 02
	Ordinance № 16-116, 

SG issue 26/2008;

Ordinance № 3, 

SG issue 90, 91/2004; 

TS


	1
	2
	3
	4
	5
	6

	3
	Electrical systems and equipment up to and above 1000 V
	of new and/or operational sites/equipment
	Insulation resistance
	БДС 1986, item 3.3 (a), (b), (e) (f)
RPK 03;
	Ordinance № 16-116, SG, issue 26/2008; TS
Ordinance № 3, SG issue 90, 91/2004;
TS

	4
	Electrical systems and equipment up to and above 1000 V
	of new and/or operational sites/equipment
	Resistance of protective earthing systems
	RPK 04;
	Ordinance № 16-116, SG issue 26/2008; TS

Ordinance № 3, SG issue 90, 91/2004; TS

	5
	Electrical systems and equipment up to and above 1000 V
	of new and/or operational sites/equipment
	Impulse resistance of lightning protection earthing systems.
	RPK 05;
	Ordinance № 3, SG issue 90, 91/2004;
Ordinance № 4/OLPBEFOS - 2010, SG issue 6/2011; TS

	6
	Microclimate in working and living environment
	of new and/or operational sites/equipment
	Air temperature,
Relative atmospheric humidity,
Air velocity.
	БДС 16686;
Ordinance № РД-07-3, SG issue 63/2014;
RPK 06;
	Ordinance № 2, SG issue 15/2007;
Ordinance № 3, SG issue 15/2007;
Ordinance № 9, SG issue 46/1994;
Ordinance № 24, SG issue 95/2003;
Ordinance № 26 SG issue 103/2008; Ordinance № РД-07-3
SG issue 63/2014;
БДС 14776, TS


	7
	Artificial lighting in working and living environment
	of new and/or operational sites/equipment
	Illuminance.
	Methodological Guidelines for Measurement and assessment of Artificial Lighting in Buildings year 1985;
RPK 07;
	Ordinance № 49, SG issue 7/1976;
Ordinance № 24, SG issue 95/2003;
Ordinance № 9, SG issue 46/1994;
Ordinance № 2
SG issue 15/2007;
Ordinance № 26, SG issue 103/2008;
Ordinance № 3, SG issue 15/2007;
БДС EN 12464-1;
TS

	8
	Ventilation systems
	of new and/or operational sites/equipment
	Air flow speed,
Airflow flow rate.
	БДС 12.3.018;
RPK 08
	Ordinance № 15, SG issue 68/2005;
TS


*The introduction of a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

Ordinance № 3 on the arrangement of electrical appliances and power lines, SG issue 90-91/2004;
Ordinance № 16-116 technical operation of electrical equipment, SG issue 26/2008; 

Ordinance № 4 on lightning protection of buildings, external facilities and open spaces, SG issue 6/2011;
Ordinance № 2 on health and hygiene requirements for public computer and internet halls (SG issue 15/2007);

Ordinance № 3 on health requirements for kindergartens (SG issue 15/2007);

Ordinance № 9 on health and hygiene requirements for the use of personal computers in the education and extra-curricular activities of students (SG issue 46/1994);

Ordinance № 24 on sanitary and hygiene requirements for discotheques (SG issue 95/2003); 

Ordinance № 49 on artificial lighting of buildings (SG issue 7/1976);
Ordinance № 26 of November 18, 2008 on the organization and operation of nurseries and nursery kitchens and the health requirements for them, SG issue 103/2008;

Ordinance № RD-07-3 on the minimal climate requirements for workplaces (SG issue 63/2014);
Ordinance № 15 on the technical rules and norms for design, construction and operation of sites and facilities for production, transmission and distribution of thermal energy (SG issue 68/2005);
Methodological instructions for measuring and assessing artificial lighting in buildings 40-85, Collection of methods of the National Center for Hygiene, Medical Ecology and Nutrition, Vol. IV, issued Standardization, 1985; 

TS - Technical specification.
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