SCOPE 237 ЛИ

Sofia, 31.10.2025

BOBOV DOL THERMAL POWER PLANT AD

COAL LABORATORY

Management and laboratory address: 2635 Golemo Selo, Kyustendil Region

To perform testing of:

| Type of the scope: flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested Products | Type of Test/Characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Solid fuels: Lignite coal (1) Brown coal (2) Hard coal (3) Oil shale (4) | 1.1. Ash - working state of the fuel; - dry state of the fuel; | БДС ISO 1171 (1,2,3,4) БДС ISO 1170 |
|  |  | 1.2. Total moisture | БДС ISO 5068-1 (1,2) |
|  |  |  | БДС ISO 589 (3) |
|  |  |  | VLM 3:07.11.2024 (4) |
|  |  | 1.3. Moisture in sample for analysis | БДС ISO 5068-2 (1,2) |
|  |  |  | БДС ISO 11722 (3) |
|  |  |  | VLM 3:07.11.2024 (4) |
|  |  | 1.4. Heat of combustion - upper (fuel operational condition; fuel dry condition) - lower (fuel operational condition; fuel dry condition) | БДС ISO 1928 (1, 2, 3, 4) БДС ISO 1170 |
|  |  | 1.5. Volatile substances - working state of the fuel; - dry state of the fuel; - dry ashless state of the fuel | БДС ISO 5071-1 (1,2) БДС ISO 1170 |
|  |  |  | БДС ISO 562 (3) БДС ISO 1170 |
|  |  | 1.6. Total sulfur - working condition of the fuel; - dry condition of the fuel; - dry ashless condition of the fuel | БДС ISO 334 (1,2,3) БДС ISO 1170 |
| 2. | Solid biofuels: (Biomass, Briquettes, Pellets) | 2.1. Total moisture | БДС EN ISO 18134-2 VLM 3:07.11.2024 |
|  |  | 2.2. Analytical moisture | БДС EN ISO 18134-3 |
|  |  | 2.3. Ash - working condition - dry condition | БДС EN ISO 18122 БДС ISO 16993 |
|  |  | 2.4. Volatile substances - working state; - dry state; - dry ashless state | БДС EN ISO 18123 БДС ISO 16993 |
|  |  | 2.5. Total sulfur - working condition; - dry condition | БДС EN ISO 16994, cl. 4.4. VLM 1:07.06.2023 БДС ISO 16993 |
|  |  | 2.6. Calorific value - upper (working condition; dry condition) - lower (working condition; dry condition) | БДС EN ISO 18125 БДС ISO 16993 |
|  |  | 2.7. Total carbon - working condition; - dry condition | VLM 2:07.06.2023 БДС ISO 16993 |

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling Metods (standardized/validated) |
| 1 | 2 | 3 |
| 1. | Brown and lignite coal | БДС ISO 5069-1* cl. 4.2 and cl. 4.3. БДС ISO 5069-2* |
| 2. | Coal Lignite coal (1) Brown coal (2) Hard coal (3) | БДС ISO 18283 (1,2,3) |

*Repealed but not replaced standard.

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.

Fixed scope references:

1. VLM 1:07.06.2023 In-house laboratory method for determinating of the sulphur content by infrared spectrometry ELTRA CS 530;

2. VLM 2:07.06.2023 In-house laboratory method for determinating of the carbon content by infrared spectrometry ELTRA CS 530.

3. VLM 3:07.11.2024 In-house laboratory method. Determination of moisture content by moisture analyzer.