SCOPE 123 ЛИ

Sofia, 31.10.2025

WATER SUPPLY AND SEWERAGE - SHUMEN LTD.

WATER TESTING LABORATORY

Management address: 9700, Shumen, 1 Voyn Sqr.

Laboratory address: 9811, Dibich, Shumen Municipality, Chernilka Area,

Land plot № 20938.502.28

To perform testing of:

| Type of the scope: flexible for a part of the scope* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Water: Wastewater (1), groundwater (2), surface water (3), drinking water (4) | 1.1 Active reaction рН | БДС EN ISO 10523 (1,2,3,4) |
|  |  | 1.2 Temperature | БДС 17.1.4.01 (1) |
|  |  | 1.3 Undissolved (insoluble) substances | БДС 17.1.4.04 (1) |
|  |  | 1.4 Dissolved substances | БДС 17.1.4.04 (1) |
|  |  | 1.5 Total dry residue | БДС 17.1.4.04 (1,2) |
|  |  | 1.6 Suspended solids/ Insoluble substances | БДС EN 872 (1,2,3) |
|  |  | 1.7 Dissolved oxygen | БДС EN 25813 (1) ISO 17289 (1,2,3) |
|  |  | 1.8 COD(Chemical oxygen demant) | VLM 10/2024 (1,3) |
|  |  | 1.9 BOD5 (Biochemical oxygen demant, 5 days) | БДС EN ISO 5815-1 (1,3) |
|  |  | 1.10. Total nitrogen | VLM 01/2025 (1) |
|  |  | 1.11. Nitrate nitrogen/ Nitrates | VLM 05/2024 (1,2,3,4) БДС ISO 7890-3 (1,2,4) |
|  |  | 1.12. Nitrite nitrogen/ Nitrites | VLM 03/2024 (1,2,3,4) БДС EN 26777 (1,2,4) |
|  |  | 1.13. Ammonium nitrogen/ Ammonium | VLM 19/2024 (1,2,3,4) БДС ISO 7150-1 (1,2,4) |
|  |  | 1.14. Orthophosphates/ Orthophosphates (as Phosphorus) | VLM 02/2024 (1,2,4) |
|  |  | 1.15. Total Phosphorus/ Total Phosphorus (as PO4) | VLM 02/2024 (1,2) |
|  |  | 1.16. Copper | VLM 08/2024 (1,4) |
|  |  | 1.17. Lead | VLM 18/2024 (1) |
|  |  | 1.18. Zinc | VLM 12/2024 (1,4) |
|  |  | 1.19. Nickel | VLM 11/2024 (1) |
|  |  | 1.20. Iron | VLM 13/2024 (1,2,4) |
|  |  | 1.21. Cadmium | VLM 15/2024 (1) |
|  |  | 1.22. Total chromium/ Hexavalent chromium | VLM 16/2025 (1) |
|  |  | 1.23. Free cyanides | VLM 09/2024 (1,4) |
|  |  | 1.24. Anionic surfactants (A-LAS) | VLM 14/2025 (1) |
|  |  | 1.25. Chlorides | ISO 9297 (1,2,4) |
|  |  | 1.26. Fluorides | VLM 20/2024 (1,4) |
|  |  | 1.27. Sulphates | VLM 22/2024 (2,4) |
|  |  | 1.28. Manganese | VLM 06/2024 (2,4) |
|  |  | 1.29. Free residual chlorine | VLM 07/2025 (4) |
|  |  | 1.30. Permanganate index/ Permanganate oxidizability | БДС EN ISO 8467 (2,4) |
|  |  | 1.31. Colour | БДС 8451, cl. 2 /Amd. 1 (4) |
|  |  | 1.32. Taste | БДС 8451, cl.3 (4) |
|  |  | 1.33. Odour | БДС 8451, cl.4 (4) |
|  |  | 1.34. Electrical conductivity | БДС EN 27888 (2,4) |
|  |  | 1.35. Turbidity | БДС EN ISO 7027-1 (4) |
|  |  | 1.36. Total hardness (sum of calcium and magnesium) | БДС ISO 6059 (2,4) |
|  |  | 1.37. Magnesium | VLM 23/2024 (2,4) |
|  |  | 1.38. Calcium | БДС ISO 6058 (2,4) |
|  |  | 1.39. Aluminium | VLM 21/2024 (2,4) |

To perform sampling of:

| Type of the scope: flexible * |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Wastewater | БДС ISO 5667-10 |
| 2. | Groundwater | БДС ISO 5667-11 |
| 3. | Surface water | БДС ISO 5667-4 |
| 4. | Drinking water | БДС ISO 5667-5 БДС EN ISO 19458 |

*Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope references:

1. VLM 01/2025 Validated laboratory method for the determination of Total Nitrogen (photometric method)

2. VLM 02/2024 Validated laboratory method for the determination of Orthophosphates, Orthophosphates (as Phosphorus), Total Phosphorus, Total Phosphorus (as PO4) (photometric method)

3. VLM 03/2024 Validated laboratory method for the determination of Nitrite Nitrogen / Nitrites (photometric method)

4. VLM 05/2024 Validated laboratory method for the determination of Nitrate Nitrogen / Nitrates (photometric method)

5. VLM 06/2024 Validated laboratory metho d for the determination of Manganese (photometric method)

6. VLM 07/2025 Validated laboratory method for the determination of Free Residual Chlorine (photometric method)

7. VLM 08/2024 Validated laboratory method for the determination of Copper (photometric method)

8. VLM 09/2024 Validated laboratory method for the determination of Free Cyanides (photometric method)

9. VLM 10/2024 Validated laboratory method for the determination of COD (photometric method)

10. VLM 11/2024 Validated laboratory method for the determination of Nickel (photometric method)

11. VLM 12/2024 Validated laboratory method for the determination of Zinc (photometric method)

12. VLM 13/2024 Validated laboratory method for the determination of Total Iron/ Dissolved Iron (photometric method)

13. VLM 14/2025 Validated laboratory method for the determination of Anionic Surfactants (A- LAS) (photometric method)

14. VLM15/2024 Validated laboratory   method   for   the determination of Cadmium (photometric method)

15. VLM 16/2025 Validated laboratory method for the determination of Hexavalent Chromium/ Total Chromium (photometric method)

16. VLM 18/2024 Validated laboratory method for the determination of Lead (photometric method)

17. VLM 19/2024 Validated laboratory method for the determination of Ammonium Nitrogen/ Ammonium (photometric method)

18. VLM 20/2024 Validated laboratory method for the determination of Fluorides (photometric method)

19. VLM 21/2024 Validated laboratory method for the determination of Aluminium (photometric method)

20. VLM 22/2024 Validated laboratory method for the determination of Sulphates (photometric method)

21. VLM 23/2024 Validated laboratory method for the determination of Magnesium (calculation method)