SCOPE 323 ЛИ

Sofia, 01.12.2025

RESEARCH AND CERTIFICATION CENTRE

FOR BUILDING MATERIALS LTD (ISZSM LTD)

TESTING LABORATORY

Management address: Sofia, Manastirski Livadi, 86 Ralevitsa Str,

Laboratory address: Sofia, Druzhba 1, 14 Asen Yordanov Blvd.

To perform testing of:

| Type of the scope: fixed |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/ characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Plastic piping and connecting parts | Appearance | БДС EN 12201-2:2024, БДС EN 13476-3:2018+А1:2020 БДС EN 1451-1:2018 |
|  |  | Sizes | БДС EN ISO 3126:2005 |
|  |  | Melt index | БДС EN ISO 1133-1:2022 |
|  |  | Tensile elongation at break | БДС EN ISO 6259-1:2015 БДС EN ISO 6259-3:2015 |
|  |  | Oxidation induction time (OIT) | БДС EN ISO 11357-6:2025 |
|  |  | Resistance to internal hydrostatic pressure | БДС EN ISO 1167-1:2006 БДС EN ISO 1167-2:2006 |
|  |  | Longitudinal shrinkage | БДС EN ISO 2505:2023 |
| 2. | Products for decorative coatings | Adhesion | БДС EN ISO 4624:2023 |
|  |  | Wet friction resistance | БДС EN ISO 11998:2006 |
|  |  | Film gloss | БДС EN ISO 2813:2015 |
|  |  | Water vapor transmission rate (WVTR) | БДС EN 1062-3:2008 |
|  |  | Water vapor transmission properties: - water vapor transmission rate; - equivalent layer thickness air under diffusion conditions | БДС EN ISO 7783:2019 Wet plate method |
| 3. | Construction mortars, including: Masonry mortars; Floor screed mortars | Adhesion strength | БДС EN 13892-8:2003 |
|  |  | Wear resistance VCA method | БДС EN 13892-4:2003 |
|  |  | Bulk density of fresh mortar | БДС EN 1015-6:2001/А1:2007 |
| 4. | Products and systems for the protection and restoration of concrete structures | Adhesion under tensile load | БДС EN 1542:2002 |
|  |  | Water permeability coefficient | БДС EN 1062-3:2008 |
|  |  | Crack resistance | БДС EN 1062-7:2006 Method A Uniform Crack Growth |