SCOPE 75 ЛИ

Sofia, 11.12.2025

ECO-CONSULT-ENGINEERING LTD

LABORATORY FOR ENVIRONMENT COMPONENT ANALYSIS

Management and laboratory address:

8010 Burgas, Slaveykov Residential Complex, Bl. 126, Ent. A, Floor 3, Office 9

To perform testing of:

| Type of the scope: flexible for part of the scope * |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/ characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Water, waste (1); Water, surface (2); Water, coastal sea (3); Water, drinking (4); Water, lake (5); Water, ground (6); | 1.1. Active reaction (pH) | БДС EN ISO 10523 (1), (2), (3), (4), (5), (6) БДС 3424 (4) ЕРА 150.1 (1), (2), (3), (4), (5), (6) |
|  |  | 1.2. Temperature | БДС 17.1.4.01 (1) VILM 34:2021 (1), (2), (3), (4), (5), (6) |
|  |  | 1.3. Total dry solids | БДС 17.1.4.04 (1), (2), (5), (6) |
|  |  | 1.4. Dissolved solids |  |
|  |  | 1.5. Suspended solids | БДС 17.1.4.04 (1), (2), (5), (6) БДС EN 872 (1), (2), (4), (5), (6) |
|  |  | 1.6. Undissolved solids |  |
|  |  | 1.7. Chloride | БДС 17.1.4.24 (1), (2), (5), (6) ISO 9297 (1), (2), (4), (5), (6) БДС EN ISO 10304-1 (1), (2), (4), (5), (6) |
|  |  | 1.8. Total chlorine | БДС EN ISO 7393-3 (1), (2), (4), (5), (6) |
|  |  | 1.9. Free chlorine | VILM 21:2007 (1), (2), (4), (5), (6) |
|  |  | 1.10. Residual free chlorine |  |
|  |  | 1.11. Chemical oxygen demand (COD) | ISO 15705 (1), (2), (4), (5), (6) |
|  |  | 1.12. Bichromatic oxidation |  |
|  |  | 1.13. Ammonium | БДС ISO 7150-1 (1), (2), (4), (5), (6) |
|  |  | 1.14. Ammonium ions | БДС ISO 7150-1 (1), (2), (4), (5), (6) VILM 29:2011 (1), (2), (3), (4), (5), (6) |
|  |  | 1.15. Ammoniacal nitrogen |  |
|  |  | 1.16. Nitrites | БДС EN 26777 (1), (2), (4), (5), (6) VILM 30:2011 (1), (2), (3), (4), (5), (6) БДС EN ISO 10304-1 (1), (2), (4), (5), (6) |
|  |  | 1.17. Nitrite-nitrogen |  |
|  |  | 1.18. Nitrates | БДС ISO 7890-3 (1), (2), (5), (6) VILM 11:2006 (1), (2), (4), (5), (6) VILM 15:2007 (3) БДС EN ISO 10304-1 (1), (2), (4), (5), (6) |
|  |  | 1.19. Nitrate-nitrogen |  |
|  |  | 1.20. Sulphides | БДС 17.1.4.09 (1), (2), (5), (6) VILM 16:2006 (1), (2), (4), (5), (6) |
|  |  | 1.21. Hydrogen sulphide |  |
|  |  | 1.22. Hexavalent chromium | ISO 11083 (1), (2), (4), (5), (6); VILM 03:2005 (1), (2), (3), (4), (5), (6) БДС 17.1.4.17 (1), (2), (5), (6) |
|  |  | 1.23. Trivalent chromium | VILM 03:2005 (1), (2), (3), (4), (5), (6) БДС 17.1.4.17 (1), (2), (5), (6) |
|  |  | 1.24. Total chromium | VILM 03:2005 (1), (2), (3), (4), (5), (6) БДС 17.1.4.17 (1), (2), (5), (6) |
|  |  | 1.25. Iron dissolved | БДС ISO 6332 (1), (2), (4), (5), (6) |
|  |  | 1.26. Iron total |  |
|  |  | 1.27. Biochemical oxygen demand (BOD)5 | БДС EN 1899-2 (1), (2), (3), (4), (5), (6) БДС EN ISO 5815-1 (1), (2), (3), (4), (5), (6) ISO 5815-2 (1), (2), (3), (4), (5), (6) |
|  |  | 1.28. Nitrogen total | БДС EN ISO 20236 (1), (2), (3), (4), (5), (6) |
|  |  | 1.29. Total bound nitrogen |  |
|  |  | 1.30. Total Kjeldahl nitrogen | БДС EN 25663 (1), (2), (4), (5), (6) ЕРА 351.3 (2), (5) |
|  |  | 1.31. Petroleum products | VILM 01:2021 (1), (2), (3), (4), (5), (6) ЕРА 1664В (1), (2), (4), (5), (б) БДС EN ISO 9377-2 (1), (2), (5), (6) |
|  |  | 1.32. Hydrocarbon index (HI) |  |
|  |  | 1.33. Phenols | БДС ISO 6439 (1), (2), (4), (5) VILM 20:2007 (1), (2), (5), (6) |
|  |  | 1.34. Phenol index | БДС ISO 6439 (1), (2), (3), (4), (5) |
|  |  | 1.35. Total phosphorus (Pt) | БДС EN ISO 6878 (1), (2), (3), (4), (5), (6) VILM 12:2006 (1), (2), (3), (4), (5), (6) |
|  |  | 1.36. Phosphorus such as phosphates (Р04-Р) |  |
|  |  | 1.37. Phosphates (РО4) | БДС EN ISO 6878 (1), (2), (4), (4), (5), (6) VILM 12:2006 (1), (2), (3),(4) (5), (6) БДС EN ISO 10304-1 (1), (2), (4), (5), (6) |
|  |  | 1.38 Phosphates (such as Р) |  |
|  |  | 1.39 Orthophosphate |  |
|  |  | 1.40. Element contents: | БДС EN ISO 11885 (1), (2), (4), (5), (6) |
|  |  | 1.40.1. Aluminium (Al) |  |
|  |  | 1.40.2. Arsenic (As) |  |
|  |  | 1.40.3. Antimony (Sb) |  |
|  |  | 1.40.4. Barium (Ва) |  |
|  |  | 1.40.5. Boron (В) |  |
|  |  | 1.40.6. Selenium (Se) |  |
|  |  | 1.40.7. Cadmium (Cd) |  |
|  |  | 1.40.8. Potassium (К) |  |
|  |  | 1.40.9. Cobalt (Co) |  |
|  |  | 1.40.10. Manganese (Мn) |  |
|  |  | 1.40.11. Molybdenum (Мо) |  |
|  |  | 1.40.12. Sodium (Na) |  |
|  |  | 1.40.13. Nickel (Ni) |  |
|  |  | 1.40.14. Copper (Сu) |  |
|  |  | 1.40.15. Zink (Zn) |  |
|  |  | 1.40.16. Lead (Рb) |  |
|  |  | 1.40.17. Silver (Аg) |  |
|  |  | 1.40.18. Vanadium (V) |  |
|  |  | 1.40.19. Tin (Sn) |  |
|  |  | 1.40.20. Beryllium (Be) |  |
|  |  | 1.40.21 Chrome (Сr) |  |
|  |  | 1.40.22 Iron (Fe) |  |
|  |  | 1.40.23. Calcium (Са) |  |
|  |  | 1.40.24. Magnesium (Mg) |  |
|  |  | 1.40.25. Thallium (Тl) | ЕРА 6010С (1), (2), (4), (5), (6), |
|  |  | 1.40.26. Mercury (Hg) | VILM 28:2013 (1), (2), (4), (5), (6) ЕРА 6010С (1), (2), (4), (5), (6) |
|  |  | 1.41. Cyanides free | VILM 17:2006 (1), (2), (3), (4), (5), (6) |
|  |  | 1.42. Cyanides total | VILM 17:2006 (1), (2), (3), (4), (5), (6) БДС 17.1.4.14 (1), (2), (5), (6) |
|  |  | 1.43. Colour | БДС EN ISO 7887-Method А (2), (4), (5) БДС 17.1.4.01 (1) БДС 8451 (4) |
|  |  | 1.44. Odour | БДС 17.1.4.01 (1) БДС 8451 (4) |
|  |  | 1.45. Taste | БДС 8451 (4) |
|  |  | 1.46. Dissolved oxygen | БДС EN 25813 (1), (2), (3), (4), (5), (6) ISO 5813 (1), (2), (3), (4), (5), (6) |
|  |  | 1.47. Sulphates | БДС 17.1.4.03 (1), (2), (5), (6) VILM 31:2016 (1), (2), (3), (4), (5), (6) ISO 15923-1-Method (G) (1), (2), (4), (5), (6) БДС EN ISO 10304-1 (1), (2), (4), (5), (6) |
|  |  | 1.48. Sulphates such as sulphur | VILM 31:2016 (1), (2), (3), (4), (5), (6) |
|  |  | 1.49. Permanganate oxidation | БДС 17.1.4.16 (1), (2), (5),(6) |
|  |  | 1.50. Permanganate index | БДС EN ISO 8467 (2), (4),(5),(6) |
|  |  | 1.51. Total hardness | БДС ISO 6059 (2), (4), (5),(б) ЕРА 130.2 (1) |
|  |  | 1.52. Permanent (non-carbonate) hardness | БДС ISO 6059 (2), (4), (5), (б) БДС EN ISO 9963-1 (1), (2), (4), (5), (6) |
|  |  | 1.53. Temporary (carbonate) hardness | БДС EN ISO 9963-1 (1), (2), (4), (5), (6) |
|  |  | 1.54. Extractable substances | VILM 01:2021 (1), (2), (3), (4), (5), (6) ЕРА 1664В (1), (2), (4), (5), (6) |
|  |  | 1.55. Anionic surfactants (α-AS/SAS) | БДС 17.1.4.25 (1), (2), (5), (6) БДС EN 903 (1), (2), (4), (5), (6) ISO 7875-1 (1), (2), (4), (5), (6) |
|  |  | 1.56. Total alkalinity | БДС EN ISO 9963-1 (1), (2), (4), (5), (6) |
|  |  | 1.57. Composite alkalinity |  |
|  |  | 1.58. Carbonates (such as СаСO3) | БДС EN ISO 9963-1 (1), (2), (4), (5), (6) |
|  |  | 1.59. Hydrogen carbonates | БДС EN ISO 9963-1 (1), (2), (4), (5), (6) |
|  |  | 1.60. Calcium | БДС ISO 6058 (1), (2), (4), (5), (6) |
|  |  | 1.61. Magnesium | VILM 36:2024 (1), (2), (4), (5), (6) |
|  |  | 1.62. Fluorides | VILM 13:2006 (1), (2), (3), (4), (5), (6) БДС 16911 (4) БДС EN ISO 10304-1 (1), (2), (4), (5), (6) |
|  |  | 1.63. Fluorides (such as fluor) |  |
|  |  | 1.64. Electrical conductivity | БДС EN 27888 (1), (2), (3), (4), (5), (6) |
|  |  | 1.65. Specific electrical conductivity |  |
|  |  | 1.66. Total organic carbon (TOC) | VILM 22:2007 (1), (2), (4), (5), (6) БДС EN 1484 (1), (2), (3), (4), (5), (6) |
|  |  | 1.67. Dissolved organic carbon |  |
|  |  | 1.68. Oils and fats | ЕРА 1664В (1), (2), (3), (4), (5), (6) |
|  |  | 1.69. Turbidity | БДС EN ISO 7027-1 (1), (2), (4), (5), (6) |
|  |  | 1.70. Bromates | VILM 02:2015 (4), (6) |
|  |  | 1.71. Adsorbable Organic Halides (АОХ) | VILM 04:2016 (1), (2), (4), (5), (6) |
|  |  | 1.72. Bromides | БДС EN ISO 10304-1 (1), (2), (4), (5), (6) |
|  |  | 1.73. Organic nitrogen | VILM 37:2024 (1), (2), (4), (5), (6) |
|  |  | 1.74. Water level | ISO 21413 (6) |
|  |  | 1.75. Volatile organic compounds | БДС EN ISO 20595 (1), (2), (4), (5), (6) VILM 40:2025 (1), (2), (4), (5), (6) |
|  |  | 1.75.1. Vinyl chloride |  |
|  |  | 1.75.2. 1, 2 Dichloroethane |  |
|  |  | 1.75.3. Benzene |  |
|  |  | 1.75.4. Tetrachloroethene and Trichloroethene |  |
|  |  | 1.75.4.1. Tetrachloroethene |  |
|  |  | 1.75.4.2. Trichloroethene |  |
|  |  | 1.75.5. Trihalomethanes (total) |  |
|  |  | 1.75.5.1. Chloroform |  |
|  |  | 1.75.5.2. Bromoform |  |
|  |  | 1.75.5.3. Bromodichloromethane |  |
|  |  | 1.75.5.4. Dibromochloromethane |  |
|  |  | 1.75.6. Carbon tetrachloride |  |
|  |  | 1.75.7. Hexachlorobutadiene |  |
|  |  | 1.76. Bisphenol A | БДС EN ISO 18857-2 (4), (6) VILM 40:2025 (4), (6) |
|  |  | 1.77. Epichlorohydrin | БДС EN 14207 (4), (6) VILM 40:2025 (4), (6) |
|  |  | 1.78. Polycyclic aromatic hydrocarbons (sum) | ISO 28540 (1), (2), (4), (5), (6) VILM 40:2025 (1), (2), (4), (5), (6) |
|  |  | 1.79. Polycyclic aromatic hydrocarbons |  |
|  |  | 1.79.1. Naphthalene |  |
|  |  | 1.79.2. Acenaphthene |  |
|  |  | 1.79.3. Acenaphthylene |  |
|  |  | 1.79.4. Fluorine |  |
|  |  | 1.79.5. Phenanthrene |  |
|  |  | 1.79.6. Anthracene |  |
|  |  | 1.79.7. Fluoranthene |  |
|  |  | 1.79.8. Pyrene |  |
|  |  | 1.79.9. Benz[a]anthracene |  |
|  |  | 1.79.10. Hryzen |  |
|  |  | 1.79.11. Benzo[b]fluoranthene |  |
|  |  | 1.79.12. Benzo[k]fluoranthene |  |
|  |  | 1.79.13. Benzo[a]pyrene |  |
|  |  | 1.79.14. Indeno [1,2,3-cd] pyrene |  |
|  |  | 1.79.15. Dibenz[a,h]anthracene |  |
|  |  | 1.79.16. Benzo(g h i)perylen |  |
|  |  | 1.80. Pesticides (total) | БДС EN16693 (2), (4), (5), (6) VILM 40:2025 (1), (2), (4), (5), (6) |
|  |  | 1. 81. Pesticides: |  |
|  |  | 1.81.1. Alachlor |  |
|  |  | 1.81.2. Aldrin |  |
|  |  | 1.81.3. Dieldrin |  |
|  |  | 1.81.4. Endrin |  |
|  |  | 1.81.5. Isodrin |  |
|  |  | 1.81.6. 2,4' - DDE |  |
|  |  | 1.81.7. 2,4' - DDD |  |
|  |  | 1.81.8. 2,4' - DDT |  |
|  |  | 1.81.9. 4,4' - DDE |  |
|  |  | 1.81.10. 4,4' - DDD |  |
|  |  | 1.81.11. 4,4' - DDT |  |
|  |  | 1.81.12. Hexachlorobenzene |  |
|  |  | 1.81.13. Hexachlorocyclohexane (total HCH) |  |
|  |  | 1.81.13.1. Alpha-НСН |  |
|  |  | 1.81.13.2. Beta-НСН |  |
|  |  | 1.81.13.3. Delta-НСН |  |
|  |  | 1.81.13.4. Gamma-НСН (lindane) |  |
|  |  | 1.81.14. Pentachlorobenzene |  |
|  |  | 1.81.15. Trichlorobenzene (total) |  |
|  |  | 1.81.15.1. 1,2,3- Trichlorobenzene |  |
|  |  | 1.81.15.2. 1,2,4- Trichlorobenzene |  |
|  |  | 1.81.15.3. 1,3,5- Trichlorobenzene |  |
|  |  | 1.81.16. Endosulfan I |  |
|  |  | 1.81.17. Endosulfan II |  |
|  |  | 1.81.18. Heptachlor | VILM 40:2025 (1), (2), (4), (5), (6) |
|  |  | 1.81.19. Heptachlor epoxide |  |
| 2. | Air, atmospheric – emissions | 2.1. Nitric oxide (NO) | VILM 23:2016 |
|  |  | 2.2. Nitrogen oxides (NOx) | VILM 23:2016 БДС EN 14792 |
|  |  | 2.3. Nitrogen dioxide (NO2) | VILM 23:2016 |
|  |  | 2.4. Hydrogen sulphide (Н2S) | VILM 23:2016 |
|  |  | 2.5. Sulphur dioxide (SO2) | VILM 23:2016 БДС EN 14791 |
|  |  | 2.6. Carbon oxide (СО) | VILM 23:2016 БДС EN 15058 |
|  |  | 2.7. Carbon dioxide (СО2) | VILM 23:2016 |
|  |  | 2.8. Oxygen (О2) | VILM 23:2016 БДС EN 14789 |
|  |  | 2.9. Hydrocarbons, expressed as total carbon | VILM 23:2016 |
|  |  | 2.10. Methane (СН4) | VILM 23:2016 БДС EN ISO 25140 |
|  |  | 2.11. Organic compounds expressed as total organic carbon (TOC) | БДС EN 12619 |
|  |  | 2.12. Total volatile organic compounds (TVOC) |  |
|  |  | 2.13. Methane hydrocarbons expressed as total organic carbon | БДС EN ISO 25140 |
|  |  | 2.14. Non-methane hydrocarbons expressed as total organic carbon | VILM 38:2024 |
|  |  | 2.15. Parameters of gaseous/air streams: | VILM 23:2016 ISO 10780 БДС EN ISO 16911-1 |
|  |  | 2.15.1. Velocity |  |
|  |  | 2.15.2. Flowrate | ISO 10780 VILM 23:2016 БДС EN ISO 16911-1 |
|  |  | 2.15.3. Temperature | БДС EN ISO 16911-1 VILM 23:2016 |
|  |  | 2.15.4. Pressure | БДС EN ISO 16911-1 VILM 23:2016 |
|  |  | 2.15.5. Barometric pressure |  |
|  |  | 2.15.6. Moisture | БДС EN 14790 VILM 23:2016 |
|  |  | 2.16. Dust | БДС ISO 9096 БДС EN 13284-1 |
|  |  | 2.17. Hydrogen (Н2) | VILM 23:2016 |
|  |  | 2.18. Formaldehyde | ЕРА 323 |
|  |  | 2.19. Contents of elements in emissions / inorganic dust substances | БДС EN 14385 |
|  |  | 2.19.1. Arsenic (As) |  |
|  |  | 2.19.2. Cadmium (Cd) |  |
|  |  | 2.19.3. Chrome (Сr) |  |
|  |  | 2.19.4. Copper (Сu) |  |
|  |  | 2.19.5. Manganese (Мn) |  |
|  |  | 2.19.6. Nickel (Ni) |  |
|  |  | 2.19.7. Lead (Рb) |  |
|  |  | 2.19.8. Antimony (Sb) |  |
|  |  | 2.19.9. Thallium (Tl) |  |
|  |  | 2.19.10. Vanadium (V) |  |
|  |  | 2.19.11. Cobalt (Co) |  |
|  |  | 2.19.12. Tin (Sn) | БДС EN 14385 VILM 05:2016 |
|  |  | 2.19.13. Tellurium (Те) |  |
|  |  | 2.19.14. Zink (Zn) |  |
|  |  | 2.19.15. Selenium (Se) |  |
|  |  | 2.19.16. Mercury (Нg) | БДС EN 13211 VILM 05:2016 |
|  |  | 2.20. Hydrogen fluoride | БДС 17.2.4.12 СД CEN/TS 17340 |
|  |  | 2.21. Ammonium (NH3) | БДС 17.2.4.05 БДС EN ISO 21877 |
|  |  | 2.22. Phenol | БДС 17.2.4.11 |
|  |  | 2.23. Hydrogen chloride (HCl) | БДС EN 1911 |
|  |  | 2.24. Sulphur trioxide (SО3) | БДС 17.2.4.09 |
|  |  | 2.25. Aerosols of sulfuric acid | ЕРА 8 |
|  |  | 2.26. Quality Assurance Level - 2 (QAL2) | БДС EN 14181 |
|  |  | 2.27. Annual Surveillance Tests (AST) |  |
| 3. | Waste | 3.1. Active reaction (pH) | БДС EN ISO 10523 |
|  |  | 3.2. Electrical conductivity | БДС EN 27888 |
|  |  | 3.3. Specific electrical conductivity |  |
|  |  | 3.4. Loss on ignition | БДС EN 15935 |
|  |  | 3.5. Dry solids | ISO 11465 БДС EN 12880 |
|  |  | 3.6. Moisture |  |
|  |  | 3.7. Elements contents | БДС EN ISO 11885 |
|  |  | 3.7.1. Arsenic (As) |  |
|  |  | 3.7.2. Antimony (Sb) |  |
|  |  | 3.7.3. Barium (Ва) |  |
|  |  | 3.7.4. Selenium (Se) |  |
|  |  | 3.7.5. Cadmium (Cd) |  |
|  |  | 3.7.6. Molybdenum (Мо) |  |
|  |  | 3.7.7. Nickel (Ni) |  |
|  |  | 3.7.8. Copper (Сu) |  |
|  |  | 3.7.9. Lead (Рb) |  |
|  |  | 3.7.10. Zink (Zn) |  |
|  |  | 3.7.11. Vanadium (V) |  |
|  |  | 3.7.12. Calcium (Са) |  |
|  |  | 3.7.13. Magnesium (Mg) |  |
|  |  | 3.7.14. Phosphorus (Р) |  |
|  |  | 3.7.15. Sulphur (S) |  |
|  |  | 3.7.16. Cobalt (Co) |  |
|  |  | 3.7.17. Manganese (Мn) |  |
|  |  | 3.7.18. Boron (В) |  |
|  |  | 3.7.19. Sodium (Na) |  |
|  |  | 3.7.20. Potassium (К) |  |
|  |  | 3.7.21. Chromium (Сr) |  |
|  |  | 3.7.22. Iron (Fe) | БДС ISO 6332 БДС EN ISO 11885 |
|  |  | 3.7.23. Mercury (Нg) | VILM 28:2013 ЕРА 6010С |
|  |  | 3.7.24. Thallium (Tl) | ЕРА 6010С |
|  |  | 3.8. Bromides | БДС EN ISO 10304-1 |
|  |  | 3.9. Hexavalent chromium | VILM 03:2005 ISO 11083 |
|  |  | 3.10. Sulphur sulphate | VILM 31:2016 |
|  |  | 3.11. Sulphur sulphide |  |
|  |  | 3.12. Chlorides | ISO 9297 БДС EN ISO 10304-1 |
|  |  | 3.13. Sulphates | VILM 31:2016 БДС ISO 11048 БДС EN ISO 10304-1 |
|  |  | 3.14. Fluorides | VILM 13:2006 БДС EN ISO 10304-1 |
|  |  | 3.15. Nitrates | VILM 11:2006 БДС EN ISO 10304-1 |
|  |  | 3.16. Nitrites | VILM 30:2011 БДС EN ISO 10304-1 |
|  |  | 3.17. Phosphates | VILM 12:2006 БДС EN ISO 10304-1 |
|  |  | 3.18. Kjeldahl nitrogen | БДС EN 16169 |
|  |  | 3.19. Cyanides free | VILM 17:2006 |
|  |  | 3.20. Cyanides total | БДС 17.1.4.14 |
|  |  | 3.21. Phenols | БДС ISO 6439 VILM 20:2007 |
|  |  | 3.22. Phenol index |  |
|  |  | 3.23. Total carbon (ТС) | VILM 22:2007 БДС EN 1484 БДС EN 15936 |
|  |  | 3.24. Total organic carbon (TOC) |  |
|  |  | 3.25. Dissolved organic carbon (DOC) | VILM 22:2007 БДС EN 1484 |
|  |  | 3.26. Dissolved solids | БДС 17.1.4.04, cl. 3 БДС EN 15216 |
|  |  | 3.27. Total of dissolved solids |  |
|  |  | 3.28. Acid neutralization capacity (ANC) | СД CEN/TS 15364 |
|  |  | 3.29. Ammonium (NH4) | БДС ISO 7150-1 |
|  |  | 3.30. Petroleum products | БДС EN 14345 БДС EN 14039 |
|  |  | 3.31. Hydrocarbons (ТРН) |  |
| 4. | Sound | 4.1. Equivalent sound power level | БДС ISO 8297 VILM 33:2011 |
|  |  | 4.2. Level of total sound power | БДС ISO 8297 VILM 33:2011 |
| 5. | Soils (1), sludge (2), treated biowaste: - compost; - stabilized organic fraction; - fermentation product; - organic soil improver (3) | 5.1. Petroleum products | БДС EN 14345 (1), (2), (3) БДС EN ISO 16703 (1), (2), (3) |
|  |  | 5.2. Hydrocarbons (ТРН) |  |
|  |  | 5.3. Active reaction (pH) | БДС EN ISO 10390 (1), (2), (3) |
|  |  | 5.4. Electrical conductivity | СД CEN/TS 15937 (1), (2), (3) БДС EN 13038 (3) VILM 39:2024 (3) |
|  |  | 5.5. Specific electrical conductivity |  |
|  |  | 5.6. Salts contents | VILM 39:2024 (3) |
|  |  | 5.7. Dry solid | БДС EN 15934 (1), (2), (3) |
|  |  | 5.8. Moisture |  |
|  |  | 5.9. Loss of ignition | БДС EN 15935 (1), (2), (3) |
|  |  | 5.10. Contents of organic substance | БДС EN 15936 (1), (2), (3) БДС 11302 (1), (2), (3) |
|  |  | 5.11. Total organic carbon (TOC) | ISO 10694 (1), (2), (3) |
|  |  | 5.12. humus |  |
|  |  | 5.13. Total carbon (ТС) |  |
|  |  | 5.14. Total nitrogen (Kjeldahl) | БДС EN 16169(1), (2), (3) |
|  |  | 5.15. Extractable forms of: | БДС ISO 7150-1 (1), (2), (3) |
|  |  | 5.15.1 Ammoniacal nitrogen (NH4-N) |  |
|  |  | 5.15.2 Nitrite-nitrogen (NO2-N) | БДС EN 26777 (1), (2), (3) |
|  |  | 5.15.3 Nitrite-nitrogen (NO3-N) N) | БДС ISO 7890-3 (1), (2), (3) |
|  |  | 5.16. Elements contents: | БДС EN ISO 22036 (1), (2), (3) |
|  |  | 5.16.1. Arsenic (As) |  |
|  |  | 5.16.2. Antimony (Sb) |  |
|  |  | 5.16.3. Selenium (Se) |  |
|  |  | 5.16.4. Cadmium (Cd) |  |
|  |  | 5.16.5. Nickel (Ni) |  |
|  |  | 5.16.6. Copper (Сu) |  |
|  |  | 5.16.7. Lead (Pb) |  |
|  |  | 5.16.8. Zink (Zn) |  |
|  |  | 5.16.9. Manganese (Мn) |  |
|  |  | 5.16.10. Calcium (Са) |  |
|  |  | 5.16.11. Calcium oxide (CaO) |  |
|  |  | 5.16.12. Magnesium (Mg) total |  |
|  |  | 5.16.13. Phosphorus (Р) total |  |
|  |  | 5.16.14. Sulphur (S) total |  |
|  |  | 5.16.15. Cobalt (Со) |  |
|  |  | 5.16.16. Sodium (Na) |  |
|  |  | 5.16.17. Potassium (К) total |  |
|  |  | 5.16.18. Chromium (Сг) |  |
|  |  | 5.16.19. Iron (Fe) |  |
|  |  | 5.16.20. Aluminium (Al) |  |
|  |  | 5.16.21. Boron (В) |  |
|  |  | 5.16.22. Mercury (Hg) |  |
|  |  | 5.17. Phosphorous | БДС ISO 11263 (1), (2), (3) VILM 35:2021 (1), (2), (3) |
|  |  | 5.18. Phosphorous – exchangeable forms recalculated as Р2O5 |  |
|  |  | 5.19. Phosphates |  |
|  |  | 5.20. Water-soluble sulphates, recalculated as sulphur | VILM 31:2016 (1), (2), (3) БДС ISO 11048 (1), (2), (3) |
|  |  | 5.21. Sulphates |  |
|  |  | 5.22. Impurities | СД CEN/TS 16202 (1), (2), (3) |
|  |  | 5.23. Stones |  |
|  |  | 5.24. Sodium, exchangeable forms | БДС EN ISO 11260 (1), (2), (3) |
|  |  | 5.25. Potassium, exchangeable forms recalculated as К2О |  |
|  |  | 5.26. Calcium, exchangeable forms |  |
|  |  | 5.27. Magnesium, exchangeable forms |  |
|  |  | 5.28. Density | БДС EN 12580 (3) |
|  |  | 5.29. Bulk density |  |
|  |  | 5.30. Particle size | БДС EN 15428 (1), (2), (3) |
|  |  | 5.31. Particle maximum size |  |
|  |  | 5.32. Reaction of plants (Growth test) | БДС EN 16086-1 (3) |
|  |  | 5.33. Weed seeds, part of plants able to grow | СД CEN/TS 16201 (3) |

To perform sampling of:

| Type of the scope: flexible * |  |  |
| --- | --- | --- |
| № | Product | Sampling method (standard/ validated methods) |
| 1 | 2 | 3 |
| 1. | Air, atmospheric - emissions | БДС EN 13284-1 БДС ISO 9096 БДС EIM 14790 ЕРА 323- item 6÷6.6, item 7.1 VILM 05:2016, item 8 БДС 17.2.4.12, cl. 2 БДС 17.2.4.05, according to the annex БДС EN 14791, cl. 6, cl. 7 БДС EN 1911, cl. 5 БДС 17.2.4.11, according to the annex БДС 17.2.4.09, according to the annex EPA 8, item 8 БДС EN 13211, cl. 5.3÷5.12; cl. 7 СД CEN/TS 17340, cl. 6, cl. 7 БДС EN ISO 21877, cl. 8 БДС EN 1948-1, cl. 5.1.2 БДС EN 1948-4+А1, cl. 8.1 |
| 2. | Soils | БДС 17.4.5.01, БДС ISO 18400-102 |
| 3. | Waste | ASTM D5658 ASTM D5679 СД CEN/TR 15310-2 |
| 4. | Water, lake | БДС ISO 5667-4 |
| 5. | Water, drinking | БДС ISO 5667-5 |
| б. | Water, surface | БДС EN ISO 5667-6 |
| 7. | Water, coastal sea | БДС ISO 5667-9 |
| 8. | Water, waste | БДС ISO 5667-10 |
| 9. | Water, ground | БДС ISO 5667-11 |
| 10. | Sludge | БДС EN ISO 5667-13 |
| 11. | Treated biowaste | БДС EN 12579; БДС EN ISO 5667-13 |

*Flexible scope: The introduction of a new version of the standard/document or standards/documents, which replace them, is permitted. The laboratory keeps an updated list of the standards and their dated versions.

Fixed scope reference:

VILM 01:2021 Water quality. Determination of the extractable substances and petroleum products in water

VILM 02:2015 Water quality. Determination of the contents of bromates in water.

VILM 03:2005 Water quality. Determination of the contents of chromium in water/water extract of waste/eluates.

VILM 04:2016 Water quality. Determination of the contents of Adsorbable Organic Halides (AOX) in water.

VILM 05:2016 Stationary emission sources. Determination of elements contents.

VILM 11:2006 Water quality. Determination of the contents of nitrates and nitrate nitrogen in water/water extract of waste/eluates.

VILM 12:2006 Water quality. Determination of the contents of phosphates and total phosphorus in water/water extract of waste/eluates.

VILM 13:2006 Water quality. Determination of the contents of fluorides in water/water extract of waste/eluates.

VILM 15:2007 Water quality. Determination of the contents of nitrate nitrogen and nitrates in sea water.

VILM 16:2006 Water quality. Determination of the contents of sulphides and hydrogen sulphide in water/water extract of waste/eluates.

VILM 17:2006 Water quality. Determination of the contents of cyanides in water/water extract of waste/eluates.

VILM 20:2007 Water quality. Determination of the contents of phenol in water/water extract of waste/eluates.

VILM 21:2007 Water quality. Determination of the contents of free (residual) chlorine in water/water extract of waste/eluates.

VILM 22:2007 Water quality. Determination of the contents of total organic carbon in water/water extract of waste/eluates

VILM 23:2016 Stationary emission sources. Measurement of harmful substances (pollutants) and parameters of the gaseous streams

VILM 28:2013 Water quality. Mercury determination using ICP - OES in water/water extract of waste/eluates.

VILM 29:2011 Water quality. Determination of ammonium ions and ammoniacal nitrogen in water/water extract of waste/eluates.

VILM 30:2011 Water quality. Determination of nitrites and nitrite nitrogen in water/water extract of waste/eluates.

VILM 31:2016 Water quality. Determination of sulphates and their forms in water and eluates.

VILM 33:2011 Validated intralaboratory method for determination of total sound power, emitted in the surrounding environment by an industrial enterprise and determination of the sound level on the site of impact

VILM 34:2021 Water quality. Method for measuring the temperature in water.

VILM 35:2021 Soils, sediments and treated biowaste. Determination of exchangeable forms of phosphorus.

VILM 36:2024 Water quality. Determination of magnesium in water.

VILM 37:2024 Water quality. Determination of organic nitrogen in water.

VILM 38:2024 Stationary emission sources. Measurement of non-methane hydrocarbons expressed as total organic carbon.

VILM 39:2024 Treated biowaste. Determination of electrical conductivity and salt content.

VILM 40:2025 Water quality. Determination of organic pollutants in water.