SCOPE 93 ЛИ

Sofia, 14.01.2026

AGRICULTURAL UNIVERSITY – PLOVDIV

LABORATORY TESTING COMPLEX

Management address: 4000 Plovdiv, Trakiya, 12 Mendeleev Blbd.

Laboratory address: 4000 Plovdiv, Trakiya, 12 Mendeleev Blbd.

To perform testing of:

| Type of the scope: flexible for part of the scope* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/ characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Cereal grains and grain products | 1.1. Moisture | БДС ISO 711** |
|  |  | 1.2. Total ash | БДС EN ISO 2171 |
|  |  | 1.3. Protein | БДС 13490 |
|  |  | 1.4. Raw cellulose | БДС ISO 5498 |
| 2. | Oil seeds | 2.1. Moisture and volatile substances | БДС EN ISO 665 |
|  |  | 2.2. Oil content | БДС EN ISO 659 |
| 3. | Water – drinking water (1), Groundwater (2), Running surface water (3), Wastewater (4) | 3.1. pH | БДС 3424 (1) БДС 17.1.4.27 (2, 3, 4) |
|  |  | 3.2. Electrical conductivity | БДС EN 27888 (1, 2, 3, 4) |
|  |  | 3.3. Suspended substances | БДС EN 872 (1, 3, 4) |
|  |  | 3.4. Dry residue | БДС 3546 (1) |
|  |  | 3.5. Total dry residue, undissolved and dissolved substances | БДС 17.1.4.04 (2, 3, 4) |
|  |  | 3.6. Permanganate oxidation | БДС 3413 (1) |
|  |  | 3.7. Ammonia | БДС ISO 7150-1 (1, 3, 4) VILM 002:2020 (Spectroquant – photometric) |
|  |  | 3.8. Nitrates | БДС ISO 7890-3 (1, 3) VILM 003:2020 (1, 2, 3, 4) (Spectroquant – photometric) |
|  |  | 3.9. Nitrites | БДС EN 26777 (1, 3, 4) VILM 004:2020 (1, 2, 3, 4) (Spectroquant – photometric) |
|  |  | 3.10. Total phosphorus and ortho-phosphates | БДС EN ISO 6878 (1, 2, 3, 4) VILM 005:2020 (1, 2, 3, 4) (Spectroquant – photometric) |
|  |  | 3.11. Chlorides | БДС 3414 (1) БДС 17.1.4.24 (2, 3, 4) |
|  |  | 3.12. Sulfates | БДС 3588 (1) EPA 375.4 (1, 3, 4) БДС 17.1.4.03 (2, 3, 4) |
|  |  | 3.13. Total hardness | БДС 3775 (1) |
|  |  | 3.14. Total and composite alkalinity | БДС EN ISO 9963-1 (1, 2, 3, 4) |
|  |  | 3.15. Chemical oxygen demand (COD). | VILM 006:2020 (4) (Spectroquant – photometric) VILM 007:2020 (4) (Spectroquant – photometric) VILM 008:2020 (4) (Spectroquant – photometric) |
|  |  | 3.16. Biochemical oxygen demand. | БДС EN ISO 5815-1 (4) БДС EN 1899-2 (4) |
|  |  | 3.17. Nitrogen Kjeldahl method | БДС EN 25663 (4) |
|  |  | 3.18. Oils and fats – hexane-extractable material (HEM) | EPA 1664 A (4) |
|  |  | 3.19. Arsenic, barium, bismuth, boron, iron, cadmium, potassium, calcium, cobalt, magnesium, manganese, copper, molybdenum, sodium, nickel, lead, phosphorus, selenium, chrome, zinc | БДС EN ISO 11885 (1, 2, 3, 4) |
|  |  | 3.20. Mercury | VILM 010:2020 (1, 2, 3, 4) |
| 4. | Soils | 4.1. pH | БДС EN ISO 10390 |
|  |  | 4.2. Specific electric conductivity | БДС EN ISO 11265 |
|  |  | 4.3. Dry matter and moisture | ISO 11465 |
|  |  | 4.4. Organic carbon. Humus | БДС ISO 14235** |
|  |  | 4.5. Total nitrogen Kjeldahl method | БДС ISO 11261 |
|  |  | 4.6. Mobile/ Absorbable nitrogen | ISO/TS 14256-1 VILM 013:2025 (titring method) |
|  |  | 4.7. Mobile phosphorus | БДС ISO 11263 ГОСТ 26209 |
|  |  | 4.8. Carbonates | БДС EN ISO 10693 |
|  |  | 4.9. Sulfates | БДС ISO 11048 |
|  |  | 4.10. Chlorides | БДС 11301 |
|  |  | 4.11. Oils and fats – hexane-extractable material (HEM) | EPA 9071 B |
|  |  | 4.12. Arsenic, barium, bismuth, boron, iron, mercury, cadmium, potassium, calcium, cobalt, magnesium, manganese, copper, molybdenum, sodium, nickel, lead, selenium, phosphorus, chrome, zinc | ISO 22036 |
| 5. | Soil improvers and conditioners | 5.1. pH | БДС EN 13037 |
|  |  | 5.2. Electrical conductivity | БДС EN 13038 |
|  |  | 5.3. Dry matter and moisture | BED EN 13040 |
|  |  | 5.4. Organic substances | БДС EN 13039 |
|  |  | 5.5. Ash | БДС EN 13039 |
|  |  | 5.6. Total nitrogen | БДС EN 13654-1 |
|  |  | 5.7. Arsenic, barium, bismuth, boron, iron, mercury, cadmium, potassium, calcium, cobalt, magnesium, manganese, copper, molybdenum, sodium, nickel, lead, phosphorus, selenium, chrome, zinc | ISO 22036 |
| 6. | Mineral fertilizers | 6.1. Total nitrogen Kjeldahl method | БДС EN 15750 |
|  |  | 6.2. Ammonia nitrogen | БДС ISO 5314 |
|  |  | 6.3. Total nitrogen (nitrate and ammonia) Devarda method | БДС EN 15476 |
|  |  | 6.4. Total phosphorus soluble in inorganic acids (as P2O5) | БДС EN 15959 |
|  |  | 6.5. Phosphorus soluble in neutral ammonium citrate (as P2O5) | БДС EN 15959 |
|  |  | 6.6. Water-soluble phosphorus (as P2O5) | БДС EN 15959 |
|  |  | 6.7. Potassium soluble in acids (as K2O) | VILM 011:2025 (ICP-OES) |
|  |  | 6.8. Water-soluble potassium (as K2O) | БДС EN 15477 VILM 012:2025 (ICP-OES) |
|  |  | 6.9. Total sulfur (as S and SO3) | БДС EN 15749 |
|  |  | 6.10. Water-soluble sulfur (as S and SO3) | БДС EN 15749 |
|  |  | 6.11. Lead, cadmium, chrome, nickel | БДС EN 16319/A1 |
|  |  | 6.12. Arsenic | БДС EN 16317/A1 |
|  |  | 6.13. Mercury | БДС EN 16320/A1 |
|  |  | 6.14. Total calcium | БДС EN 16196 VILM 014:2025 (ICP-OES) |
|  |  | 6.15. Water-soluble calcium | БДС EN 16196 |
|  |  | 6.16. Total magnesium | БДС EN 16198 VILM 015:2025 (ICP-OES) |
|  |  | 6.17. Water-soluble magnesium | БДС EN 16198 |
|  |  | 6.18. Total forms of boron, iron, cobalt, manganese, copper, molybdenum, zinc | БДС EN 16963 |
|  |  | 6.19. Water-soluble forms of boron, iron, cobalt, manganese, copper, molybdenum, zinc | БДС EN 16963 |
| 7. | Wastes | 7.1 pH | БДС EN ISO 10390 |
|  |  | 7.2. Electrical conductivity | БДС EN ISO 11265 |
|  |  | 7.3. Arsenic, barium, bismuth, boron, iron, mercury, cadmium, potassium, calcium, cobalt, magnesium, manganese, copper, molybdenum, sodium, nickel, lead, phosphorus, selenium, chrome, zinc | ISO 22036 |
|  |  | 7.4. Nitrogen Kjeldahl method | БДС EN 13342 |
| 8. | Feed - combined, protein concentrates and raw materials for them. | 8.1. Moisture and volatile substances | БДС ISO 6496 |
|  |  | 8.2. Raw protein | БДС EN ISO 5983-1 |
|  |  | 8.3. Raw cellulose | БДС 11374, cl. 4.3 |
|  |  | 8.4. Raw fats | БДС 11374, cl. 4.4 |
|  |  | 8.5. Raw ash | БДС 11374, cl. 4.5 |
|  |  | 8.6. Calcium, natrium, phosphorus, magnesium, potassium, sulfur, iron, zinc, copper, manganese, cobalt | БДС EN 15621 |

Note: **Repealed but not replaced standard with regard to the testing method.

Flexible scope: *The introduction of a new version of the standard/document or standards/documents, which replace them, is permitted. The laboratory keeps an updated list of the standards and their dated versions.

Fixed scope reference:

1. VILM 002/01.10.2020 Spectroquant test method for determination of ammonia content. 2. VILM 003/01.10.2020 Spectroquant test method for determination of nitrates content. 3. VILM 004/01.10.2020 Spectroquant test method for determination of nitrites content. 4. VILM 005/01.10.2020 Spectroquant test method for determination of content of total phosphorus and orthophosphates. 5. VILM 006/01.10.2020 Spectroquant test method for determination of COD content from 10 to 150 mg O2/dm3. 6. VILM 007/01.10.2020 Spectroquant test method for determination of COD content from 25 to 1500 mg O2/dm3. 7. VILM 008/01.10.2020 Spectroquant test method for determination of COD content from 500 to 10000 mg O2/dm3. 8. VILM 010/01.10.2020 Determination of mercury in water by emission spectroscopy 9. VILM 011/ 27.02.2025 Mineral fertilizers. Determination of acid-soluble potassium through ICP-OES. 10. VILM 012/27.02.2025 Mineral fertilizers. Determination of water-soluble potassium through ICP-OES.

11. VILM 013/10.02.2025 Determination of ammoniacal and nitrate nitrogen in soils by distillation and subsequent titration.

12. VILM 014/27.02.2025 Mineral fertilizers. Determination of acid-soluble calcium through ICP-OES. 13. VILM 015/27.02.2025 Mineral fertilizers. Determination of acid-soluble magnesium through ICP-OES.