SCOPE 284 ЛИ

Sofia, 22.01.2026

VEZEL 1 EOOD

TESTING LABORATORY

Management and Laboratory address:

9000 Varna, 14 Edelweiss Str.

To perform testing of:

| Type of scope: Flexible for part of the scope* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Atmospheric emissions/ Waste gases | 1.1. Velocity | ISO 10780, БДС EN ISO 16911-1 |
|  |  | 1.2. Pressure/ Negative pressure | ISO 10780, БДС EN ISO 16911-1 |
|  |  | 1.2.1. Barometric pressure | ISO 10780, БДС EN ISO 16911-1 |
|  |  | 1.2.2. Pressure in the gas flue | ISO 10780, БДС EN ISO 16911-1 |
|  |  | 1.3. Temperature | ISO 10780, БДС EN ISO 16911-1 |
|  |  | 1.4. Moisture | БДС EN 14790 |
|  |  | 1.5. Waste gas volumes | ISO 10780, БДС EN ISO 16911-1 |
|  |  | 1.6. Oxygen (O2) | VILM 1:2019 |
|  |  | 1.7. Dust | БДС ISO 9096, БДС EN 13284-1 |
|  |  | 1.8. Carbon dioxide (CO2) | VILM 1:2019 |
|  |  | 1.9. Carbon oxide (CO) | VILM 1:2019 |
|  |  | 1.10. Sulphur dioxide (SO2) | VILM 1:2019 |
|  |  | 1.11. Nitrogen oxides (NO, NO2)/ (NOx) | VILM 1:2019 |
|  |  | 1.12. Total hydrocarbons/ Total organic carbon/ Volatile organic compounds (VOCs) | VILM 1:2019 |
|  |  | 1.13. Ammonia (NH3) | VILM 1:2019 |
|  |  | 1.14. Mass flow of the harmful substance | VILM 1:2019 |

To perform sampling of:

| Type of the scope: flexible* |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Atmospheric emissions/ Waste gases | БДС ISO 9096 БДС EN 13284-1 БДС EN 14790 |

*Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope references:

1. VILM 1:2019 Determination of the volume concentrations of stationary source emissions – carbon oxide, carbon dioxide, nitrogen oxide, nitrogen dioxide, nitrogen oxides, sulphur dioxide, oxygen, ammonia, total hydrocarbons, total organic carbon, volatile organic compounds.