



ORDER 
№ A 300
Sofia, 29.09.2025
“STIL-CONTROL” Inspection body of type C
at STROY INGENERING EOOD (Limited Liability Company), the town of Shumen
                                                 Аddress of management: 	
                    9706 the town of Shumen, Divdyadovo Quarter, 20 Izvorna Str. 
                                                  Office address: 		
                           9700 the town of Shumen, 2 Bulgaria Square, office 7

To perform inspection of:
	Scope type: flexible*

	№

	Control field
	Control type
	Controlled parameter / characteristic
	Test / measurement methods used in control
	Normative acts, standards, specifications, schemes

	1
	2
	з
	4
	5
	6

	1.
	Electrical switchgears and equipment up to and above 1000 V;

	New and/or sites and facilities in operation
	Resistance of earthing protection systems
	РПК 01.00
	Ordinance № 16-116, 
(SG No 26/2008) 
Ordinance № 3, 
(SG No 90 and 91/2004); 
ТС
 
Technical specification

	
	
	
	Resistance of the protective conductor and the contact connections between each user and the connection point to the earthing switch
	РПК 01.00
	ТС

	
	
	
	Resistance of lightning protection earthing systems
	РПК 01.00
	Ordinance № 4,
(SG No 6/2011) 
ТС

	
	
	
	Insulation resistance
	НИЕМС 
РПК 01.00
	Ordinance № 16-116, (SG No 26/2008)
Ordinance № 3,
(SG No 90 and 91/2004) 
НИЕМС
ТС





	2
	Apparatus, insulators and complete switchgear up to 20KV
	New and/or sites and facilities in operation
	Electrical strength of insulation by control with increased voltage with industrial frequency
	БДС 9089 
РПК 02.00
	БДС 9089 
Ordinance № 3,
(SG No 90 and 91/2004)
Ordinance № 16-116, (SG No 26/2008) НИЕМС 
TС

	3
	Electrical switchgears and equipment up to 1000 V
	New and/or sites and facilities in operation
	Impedance Zs of the "phase-protective conductor" circuit
	РПК 03.00
	Ordinance № 3,
(SG No 90 and 91/2004)
Ordinance № 16-116, (SG No 2б/2008) 
ТС

	
	
	
	The resistance of the neutral conductor towards ground in networks with a directly grounded star center in which neutral earthing is used
	РПК 03.00
	Ordinance № 16-116, (SG No 26/2008)
ТС 

	
	
	
	Safety circuit breakers (PA) by parameters:
· Touch Voltage;
· protective earthing resistance;
· cut-off time;
· actuation current
	РПК 03.00
	Ordinance № 3,
  (SG. issue 90 / 91/2004)
Ordinance №16-116, 
(SG No 26/2008);
 ТС

	4
	Power cable lines for voltages up to 20 KV

	New and/or sites and facilities in operation
	Electrical strength of insulation by control with increased DC voltage
	РПК 05.00 
БДС 2406
	БДС 2581
Ordinance №16-116, (SG 26/2008) Ordinance 3,
  (SG 90 and 91/2004) 
   НИЕМС 
   ТС

	
	
	
	Insolation resistance 
	РПК 05.00 
БДС 1986, p. 3.3 а), b), c) и d)
	БДС 2581 
Ordinance 3,
(SG 90 и 91/2004)
Ordinance 16-116, (SG 26/2008) 
НИЕМС
ТС

	5
	Power and measuring transformers up to 20KV
	New and/or sites and facilities in operation 
	Electrical strength of insulation by control with increased voltage with industrial frequency

	РПК 06.00 
БДС 9089





	Ordinance 16-116, 
(SG 26/2008) Ordinance 3,
(SG 90 and 91/2004) 
НИЕМС
ТС 


	
	
	
	Resistance of insulation 
	РПК 06.00 
БДС 16654
	Ordinance 16-116, (SG 26/2008)
 Ordinance 3,
(SG 90 and 91/2004) 
НИЕМС
ТС

	
	Power transformers up to 20 kV
	
	Active resistance of the windings
	РПК 06.00 
БДС 15320
	Ordinance 3,
(SG 90 and 91/2004) 
НИЕМС
Ordinance 16-116, (SG 26/2008) 
ТС 

	6
	Electro-protective means

	

	6.1
	Dielectric gloves, boots and galoshes;
	
products in exploitation 
	· - Electrical strength of insulation by control with increased voltage with industrial frequency; 
· Leakage current
	РПК 08.00 Ordinance 22, (SG No 45/ 2006)
	Ordinance 22,
(SG 45/2006) 
ТС

	6.2
	Insulating rods;
Measuring rods
Insulating rods for portable grounders;
Isolating pliers;
	products in exploitation
	- Electrical strength of insulation by control with increased voltage with industrial frequency
	РПК 08.00 Ordinance 22, 
(SG No 45/ 2006)
	Ordinance 22,
(SG. 45/2006)
ТС

	6.3
	Voltage indicators; Indicators for inspection of phases compliance
	products in exploitation
	· -Electrical strength of insulation by control with increased voltage with industrial frequency; 
· - Voltage indication threshold (voltage threshold)
	РПК 08.00 Ordinance 22, (SG No 45/ 2006)
	Ordinance 22,
(SG No 45/2006) 
ТС

	7
	Ventilation systems
	New and/or sites and facilities in operation
	· Speed of air flow;
· Flow rate of the installation
	РПК 09.00 
БДС 12.3.018
	Ordinance 15,
(SG No 68/2005) 
ТС

	8
	Microclimate in working and living environment
	New and/or sites and facilities in operation


















	· Relative humidity;
· Air temperature; 
· Air speed
	РПК 10.00 
БДС 16686 
Ordinance РД-07-3, (SG No 63/ 2014)
	Ordinance  9,
(SG 46/1994) Ordinance 24,
(SG 95/2003) Ordinance 3,
(SG 15/2007) Ordinance 26,
(SG 103/2008) Ordinance РД-07-3, (SG 63/2014г.) 
БДС 14776 
TС

	9
	Noise in work environmental
	New and/or sites and facilities in operation
	· Daily noise exposure level;
· Average weekly noise exposure level; -  - 
· Peak sound pressure level
	РПК 11.00 
БДС EN ISO 9612
(БДС IS01999)
	Ordinance 6,
(SG No 70/2005)
ТС

	
	
	
	· Equivalent noise level;
· Noise level
	РПК 11.00 
БДС 15471
	Ordinance 7, Art. 138 (SG No 88/1999)
 ТС

	10
	Noise in premises of residential and public buildings
	New and/or sites and facilities in operation
	· Equivalent noise level;
· Noise level
	РПК 12.00 
БДС 15471
	Ordinance 24,
(SG No 95/2003) Ordinance 9,
(SG No 46/1994) Ordinance 26,
(SG No 103/2008) Ordinance № 6,
(SG No 58/2006,- Annex 2, table 1)
ТС

	11
	Noise in territories and development zones in urbanized areas and outside them
	New and/or sites and facilities in operation
	· Equivalent noise level;

	РПК 13.00 
БДС 15471
	Ordinance № 6 
(SG No 58/2006,- Annex №2, table 2)

	12
	Artificial lighting in working and living environment;

	New and/or sites and facilities in operation
	Illumination
	РПК 14.00 Methodical instructions for measurement and evaluation of artificial lighting in buildings 40-85
	Ordinance 49,
(SG No 7/1976) Ordinance 9,
(SG No. 46/1994) Ordinance № 24,
(SG No. 95/2003) Ordinance №3,
(SG No.15/2007) Ordinance №26,
(SG No. 103/2008) БДС ΕΝ 12464-1 
ТС 


*The introduction of a new version of standards / documents or standards / documents that replace them is allowed. An up-to-date list of standards / documents with their dated versions is provided by the CAB
Reference to:
Ordinance № 3 - on the health requirements for kindergartens ( SG No 15/2007);
Ordinance № 9 - on the health and hygiene requirements for usage of personal computers in the education and extracurricular activities of students (SG No 4b/1994);
Ordinance № РД-07-3	- on the minimum requirements for the microclimate of the workplaces (SG No63/2014);
Ordinance № 49 - onr artificial lighting of the buildings (SG No7/1976);
Ordinance № 6 - on minimum requirements for ensuring the health and safety of workers from the risks related to noise exposure (SG No 70/2005);
Ordinance № 6 - on the environmental noise indicators, taking into account the degree of discomfort during the different parts of the day, the limit values of the environmental noise indicators, the methods of evaluation of the noise and harmful effects values from the noise on the health of the population. (SG No 58/2006);
Ordinance № 7 - on minimum requirements for healthy and safe working conditions in workplaces and during the use of work equipment. (SG No 88/1999);
Ordinance № 15 - the technical rules and norms for design, construction and operation of the sites and facilities for production, transmission and distribution of heat energy (amended SG No 68/2005);
Ordinance № 24 - on the sanitary and hygienic requirements to the discos (SG No 95/2003); 
Ordinance № 26 - on the structure and activity of the nurseries and children's kitchens and the health requirements to them (SG No 103/2008);
Ordinance № 3 - on the design of electrical installations and power lines (amended SG No 90/2004, No.91/2004);	
Ordinance № 4 – on lightning protection of buildings, outdoor facilities and open spaces (SG No 6 /2011);
Ordinance № 16-116 – on technical operation of energy equipment (SG No 26/2008); 
Ordinance № 22 - on testing of electrical protective equipment in operation (SG No 45/2006);
НИЕМС -1995; Standards for testing electrical machines and equipment, 1995
Methodical instructions for measurement and evaluation of artificial lighting in buildings 40-85, 
Method statute book National Center for Hygiene, Medical Ecology and Nutrition, volume IV, Rev. " Standardization ", 1985 г.
ТС-Technical Specification
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