ORDER

№ A 308

Sofia, 30.09.2025

INSPECTION BODY “EL-VI-CONTROL” OF TYPE C

at “EL-VI-1” LTD, DUPNICA

Address of management:

2600 Dupnitsa, 32 Stefan Karadzha Str.

Office address:

2600 Dupnitsa, PPZK Minchov Square 1-st floor

To perform inspection of:

| Serial number | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection | Regulations, Standards, Specifications, Schemes |
| --- | --- | --- | --- | --- | --- |
| 1. | 2. | 3. | 4. | 5. | 6. |
| Type of scope: flexible* |  |  |  |  |  |
| 1. | Electrical equipment and installations up to 1000V | New and/or in running order/operation / sites/facilities | Impedance of the loop “phase-protected conductor” | РПК 1 | Ordinance No 3 (State Gazette issue 90, 91/2004), Ordinance 16-116 (State Gazette issue 26/2008), TС; |
|  | Electrical equipment and installations up to 1000V | New and/or in running order/operation / sites/facilities | Insulation resistance | БДС 1986 p.3.3. a), b), e), f), БДС 10527, РПК 3 | Ordinance No 3 (State Gazette issue 90, 91/2004), Ordinance 16-116 (State Gazette issue 26/2008), Ordinance No 9 (State Gazette issue 72/2004); TС; |
|  | Electrical equipment and installations up to 1000 V and over 1000V | New and/or in running order/operation / sites/facilities | Resistance of protective earthing systems | РПК 2 | Ordinance No 3 (State Gazette issue 90 and 91/2004), Ordinance No 16-116 (State Gazette issue 26/2008), TС; |
|  | Electrical equipment and installations up to 1000 V and over 1000V | New and/or in running order/operation / sites/facilities | Resistance of lightning protection earth system | РПК 2 | Ordinance No 3 (State Gazette issue 90 and 91/2004), Ordinance No 16-116 (State Gazette issue 26/2008), Ordinance No 4 (State Gazette issue 6/2011); ТС |

* The introduction of a new version of standards/documents replacing them is permitted. Up-to-date list of standards/documents with their dated versions is provided by the Conformity Assessment Body

Ordinance No 3 for the structure of electrical installations and electrical conduct lines (State Gazette issue 90 and 91/2004);

Ordinance No 4 for lightning protection of buildings, external facilities and open spaces (State Gazette issue 45/2006);

Ordinance No 16-116 for the technical operation of electrical equipment (State Gazette issue 26/2008);

Ordinance No 9 for the technical operation of electrical power plants and networks (State Gazette issue 72/2004);

TS- Technical Specification.