                                                 


         
                                                                 
ORDER
№ A 308
Sofia, 30.09.2025

INSPECTION BODY “EL-VI-CONTROL” OF TYPE C

at “EL-VI-1” LTD, DUPNICA

Address of management: 
2600 Dupnitsa, 32 Stefan Karadzha Str.

Office address: 
2600 Dupnitsa, PPZK Minchov Square 1-st floor


To perform inspection of:
	                                                 Serial number
	Field of Inspection
	Type of Inspection
	Parameter of Inspection / Characteristic
	Test and Measurement Methods Used During Inspection
	Regulations, Standards, Specifications, Schemes

	1.
	2.
	3.
	4.
	5.
	6.

	Type of scope: flexible*

	1.
	Electrical equipment and installations up to 1000V
	New and/or in running order/operation / sites/facilities

	Impedance of the loop “phase-protected conductor”
	РПК 1 
	Ordinance No 3 (State Gazette issue 90, 91/2004), Ordinance 16-116 (State Gazette issue 26/2008), TС;

	
	Electrical equipment and installations up to 1000V
	New and/or in running order/operation / sites/facilities

	Insulation
resistance
	БДС 1986
p.3.3. a), b), e), f),
БДС 10527, 
РПК 3
	Ordinance No 3 (State Gazette issue 90, 91/2004), Ordinance 16-116 (State Gazette issue 26/2008), Ordinance No 9 (State Gazette issue 72/2004); TС;

	
	Electrical equipment  and installations up to 1000 V and over 1000V

	New and/or in running order/operation / sites/facilities

	Resistance of protective earthing  systems 
	РПК 2 
	Ordinance No 3 (State Gazette issue 90 and  91/2004), Ordinance No 16-116 (State Gazette issue 26/2008), TС;

	
	Electrical equipment  and installations up to 1000 V and over 1000V

	New and/or in running order/operation / sites/facilities

	Resistance of lightning protection earth system
	РПК 2 
	Ordinance No 3 (State Gazette issue 90 and 91/2004), Ordinance No 16-116 (State Gazette issue 26/2008), Ordinance No 4 (State Gazette issue 6/2011); 
[bookmark: _GoBack]ТС



* The introduction of a new version of standards/documents replacing them is permitted. Up-to-date list of standards/documents with their dated versions is provided by the Conformity Assessment Body


Ordinance No 3 for the structure of electrical installations and electrical conduct lines (State Gazette issue 90 and 91/2004);
Ordinance No 4 for lightning protection of buildings, external facilities and open spaces (State Gazette issue 45/2006);
Ordinance No 16-116 for the technical operation of electrical equipment (State Gazette issue 26/2008);
Ordinance No 9 for the technical operation of electrical power plants and networks (State Gazette issue 72/2004);
TS- Technical Specification.
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