
ORDER
№ A 376
Sofia, 02.12.2025
Gorski Kut-44-Stoynev & Co, Mala Tsarkva village

INSPECTION BODY of type A 

Management and office address: 2021 Mala Tsarka village, Samokov 
To perform inspection:

	Type of scope: fixed

	№
	Field of inspection
	Type of inspection
	Controlled Parameter/Characteristic
	Test/Measurement Method Used
	Regulatory acts, standards, specifications, schemes

	1.
	Еlectrical installations and equipment up to and 

above 1000 V.

	Installed on new and/or used sites/facilities
	Insulation resistance
	Procedure № 1, version № 9, rev. 7, 08.08.2025
	Ordinance №3     

SG № 90, 91/2004; amended and supplemented SG 42/09.06.2015); Ordinance №16-116, SG №26/2008, amended and supplemented SG № 42/09.06.2015

TC

	2.
	Electrical installations and equipment up to and 
above 1000 V
	Installed on new and/or used sites/facilities
	Resistance of protective grounding (earthing) installations
	Procedure № 2, version № 9, rev. 7, 08.08.2025
	Ordinance №3     

SG № 90, 91/2004, 

amended and supplemented SG № 42/09.06.2015

Ordinance №16-116, SG №26/2008;

№ 91/2004; amended and supplemented SG 42/09.06.2015);
TC

	3.
	Еlectrical installations and equipment up to and 

above 1000 V.

	Installed on new and/or used sites/facilities
	Resistance of lightning protection grounding (earthing) installations
	Procedure № 3, version № 9, rev. 7, 08.08.2025
	Ordinance № 4

(SG, № 6/2011);

TC

	4.
	Electrical installations and equipment up to and 

above 1000 V
	Installed on new and/or used sites/facilities
	Impedance Zs of the "phase - protective conductor" circuit
	Procedure № 4, version № 9, rev. 7, 08.08.2025
	Ordinance №3     

SG № 90, 91/2004, 

amended and supplemented SG № 42/09.06.2015

Ordinance № 16-116, 
SG № 26/2008;
TC

	5.
	Artificial lighting in work and domestic environments
	Installed on new and/or used sites/facilities
	Illuminance
	Methodical guidelines for measuring artificial lighting in buildings", Methodology, item 4 of NCHMEN (National Center for Hygiene, Medical Ecology and Nutrition); Procedure № 5, version № 9, rev. 7, 08.08.2025
	БДС EN 12464-1:2021;

Ordinance № 2 
(SG № 15/2007)
Ordinance № 9 
(SG № 46/1994);

Ordinance № 24 
(SG № 95/2003, as amended and supplemented, 
SG № 100/14.11.2023);

Ordinance № 49 
(SG № 7/1976, as amended and supplemented, 
SG № 64/1976);

TC 

	6.
	Microclimate in work and domestic environments
	New and/or in-service facilities and installations
	Air temperature;

Air velocity;

Relative air humidity;
	БДС 16686:1987; Ordinance

№ РД-07-03;

SG № 63/2014. 
Procedure № 6, version № 9, rev. 7, 08.08.2025.
	Ordinance № РД-07-03 
SG № 63/2014;

Ordinance № 9
SG № 46/1994;

Ordinance № 2
SG № 15/2007
Ordinance № 24 
SG № 95/2003, 
as amended and supplemented, 
SG № 100/14.11.2023;

БДС 14776:1987;

TC
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