SCOPE 254 ЛИ

Sofia, 23.03.2026

REGIONAL HEALTH INSPECTORATE - BURGAS

LABORATORY TESTING COMPLEX

Management and  laboratory address:

8001, Burgas, 120 Aleksandrovska Str.

To perform testing of:

| Type of the scope: Flexible for part of the scope* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| I. | FOOD |  |  |
| I.1 | MICROBIOLOGY OF FOOD |  |  |
|  | Grain and cereal crops and products thereof Bread and bakery products (1) Sugar and confectionery products, sugar (2) Eggs and egg products (3) Ready meals (4) | 1. Coliforms | ISO 4832 (1,2,3,4) |
|  |  | 2. Beta-glucuronidase-positive Escherichia coli | БДС ISO 16649-2 (1,2,3,4) |
|  |  | 3. Salmonella spp. | БДС EN ISO 6579-1/А1 (1,2,3,4) |
|  |  | 4. Total count of microorganisms | БДС EN ISO 4833-1/А1 (1,2,3,4) |
|  |  | 5. Coagulase-positive staphylococci | БДС EN ISO 6888-1/ (1,2,3,4) |
|  |  | 6. Listeria monocytogenes | БДС EN ISO 11290-2 (1,2,3,4) |
| I.2 | RADIOLOGY OF FOOD |  |  |
|  | Milk and dairy products (1) Meat and meat products (2) Grain and cereal crops and products thereof Bread and bakery products (3) Canned foods (4) Spices (5) Sugar and confectionery products, sugar (6) Animal and vegetable fats and oils (7) Oilseeds and nuts (8) Fruits and vegetables (9) Coffee, tea, cocoa (10) Non-alcoholic beverages (11) Eggs and egg products (12) Ready meals (13) Fish and fish products (14) | Specific activity of γ-radionuclides | IEC 61452 (1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14) |
| II. | WATER |  |  |
| II.1 | PHYSICOCHEMISTRY AND TOXICOLOGY OF WATER |  |  |
|  | Drinking water (1) Bottled mineral, spring and table water (2) Surface water for bathing and water sports (3) Swimming pool water (4) | 1. Active reaction (pH) | БДС 3424, cl. 1 (1, 2) БДС EN ISO 10523 (4) |
|  |  | 2. Ammonium ions | БДС 3587, cl. 2 (1, 2) VILM № 2 (4) |
|  |  | 3. Iron | БДС 16777, cl. 1 (1, 2) БДС EN ISO 15586, cl. 7.2 (1, 2) БДС ISO 6332, cl. 7.1 (1, 2, 4) |
|  |  | 4. Manganese (total) | БДС ISO 6333 (1, 2, 4) БДС EN ISO 15586, cl. 7.2 (1, 2) БДС EN ISO 17294-2 (1, 2) |
|  |  | 5. Nitrates | БДС 3758, cl. 1 (1, 2) |
|  |  | 6. Nitrites | БДС EN 26777 (1, 2, 4) |
|  |  | 7. Turbidity | БДС EN ISO 7027-1 (1, 2) |
|  |  | 8. Free chlorine | БДС EN ISO 7393-2, cl. 6.4 (1, 2) VILM № 1 (4) |
|  |  | 9. Calcium | БДС ISO 6058 (1, 2) |
|  |  | 10. Magnesium | VILM № 4 (1, 2) |
|  |  | 11. Total hardness | БДС ISO 6059 (1, 2) |
|  |  | 12. Oxidisability | БДС 3413 (1, 2) VILM № 3 (4) |
|  |  | 13. Sulphates | БДС 3588 (1, 2) |
|  |  | 14. o-Phosphates | БДС EN ISO 6878, cl. 4 (1, 2) |
|  |  | 15. Chlorides | БДС 3414 (1, 2) |
|  |  | 16. Zinc | БДС 16777, cl. 1 (1, 2) |
|  |  | 17. Nickel | БДС EN ISO 17294-2 (1, 2) БДС EN ISO 15586, cl. 7.2 (1, 2) |
|  |  | 18. Copper | БДС 16777, cl. 1 (1, 2) БДС EN ISO 17294-2 (1, 2) |
|  |  | 19. Cadmium | БДС 16777, cl. 1 (1, 2) БДС EN ISO 15586, cl. 7.2 (1, 2) БДС EN ISO 17294-2 (1, 2) |
|  |  | 20. Lead | БДС 16777, cl. 1 (1, 2) БДС EN ISO 15586, cl. 7.2 (1, 2) БДС EN ISO 17294-2 (1, 2) |
|  |  | 21. Sodium | БДС ISO 9964-1 (1, 2) |
|  |  | 22. Fluorides | БДС 16911, cl. 1 (1, 2) |
|  |  | 23.1 Chromium (hexavalent) 23.2 Chromium | БДС 7212 (1, 2) БДС EN ISO 17294-2 (1, 2) |
|  |  | 24. Aluminium | БДС ISO 10566 (1, 2) |
|  |  | 25. Arsenic | БДС 3570 (1, 2) БДС EN ISO 17294-2 (1, 2) |
|  |  | 26. Boron | БДС ISO 9390 (1, 2) БДС EN ISO 17294-2 (1, 2) |
|  |  | 27. Specific electrical conductivity at 25°C | БДС EN 27888 (1, 2) |
|  |  | 28. Organophosphorus pesticides** | VILM № 10 (1, 2); VILM № 6 (1, 2) |
|  |  | 29. Organochlorine pesticides** | VILM № 10 (1, 2) |
|  |  | 30. Trihalomethanes, total of: chloroform, bromoform, dibromochloromethane, bromodichloromethane | БДС EN ISO 10301 (1, 2) |
|  |  | 31. Tetrachloroethene, trichloroethene | БДС EN ISO 10301 (1, 2) |
|  |  | 32. Benzene | VILM № 5 (1, 2) |
|  |  | 33. 1,2-Dichloroethane | БДС EN ISO 10301 (1, 2) |
|  |  | 34. Cyanides | БДС 7214 (1, 2) |
|  |  | 35. Vinyl chloride | БДС EN ISO 10301 (1, 2) |
|  |  | 36. Antimony | БДС EN ISO 17294-2 (1, 2) |
|  |  | 37. Selenium | БДС EN ISO 17294-2 (1, 2) |
|  |  | 38. Mercury | БДС EN ISO 17294-2 (1, 2) |
|  |  | 39. Uranium | БДС EN ISO 17294-2 (1, 2) |
| II.2 | MICROBIOLOGY OF WATER |  |  |
|  | Drinking water (1) Bottled mineral waterSpring and table water (2) Surface water for bathing and water sports (3) Swimming pool water (4) | 1. Faecal coliforms | БДС 17335, cl. 7.2.2 (4) |
|  |  | 2. Escherichia coli | БДС EN ISO 9308-1/А1 (1, 2) БДС EN ISO 9308-3 (3) |
|  |  | 3.1 Coliforms 3.2 Coliform bacteria | БДС 17335, cl. 7.2.1 (4) БДС EN ISO 9308-1/А1 (1, 2) |
|  |  | 4. Total microbial count | БДС 17335, cl. 6 (4) |
|  |  | 5. Viable microorganisms | БДС EN ISO 6222 (1, 2) |
|  |  | 6. Enterococci | БДС 17335, cl. 8 (4) |
|  |  | 7. Intestinal enterococci | БДС EN ISO 7899-1 (3) БДС EN ISO 7899-2 (1, 2) |
|  |  | 8. Staphylococci and Staphylococcus aureus | БДС 17335, cl. 9.1 (4) |
|  |  | 9. Spores of sulfite-reducing anaerobes (clostridia) | БДС EN 26461-2 (1, 2) |
|  |  | 10. Salmonella spp. | БДС EN ISO 19250 (1, 3) |
|  |  | 11. Pseudomonas aeruginosa | БДС EN ISO 16266 (1, 2) |
| II.3 | RADIOLOGY OF WATER |  |  |
|  | Drinking water | 1. Gross alpha activity | БДС ISO 9696 (1) |
|  |  | 2. Gross beta activity | БДС EN ISO 9697 (1) |
| III. | SURFACE SAMPLES |  |  |
|  | Working surfaces | 1. Coliforms | ISO 4832 |
|  |  | 2. Salmonella spp. | БДС EN ISO 6579-1/А1 |
|  |  | 3. Coagulase-positive staphylococci | БДС EN ISO 6888-1 |
|  |  | 4. Total count of microorganisms | БДС EN ISO 4833-1/А1 |
|  |  | 5. Listeria monocytogenes | БДС EN ISO 11290-2 |
| IV. | COSMETIC PRODUCTS |  |  |
| IV.1 | PHYSICOCHEMISTRY OF COSMETIC PRODUCTS |  |  |
| 1. | Toothpaste | Total fluoride in toothpaste | VILM № 7 |
| 2. | Sunscreen cosmetic products | Octylmethoxycinnamate | VILM № 11 |
| 3. | Products for colouring eyelashes and eyebrows | Identification and determination of silver nitrate | Annex 2, item XXX, Ordinance № 14 of the Ministry of Health |
| IV.2 | MICROBIOLOGY OF COSMETIC PRODUCTS |  |  |
|  | Сosmetic products | 1. Yeasts and moulds | БДС EN ISO 16212, cl. 9.3.2.1 Pour plate method |
|  |  | 2. Aerobic mesophilic bacteria | БДС EN ISO 21149, cl. 9.3.2.1 Pour plate method |
|  |  | 3. Escherichia coli | БДС EN ISO 21150 |
|  |  | 4. Pseudomonas aeruginosa | БДС EN ISO 22717 |
|  |  | 5. Staphylococcus aureus | БДС EN ISO 22718 |
|  |  | 6. Candida albicans | БДС EN ISO 18416 |

To perform sampling of:

| Type of the scope: flexible* |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Drinking water | БДС ISO 5667-5 БДС EN ISO 19458 |
| 2. | Surface water for bathing and for water sports | БДС ISO 5667-9, cl. 4.2.2. БДС EN ISO 19458 |

*Flexible scope:

Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

**Within the scope of its competencies, the laboratory is authorized to determine all characteristics (column 3) in accordance with the marked testing methods (column 4) belonging to the group of products (column 2) after verification/validation performed, provision of CRM/RM and calibrated technical devices. The laboratory maintains a detailed and dated list of the products and characteristics belonging to the products mentioned within the scope of accreditation.

Flexible scope references:

VILM № 10:2013 Determining pesticides in potable water through solid-phase extraction and gas chromatography.

VILM № 6:2021 Determining pesticides in potable water through solid-phase extraction and liquid chromatography.

Fixed scope references:

VILM № 1:2021 Colorimetric method by using N, N-dialkyl-1, 4-phenylenediamine for determining free chlorine in swimming pool water.

VILM № 2:2021 Determining the content of ammonium ions in swimming pool water.

VILM № 3:2021 Determining permanganate oxidizability of swimming pool water.

VILM № 4:2021 Determining magnesium content in potable water. Titrimetric method with EDTA.

VILM № 5:2011 Gas chromatographic method for determining benzene in water.

VILM № 7:2024 Method for determining total fluoride in toothpaste.

VILM № 11:2015 Method for determining oxyl methoxycinnamate in sun protection products.

Ordinance № 14 of the Ministry of Health – Ordinance № 14/28.07.2014 on determining detailed rules for presenting the information specified in Art. 19, para. 4 of Regulation (EC) № 1223/2009 concerning cosmetic products and chemical methods for checking the content of cosmetic products, published in SG № 68/15.08.2024: Annex 2 – Chemical methods for checking the content of cosmetic products, item XXX Identification and estimation of silver nitrate in cosmetic products.