ORDER

№ A 134
Sofia, 11.05.2026
INSPECTION BODY OF TYPE С at „MEDIGROUP CONTROL“ ЕOOD, BURGAS
Management and office address: 8000 Burgas, 10 Apostol Karamitev str., floor 1
          To perform inspections of:
	Scope type: flexible*

	№
	Field of inspection
	Type of inspection
	Parameter of Inspection/ Characteristic
	Test and Measurement Methods Used During Inspection
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	1
	Electrical installations and facilities of up to 1000 V
	of new and / or operating sites / facilities
	Resistance of protective earthing systems
	ПК № 7.1.1
	Ordinance № 3, SG issue 90 and 91/2004; 

Ordinance № 16-116, SG issue 26/2008;

TС

	
	
	
	Resistance of lightning protection earthing systems
	ПК № 7.1.2
	Ordinance № 4, SG issue 6/2011;

TС

	
	
	
	Impedance of the "protective conductor phase" circuit
	ПК № 7.1.3
	Ordinance № 3, SG issue 90 and 91/2004;

Ordinance № 16-116, SG issue 26/2008; 

TС

	
	
	
	Insulation resistance
	БДС 1986, item 3.3 (а), (b), (e) and (f); 
ПК № 7.1.4
	Ordinance № 3, SG issue 90 and 91/2004; 

Ordinance № 16-116, SG issue 26/2008; 

Ordinance № 1, SG issue 46/2010;

TС

	
	
	
	Circuit breakers - contact voltage 
- tripping current
	ПК № 7.1.5
	Ordinance № 3, SG issue 90 and 91/2004;

Ordinance № 16-116, SG issue 26/2008; 

TС

	2
	Microclimate in working and living environments
	of new and / or operating sites / facilities
	Air temperature

Relative humidity

Air velocity
	БДС 16686; Ordinance № РД-07-3, SG issue 63/2014; 
ПК № 7.1.6
	Ordinance № 9, SG issue 46/94; Ordinance № 24, SG issue 95/2003; Ordinance № 2, SG issue 15/2007; Ordinance № 3, SG issue 15/2007; БДС 14776; 

Ordinance № РД-07-3, SG issue 63/2014; 

TС

	3
	Artificial lighting in working and living environments
	of new and / or operating sites / facilities
	Illumination
	Methodical instructions for measurement and evaluation of artificial lighting in buildings 40-85, ed. "Standardization"; 
ПК № 7.1.7
	Ordinance № 49, SG issue 7/1976; Ordinance № 9, SG issue 46/1994; Ordinance № 24, SG issue 95/2003; Ordinance № 2, SG issue 15/2007; Ordinance № 3, SG issue 15/2007; 

БДС EN 12464-1;

TС

	4


	Noise in premises of residential and public buildings
	of new and / or operating sites / facilities
	Noise level

Equivalent noise level
	БДС 15471;

ПК № 7.1.8.2
	Ordinance № 6, SG issue 58/2006 – Appendix № 2, Table 1;

Ordinance № 24, SG issue 95/2003; Ordinance № 2, SG issue 15/2007; Ordinance № 9, SG issue 46/1994; 

TС

	5
	Noise in territories and development zones in urban areas and outside them
	Inspection of new sites and/or sites and facilities in operation
	Equivalent noise level
	БДС 15471 

ПК № 07-01-07 
	Ordinance No. 6, Attachment 2, Table. 2 
(SG 58/2006)
TC

	   6
	Ventilation installations
	of new and / or operating sites / facilities
	Air flow rate

Air flow
	БДС 12.3.018; 

ПК № 7.1.9
	Ordinance № 15, SG issue 68/2005; 

TС

	7
	Air conditioning systems
	
	Air temperature

Relative humidity
	БДС 16686; Ordinance № РД-07-3, SG issue 63/2014; 

ПК № 7.1.10
	Ordinance № 15, SG issue 68/2005; 

БДС 14776; Ordinance № РД-07-3, SG issue 63/2014; 
TС


* Introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the CAB.

Ordinance № 16-116 on the technical operation of energy equipment (promulgated SG issue 26/2008);

Ordinance № 3 on the design of electrical installations and power lines (promulgated SG issue 90/2004, issue 91/2004);

Ordinance № 4 on the lightning protection of buildings, outdoor facilities and open spaces (SG issue 6 of 18.01.2011);
Ordinance № 1 on the design, construction and maintenance of low voltage electrical installations in buildings (promulgated, State Gazette, issue 46/2010);

Ordinance № 24 on the sanitary and hygienic requirements for disco clubs (promulgated, State Gazette, issue 95/2003, amended, State Gazette, issue 100/2003);

Ordinance № 9 on the health and hygiene requirements during use of personal computers in students’ education process and extracurricular activities (State Gazette, issue 46/1994);
Ordinance № 2 on health requirements for computer and internet clubs for public use (promulgated, State Gazette, issue 15/2007);

Ordinance № 3 on the health requirements for kindergartens (promulgated, State Gazette, issue 15/2007);

Ordinance № РД-07-3 on the minimum requirements for the microclimate in the workplace (State Gazette, issue 63/2014);

Ordinance № 49 on artificial lighting of buildings (State Gazette, issue 7/1976, amended and supplemented, State Gazette, issue 64/1976); Methodical instructions for measurement and evaluation of artificial lighting in buildings 40-85, Standardization edition, 1985;

Ordinance № 6 on environmental noise indicators, taking into account the degree of discomfort during the different parts of the day, the limit values ​​of the environmental noise indicators, in the premises of residential and public buildings, in areas and territories intended for residential building, recreational areas and mixed-use areas and zones, methods for estimating noise values ​​and indicators and the harmful effects of noise on public health (promulgated, State Gazette, issue 58/2006);

Ordinance № 15 on technical rules and regulations for the design, construction and operation of sites and facilities for heat production, transmission and distribution (State Gazette, issue 68/2005).
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