SCOPE 24 ЛК

Sofia, 15.07.2026

VRS CONTROL LTD

CALIBRATION LABORATORY

Management address:

1517, Sofia, Poduyane, 26 Vasil Kanchev Str, Block Section B, Entr. G, Floor 5, Office 23

Laboratory address:

1298, Sofia, Trebich, 139 Rozhen Blvd.

To perform calibration of:

| Type of the scope: fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Measuring instrument | Measured value, unit of measure | Measurement Range | Measurement uncertainty | Calibration method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Tanks: -horizontal made of metal and non-metal, mounted stationary and on mobile platforms; - with different geometric shape; - vertical or cylindrical | Volume, m3 | from 2,5 m3 to 60 m3 | 0,20% | МК 7-2.1/2026 (based on ISO 4269:2001 -volumetric method) |
| 2. | Tanks: -horizontal, cylindrical, made of metal and non-metal, mounted stationary and on mobile platforms | Volume, m3 | form 5 m3 to 100 m3 | 0,30% | МК 7-2.2/2026 (based on ISO 12917-1:2017, ISO 7507-1:2003 -geometrical method, strapping method) |
| 3. | Tanks: -vertical, cylindrical, made of metal and non-metal. Mounted stationary and on mobile platforms; | Volume, m3 | form 5 m3 to 100 m3 | 0,30% | МК 7-2.3/2026 (based on ISO 7507-1:2003 – strapping method) |

Note: Calibration is performed at the customer's site.

Reference:

1. МК 7-2.1/2026 Method for calibration of tanks for liquids other than water by volumetric method (based on ISO 4269:2001 Petroleum and liquid petroleum products - Calibration of tanks by measuring the liquid - Incremental method using volume measuring instruments).

2. MK 7-2.2/2026 Method for calibration of horizontal tanks for liquids by geometric method (based on ISO 12917-1:2017 Petroleum and liquid petroleum products — Calibration of horizontal cylindrical tanks – Part 1: Manual methods, ISO 7507-1:2003 Petroleum and liquid petroleum products — Calibration of vertical cylindrical tanks – Part 1: Strapping method) (introduced with БДС ISO 7507-1:2016 Petroleum and liquid petroleum products. Calibration of vertical cylindrical tanks. Part 1: Strapping method).

3. MK 7-2.3/2026 Method for calibration of vertical tanks by geometric method (based on ISO 7507-1:2003 Petroleum and liquid petroleum products — Calibration of vertical cylindrical tanks – Part 1: Strapping method) (introduced with БДС ISO 7507-1:2016 Petroleum and liquid petroleum products — Calibration of vertical cylindrical tanks – Part 1: Strapping method).