SCOPE 122 ЛИ

Sofia, 19.06.2026

KONTROL 94 LTD.

TESTING LABORATORY

Management address: 5100, Gorna Oryahovitsa, 2 Mladost Str.

Laboratory address: 5100, Gorna Oryahovitsa, 2 Mladost Str

To perform testing of:

| Type of the scope: flexible* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Multi-firing sauna stoves fired by natural wood logs | 1.1. Temperature safety (fire safety) | БДС EN 15821, cl. A.4.7 |
|  |  | 1.2. Combustion products emissions (CO; O2; CO2; CO2, NOx; CxHy; OGC; mass of flue gases flow; particulate matter (PM)) | БДС EN 15821, cl. A.4.6, cl. A.4.4.2, cl. A.6.2.5, cl. A.6.2.8, cl. A.6.2.4); CEN/TS 15883 (cl. 4, cl. 5); БДС EN 16510-1, Annex F |
|  |  | 1.3. Surface temperature | БДС EN 15821, cl. A.4.6.3 |
|  |  | 1.4. Flue gases temperature | БДС EN 15821, cl. A.2.3.2, cl. A.4.4.3 |
|  |  | 1.5. Heat ouput (nominal heat output)/ energy efficiency (losses) | БДС EN 15821, cl. A.4.6 (cl. A.6.2.2, cl. A.6.2.3)/ cl. A.6.2.1, (cl. A.6.2.6) |
| 2. | Heating boilers for solid fuel, manually and automatically stoked, nominal heat output of up to 500 kW. | 2.1. Combustion products emissions at nominal and minimum heat output (CO; O2; CO2; NOx; CxHy; OGC, mass of flue gases flow; dust) | БДС EN 303-5, cl. 5.8, cl. 5.9.4; БДС EN 13284-1 |
|  |  | 2.2. Surface temperature at nominal and minimum heat output (losses) | БДС EN 303-5, cl. 5.11 (cl. 5.9.3.2) |
|  |  | 2.3. Flue gases temperature at nominal and minimum heat output | БДС EN 303-5, cl. 5.6 |
|  |  | 2.4. Heat output/ energy efficiency (losses) at nominal and minimum heat output and determining the boiler class | БДС EN 303-5, cl. 5.7.1, cl. 5.7.2, cl. 5.7.3, cl. 5.7.7, (cl. 5.9.1, cl. 5.9.2, cl. 5.10, cl. 5.4, cl.5.5)/ cl. 5.7.6 (cl. 5.9.3), Annex F |
| 3. | Residential solid fuel burning appliances - Roomheaters | БДС EN 16510-2-1 |  |
|  |  | 3.1. Combustion products emissions at nominal heat output, part load heat output and slow combustion (O2; CO2; CO; mass of flue gases flow; NO; NO2; NOx; CxHy; OGC; particulate matter (PM)) | БДС EN 16510-1, cl. A.4.4.2, (cl. A.6.2.6, cl. A.6.2.9, cl. A6.2.5); БДС EN 16510-1, Annex D; БДС EN 16510-1, Annex E; БДС EN 16510-1, Annex F |
|  |  | 3.2. Flue gases temperature | БДС EN 16510-1, cl. A.2.3.2, cl. A.4.4.3; (cl. A.6.2.10) |
|  |  | 3.3. Surface temperature | БДС EN 16510-1, cl. A.4.7 |
|  |  | 3.4. Safety (load-bearing capacity; open operation; temperature safety; safety under natural draught conditions; type pressure for integral boiler; operation of thermal discharge control and safety heat exchanger; safety of roomsealed appliances) | БДС EN 16510-1, cl. A.4.10 (cl. A.4.10.2, cl. A.4.10.3, cl. A.4.10.4, cl. A.4.10.5, cl. A.6.2.8, cl. A.4.10.6, cl. A.4.10.7, cl. A.4.11) |
|  |  | 3.5. Heat output (nominal heat output; part load of heat output; slow combustion; combustion recovery; output of the water heater; space heat output; water temperatures and flow rate)/ energv efficiencv (losses)) | БДС EN 16510-1, cl. A.4.7, cl. A.4.8, cl. A.4.9, cl. A.4.9.4, cl. A.4.5, (cl. A.6.2.2, cl. A.6.2.3, cl. A.6.2.4, cl. A.2.5)/ cl. A.6.2.1 (cl. A.4.4, cl. A.4.6, cl. A.6.2.7) |
| 4. | Residential solid fuel burning appliances - Inset appliances including open fires | БДС EN 16510-2-2 |  |
|  |  | 4.1.Combustion products emissions at nominal heat output, part load heat output and slow combustion (O2; CO2; CO; mass of flue gases flow; NO; NO2; NOx; CxHy; OGC; particulate matter (PM)) | БДС EN 16510-1, cl. A.4.4.2, (cl. A.6.2.6, cl. A.6.2.9, cl. A6.2.5); БДС EN 16510-1, Annex D; БДС EN 16510-1, Annex E; БДС EN 16510-1, Annex F |
|  |  | 4.2.Flue gases temperature | БДС EN 16510-1, cl. A.2.3.2, (cl. A.4.4.3, (cl. A.6.2.10) |
|  |  | 4.3.Surface temperature | БДС EN 16510-1, cl. A.4.7 |
|  |  | 4.4.Safety (load-bearing capacity; open operation; temperature safety; safety during natural draught operation; type pressure for integral boiler; operation of thermal discharge control and safety heat exchanger; safety of roomsealed appliances; operation of appliances without the doors) | БДС EN 16510-1, cl. A.4.10 (cl. A.4.10.2, cl. A.4.10.3, cl. A.4.10.4, cl. A.4.10.5, cl. A.6.2.8, cl. A.4.10.6, cl. A.4.10.7, cl. A.4.11); БДС EN 16510-2-2, cl. A.4.10.201 |
|  |  | 4.5. Heat output (nominal heat output; part load heat output; slow combustion; combustion recovery; output of the water heater; space heat output; water temperatures and flow rate) / energy efficiency (losses)) | БДС EN 16510-1, cl. A.4.7, cl. A.4.8, cl. A.4.9, cl. A.4.9.4, cl. A.4.5, (cl. A.6.2.2, cl. A.6.2.3, cl. A.6.2.4, cl. A.2.5)/ cl. A.6.2.1 (cl. A.4.4, cl. A.4.6, cl. A6.2.7) |
| 5. | Residential solid fuel burning appliances - Cookers | БДС EN 16510-2-3 |  |
|  |  | 5.1.Combustion products emissions at nominal heat output, part load heat output and slow combustion (O2; CO2; CO; mass of flue gases flow; NO; NO2; NOx; CxHy; OGC; particulate matter (PM)) | БДС EN 16510-1, cl. A.4.4.2, (cl. A.6.2.6, cl. A.6.2.9, cl. A.6.2.5); БДС EN 16510-1, Annex D; БДС EN 16510-1, Annex E; БДС EN 16510-1, Annex F |
|  |  | 5.2.Flue gases temperature; | БДС EN 16510-1, cl. A.2.3.2, cl. A.4.4.3 (cl. A.6.2.10) |
|  |  | 5.3. Surface temperatures; | БДС EN 16510-1, cl. A.4.7 |
|  |  | 5.4.Safety (load-bearing capacity; open operation; temperature safety; safety during natural draught operation; type pressure for integral boiler; operation of thermal discharge control and safety heat exchanger; safety of roomsealed appliances; operation of appliances without the doors) | БДС EN 16510-1, cl. A.4.10 (cl. A.4.10.2, cl. A.4.10.4, cl. A.4.10.5, cl. A.6.2.8, cl. A.4.10.6, cl. A.4.10.7, cl. A.4.11) |
|  |  | 5.5. Heat output (nominal heat output; part load heat output; slow combustion; combustion recovery; output of the water heater; space heat output; water temperatures and flow rate) / energy efficiency (losses)/ oven temperature; heating the hotplate; heating the oven; oven shelf and oven door) | БДС EN 16510-1, cl. A.4.7, cl. A.4.8, cl. A.4.9, cl. A.4.9.4, cl. A.4.5, (cl. A.6.2.2, cl. A.6.2.3, cl. A.6.2.4, cl. A.2.5)/ cl. A.6.2.1 (cl. A.4.4, cl. A.4.6, cl. A.6.2.7); БДС EN 16510-2-3, cl. A.4.301, cl. A.4.301.1, cl. A.4.301.2, cl. A.4.301.3, cl. A.4.301.4, cl. A.4.301.5 |
| 6. | Residential solid fuel burning appliances - Mechanically by wood pellets fed roomheaters, inset appliances and cookers | БДС EN 16510-2-6 |  |
|  |  | 6.1. Combustion products emissions at nominal heat output, part load heat output and slow combustion (O2; CO2; CO; mass of flue gases flow; NO; N02; NOx; CxHy; OGC; particulate matter (PM)) | БДС EN 16510-1, cl. A.4.4.2, (cl. A.6.2.6, cl. A.6.2.8, cl. A.6.2.9, cl. A.6.2.5); БДС EN 16510-1, Annex D; БДС EN 16510-1, Annex E; БДС EN 16510-1, Annex F |
|  |  | 6.2. Flue gases temperature | БДС EN 16510-1, cl. A.2.3.2, cl. A.4.4.3 (cl. A.6.2.10) |
|  |  | 6.3. Surface temperatures | БДС EN 16510-1, cl. A.4.7 |
|  |  | 6.4. Safety (load-bearing capacity; temperature safety; type pressure for integral boiler; operation of thermal discharge control and safety heat exchanger; safety of roomsealed appliances) | БДС EN 16510-1, cl. A.4.10 (cl. A.4.10.2, cl. A.4.10.4, cl. A.4.10.6, cl. A.4.10.7, cl. A.4.11); БДС EN 16510-2-6, cl. A.4.10, cl. A.4.10.4, cl. A.4.10.601, cl. A.4.11 |
|  |  | 6.5. Heat output (nominal heat output; part load heat output; output of the water heater; space heat output; water temperatures and flow rate)/ energy efficiency (losses)/ oven temperature; heating the hotplate; heating the oven; oven shelf and oven door) | БДС EN 16510-1, cl. A.4.7, cl. A.4.8, cl. A.4.5, (cl. A.6.2.2, cl. A.6.2.3, cl. A.6.2.4, cl. A.2.5)/ cl. A.6.2.1 (cl. A.4.4, cl. A.4.6, cl. A.6.2.7); БДС EN 16510-2-6, cl. A.4.6, cl. A.4.7, cl. A.4.8, A.6.2.1.4/ cl. A.4.601; БДС EN 16510-2-3, cl. A.4.301 |

To perform sampling of:

| Type of the scope: flexible* |  |  |
| --- | --- | --- |
| № | Tested products | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Emissions from combustion products - dust | БДС EN 13284-1 |
| 2. | Emissions from combustion products - particulate matter (PM) | БДС EN 16510-1, Annex F |

*Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.