SCOPE 322 ЛИ

CENTER FOR TESTING AND EUROPEAN CERTIFICATION LTD

LABORATORY FOR PERSONAL PROTECTIVE EQUIPMENT TESTING

Management and  laboratory address:

6006, Stara Zagora, Industrial Quarter, 2 Industrialna Str.

To perform testing of:

| Type of the scope: flexible* |  |  |  |  |
| --- | --- | --- | --- | --- |
| № | Tested products | Type of test / characteristics |  | Test methods (standard/ validated method) |
| 1 | 2 | 3 |  | 5 |
| 1. | Respiratory protective devices. Filtering half masks to protect against particles. | 1.1 | Leakage (Total inward leakage) | БДС EN 149:A1 |
|  |  | 1.2 | Flammability | БДС EN 149+A1 |
|  |  | 1.3 | Strength of attachment of exhalation valve housing | БДС EN 149:A1 |
|  |  | 1.4 | Breathing Resistance | БДС EN 149:A1 |
|  |  | 1.5 | Flow impact of the exhalation valve | БДС EN 149:A1 |
|  |  | 1.6 | Filter penetration | БДС EN 149:A1; БДС EN 13274-7 |
|  |  | 1.7 | Carbon dioxide content of the inhalation air | БДС EN 149:A1 |
|  |  | 1.8 | Clogging | БДС EN 149:A1 |
| 2. | Respiratory protective devices. Particle filters. | 2.1 | Mass | БДС EN 143 |
|  |  | 2.2 | Filter penetration | БДС EN 143; БДС EN 13274-7 |
|  |  | 2.3 | Breathing Resistance | БДС EN 143; БДС EN 13274-3 |
| 3. | Respiratory protective devices. Full face masks. | 3.1 | Carbon dioxide content of the inhalation air | БДС EN 136 |
|  |  | 3.2 | Breathing Resistance | БДС EN 136 |
|  |  | 3.3 | Leakage (Total inward leakage) | БДС EN 136 |
| 4. | Respiratory protective devices. Half masks and quarter masks. | 4.1 | Flammability | БДС EN 140; БДС EN 140+AC |
|  |  | 4.2 | Carbon dioxide content of the inhalation air | БДС EN 140; БДС EN 140+AC |
|  |  | 4.3 | Breathing Resistance | БДС EN 140; БДС EN 140+AC |
| 5. | Respiratory protective devices. Half masks without inhalation valves and with separable filters to protect against gases or gases and particles or particles only. | 5.1 | Flammability | БДС ЕN 1827+А1 |
|  |  | 5.2 | Exhalation valve. Flow test | БДС ЕN 1827+А1 |
|  |  | 5.3 | Tensile test. Exhalation valve. | БДС ЕN 1827+А1 |
|  |  | 5.4 | Particle filter penetration | БДС EN 1827+A1; БДС EN 13274-7 |
|  |  | 5.5 | Clogging | БДС ЕN 1827+А1; БДС EN 149:A1 |
|  |  | 5.6 | Carbon dioxide content of the inhalation air | БДС ЕN 1827+А1 |
|  |  | 5.7 | Breathing Resistance | БДС ЕN 1827+А1 |
| 6. | Respiratory protective devices. Gas filter(s) and combined filter(s). | 6.1 | Mass | БДС EN 14387 |
|  |  | 6.2 | Breathing Resistance | БДС EN 14387; БДС EN 13274-3 |
|  |  | 6.3 | Filter penetration | БДС EN 14387; БДС EN 13274-7 |
| 7. | Textile products. Protective clothing for use against solid Particulates. | 7 | Inward leakage into suit | БДС EN 13982-2 |
| 8. | Textile products. Protective clothing for use against airborne solid particles including radioactive contamination. | 8 | Inward leakage into suit | БДС EN 13982-2 |
| 9. | Community face coverings. | 9.1 | Head harness strength | СД CEN/TS 17553 |
|  |  | 9.2 | Material filtration efficiency | БДС EN 13274-7 |
|  |  | 9.3 | Breathing resistance | БДС EN 13274-3 |
| 10. | Eye protective devices. | 10.1 | Resistance to mechanical impact | БДС EN ISO 18526-3 |
|  |  | 10.2 | Resistance to thermal exposure | БДС EN ISO 18526-3 |
|  |  | 10.3 | Resistance to corrosion | БДС EN ISO 18526-3 |

*Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.