SCOPE 147 ЛИ

Sofia, 01.06.2026

TRA EOOD

CONSTRUCTION TESTING CENTRE

Management address:  1345, Sofia, Zaharna Fabrika, 1 Kukush Str.

Laboratory addresses: 1. 1510, Sofia, Hadzhi Dimitar, 7, Rezbarska Str.

2. 8009, Burgas, Meden Rudnik Territory, Area Nad Dzhambazlare

3. 6410, Krepost, Dimitrovgrad Municipality, Area Dolna Cheshma

- Сonstruction Testing Centre Sofia at TRA EOOD

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
|  | Cement | Standard consistence | БДС EN 196-3, cl. 5 |
|  |  | Determination of initial setting time | БДС EN 196-3, cl. 6, Anex А |
|  |  | Determination of final setting time | БДС EN 196-3, cl. 6, Anex А |
|  |  | Soundness test | БДС EN 196-3, cl. 7 |
|  |  | Compressive strength | БДС EN 196-1 |
|  | Coarsе / All-in aggregate | Particle size distribution | БДС EN 933-1 |
|  |  | Fine content | БДС EN 933-1 |
|  |  | Shells content | БДС EN 933-7 |
|  |  | Shape index | БДС EN 933-4 |
|  |  | Overall flakiness index | БДС EN 933-3 |
|  |  | Percent of: - crushed particles, - totally crushed particles, - totally rounded particles | БДС EN 933-5 |
|  |  | Polished Stone Value | БДС ЕN 1097-8 |
|  |  | Water content | БДС EN 1097-5 |
|  |  | Loose bulk density | БДС EN 1097-3 |
|  |  | Compacted dry bulk density | БДС EN 1097-3, Annex D |
|  |  | Particle density: - Specific particle density, - Bulk oven- dried particle density, - Bulk saturated and surface-dried particle density, - Specific density of pre-dried particles | БДС EN 1097-6, Wire basket method/ Pyknometer method |
|  |  | Void content | БДС EN 1097-3 |
|  |  | Water absorption | БДС EN 1097-6, Wire basket method/ Pyknometer method |
|  |  | Loss of mass during freezing and thawing | БДС EN 1367-1 |
|  |  | Magnesium sulfate value | БДС EN 1367-2 |
|  |  | Resistance to crushing | БДС ЕN 206+А2/ NA, Annex NА.Q |
|  |  | Resistance to wear (micro- Deval coefficient) | БДС EN 1097-1 |
|  |  | Resistance to fragmentation – Los Angeles coefficient | БДС EN 1097-2 |
|  |  | Affinity between aggregate and bitumen – boiling water stipping method | БДС EN 12697-11 |
|  |  | Loss of strength of basalt aggregate | БДС EN 1367-3 |
|  |  | Loss of mass of basalt aggregate | БДС EN 1367-3 |
|  |  | Content of water-soluble chlorides | БДС EN 1744-1+А1, cl. 7 |
|  |  | Content of acid soluble chlorides | БДС EN 1744-5 |
|  |  | Total sulfur content | БДС EN 1744-1+А1, cl. 11.1 |
|  |  | Content of water soluble sulfate | БДС EN 1744-1+А1, cl. 10.1 |
|  |  | Content of acid soluble sulfates | БДС EN 1744-1+А1, cl. 12 |
|  |  | Сontent of lightweight contaminators | БДС EN 1744-1+А1, cl. 14.2 |
|  |  | Сontent of humus | БДС EN 1744-1+А1, cl. 15.1 |
|  |  | Total content of water-soluble salts | БДС 11301, cl. 2 |
|  | Artificial / Mixed - coarse, - all-in aggregate | Loss of mass of silicate disintegration after steaming and treatment with sodium sulphate | БДС 14610, cl. 4.1.1 |
|  |  | Iron and manganese disintegration | БДС 14610, cl. 4.1.2 |
|  |  | Mass loss in lime disintegration | БДС 14610, cl. 4.1.3 |
|  | Recycled / Mixed - coarse, - all-in aggregate | Influence of the aggregate extract in initial setting time of cement | БДС EN 1744-6 |
|  |  | Content of constituents: - floating particles; - concrete, concrete products, mortar, concrete masonry units; - unbound aggregate, natural stone, hydraulically bound aggregate; - clay masonry units (bricks and tiles); calcium silicate masonry units, aerated non-floating concrete; - bituminous materials; - glass; - other: cohesive (clay and soil), metals (ferrous and nonferrous), non-floating wood, plastic, rubber and gypsum plaster | БДС ЕN 933-11 |
|  | Pipe and fitting parts made of unreinforced / steel fibre / reinforced concrete | Geometric characteristics: - nominal size, - internal length of the body | БДС EN 1916, cl. 3.1.16 and cl. 3.1.17 |
|  |  | Watertightness under hydrostatic test | БДС EN 1916, Annex Е, cl. Е.4 |
|  |  | Crush strength: - load during test (cracking), - limit (destructive) load, - result of an effective crushing | БДС EN 1916, Annex С |
|  |  | Water absorption of concrete | БДС EN 1916, Annex F |
|  | Fine/ All-in aggregate | Particle size distribution | БДС EN 933-1 |
|  |  | Fine content | БДС EN 933-1 |
|  |  | Water content | БДС EN 1097-5 |
|  |  | Void content | БДС EN 1097-3 |
|  |  | Water absorption | БДС EN 1097-6, Pyknometer method |
|  |  | Magnesium sulfate value | БДС EN 1367-2 |
|  |  | Sand equivalent value | БДС ЕN 933-8+А1 |
|  |  | Methylene blue value | БДС EN 933-9 |
|  |  | Content of water-soluble chlorides | БДС EN 1744-1+А1, cl. 7 |
|  |  | Content of acid soluble chlorides | БДС EN 1744-5 |
|  |  | Total sulfur content | БДС EN 1744-1+А1, cl. 11.1 |
|  |  | Content of water soluble sulfate | БДС EN 1744-1+А1, cl. 10.1 |
|  |  | Content of acid soluble sulfates | БДС EN 1744-1+А1, cl. 12 |
|  |  | Сontent of lightweight contaminators | БДС EN 1744-1+А1, cl. 14.2 |
|  |  | Сontent of humus | БДС EN 1744-1+А1, cl. 15.1 |
|  |  | Total content of water-soluble salts | БДС 11301, cl. 2 |
|  |  | Module of fineness | БДС EN 12620+A1, Annex В |
|  |  | Particle density: - Specific particle density, - Bulk oven- dried particle density, - Bulk saturated and surface-dried particle density, - Specific density of pre-dried particles | БДС EN 1097-6, Pyknometer method |
|  |  | Loose bulk density | БДС EN 1097-3 |
|  |  | Compacted dry bulk density | БДС EN 1097-3, Annex D |
|  | Filler / Mineral filler | Particle size distribution | БДС EN 933-1 |
|  |  | Water content / moisture | БДС EN 1097-5; БДС 2880, cl. 2.1.4 |
|  |  | Specific density | БДС 2880, cl. 2.2.1 |
|  |  | Particle density | БДС EN 1097-7 |
|  |  | Methylene blue value | БДС EN 933-9 |
|  |  | Change of softening point by delta ring and ball test | БДС EN 13179-1 |
|  |  | Content of water-soluble chlorides | БДС EN 1744-1+А1, cl. 7; |
|  |  | Content of acid soluble chlorides | БДС EN 1744-5 |
|  |  | Total sulfur content | БДС EN 1744-1+А1, cl. 11.1 |
|  |  | Content of water soluble sulfate | БДС EN 1744-1+А1, cl. 10.1 |
|  |  | Content of acid soluble sulfates | БДС EN 1744-1+А1, cl. 12 |
|  |  | Total content of water-soluble salts | БДС 11301, cl. 2 |
|  | Construction soils / Aggregates for unbound and hydraulically bound mixtures / All-in aggregate | Water content | БДС EN 1097-5; БДС EN ISO 17892-1; БДС EN ISO 17892-1/A1 |
|  |  | Particle size distribution | БДС EN ISO 17892-4, cl.5.2; БДС EN 933-1 |
|  |  | Uniformity coefficient | БДС EN ISO 14688-2 |
|  |  | Liquid limit | БДС EN ISO 17892-12; БДС EN ISO 17892-12/A1; БДС EN ISO 17892-12/A2; Annex №15 of Ordinance № РД-02-20-2 |
|  |  | Plastic limit | БДС EN ISO 17892-12; БДС EN ISO 17892-12/A1; БДС EN ISO 17892-12/A2; Annex №16 of Ordinance № РД-02-20-2 |
|  |  | Plasticity index | БДС EN ISO 17892-12; БДС EN ISO 17892-12/A1; БДС EN ISO 17892-12/A2; Annex №16 of Ordinance № РД-02-20-2 |
|  |  | Density of solid particles | БДС EN ISO 17892-3, cl. 5.1 |
|  |  | Compressive strength | БДС EN 13286-41 |
|  |  | Bulk density - linear measurement method | БДС EN ISO 17892-2, cl. 5.1 |
|  |  | Bulk density - method by immersion in liquid | БДС EN ISO 17892-2, cl. 5.2 |
|  |  | Density in dry condition | БДС EN ISO 17892-2, cl. 6.3 |
|  |  | Optimum water content | БДС 17146; БДС EN 13286-2 |
|  |  | Normal maximum density of skeleton | БДС 17146 |
|  |  | Modified maximum density of skeleton | БДС 17146 |
|  |  | Maximum density of skeleton by „Proctor” | БДС EN 13286-2 |
|  |  | Maximum density of skeleton by modified „Proctor” | БДС EN 13286-2 |
|  |  | Elastic module | БДС 15130 |
|  |  | Deformation module | БДС 15130, Ordiance №55, Art.47 |
|  |  | Deformation modules ratio | БДС 15130 |
|  |  | California Bearing Ratio | БДС EN 13286-47; Annex №17 of Ordinance № РД-02-20-2 |
|  |  | Swelling | БДС EN 13286-47 |
|  |  | Bulk density by substitute sand | Annex №18 of Ordinance № РД-02-20-2 |
|  |  | Bulk density of skeleton by substitute sand | Annex №18 of Ordinance № РД-02-20-2 |
|  |  | Degree of compaction | БДС 17146, cl. 1.8; Annex №18 of Ordinance № РД-02-20-2 |
|  | Fresh concretes | Air content | БДС EN 12350-7, cl. 6; Annex B and Annex D |
|  |  | Slump | БДС EN 12350-2 |
|  |  | Density | БДС EN 12350-6 |
|  |  | Flow table test | БДС EN 12350-5 |
|  | Hardened concrete | Density | БДС EN 12390-7, cl. 6.1.2 а) and b); БДС EN 992 |
|  |  | Compressive strength | БДС EN 12390-3; БДС EN 1354 |
|  |  | Tensile splitting strength | БДС EN 12390-6 |
|  |  | Flexural strength | БДС EN 12390-5 |
|  |  | Water impermeability | БДС ЕN 206+А2/NA, Annex NA.N |
|  |  | Depth of penetration of water under pressure | БДС EN 12390-8 |
|  |  | Frost resistance: - Relative loss of mass, - Relative reduction of compressive strength | БДС ЕN 206+А2/NA, Annex NA.О part NA.О.1 |
|  |  | Frost resistance | CD CEN /TS 12390-9, cl. 5 |
|  |  | Determination of rebound number | БДС ЕN 12504-2 |
|  |  | Compressive strength on site | БДС EN 13791; БДС EN 13791/NA |
|  |  | Bond strength by pull-off | ASTM D 7234; БДС EN 1542 |
|  |  | Frost resistance: |  |
|  |  | - Relative loss of mass, | БДС ЕN 206+А2/NA, Annex NA.O part NA.O.2 |
|  |  | - Decrease in ultrasonic pulse speed | БДС ЕN 206+А2/NA, Annex NA.O part NA.O.2; БДС EN 12504-4 |
|  |  | Moisture content in the upper layer | ASTM F 2659 |
|  |  | Relative humidity | ASTM F 2170 |
|  | Sprayed concrete | Energy absorption capacity | БДС ЕN 14488-5 |
|  |  | Compressive strength of young sprayed concrete | БДС EN 14488-2 |
|  | Construction mortars | Bulk density of fresh mortar | БДС EN 1015-6; БДС EN 1015-6/A1 |
|  |  | Particle size distribution | БДС EN 1015-1; БДС EN 1015-1/A1 |
|  |  | Dry bulk density of hardened mortar | БДС EN 1015-10; БДС EN 1015-10/A1 |
|  |  | Flexural strength | БДС EN 1015-11 |
|  |  | Compressive strength | БДС EN 1015-11 |
|  |  | Adhesive strength on substrates | БДС EN 1015-12 |
|  | Construction mortars for screed materials | Flexural strength | БДС EN 13892-2 |
|  |  | Compressive strength | БДС EN 13892-2 |
|  |  | Moisture content in the upper layer | ASTM F 2659 |
|  | Grout concrete for the groove injecting of the reinforcement strained | Fluidity | БДС EN 445, cl. 4.3.1 |
|  |  | Compressive strength | БДС EN 445, cl. 4.6 |
|  | Natural stones | Water absorption | БДС 12159, cl. 4 |
|  |  | Single-sided compressive strength | БДС EN 1926 |
|  |  | Water absorption coefficient by capillarity | БДС EN 1925 |
|  | Concrete flags | Shape and dimensions: - difference in diagonals, - length, - width, - thickness | БДС EN 1339, Annex С |
|  |  | Thickness of cover layer | БДС EN 1339, Annex С |
|  |  | Failure load | БДС EN 1339, Annex F |
|  |  | Bending strength | БДС EN 1339, Annex F |
|  |  | Water absorption | БДС EN 1339, Annex E |
|  |  | Measuring of abrasion according to the Böhme test | БДС EN 1339, Annex H |
|  |  | Loss of mass after test freeze – thaw with de-icing salt | БДС EN 1339, Annex D |
|  |  | Unpolished slip resistance | БДС EN 1339, Annex I |
|  | Concrete kerb units | Shape and dimensions: - length / length of the recess, - width, - height / height of the recess | БДС EN 1340, Annex С |
|  |  | Thickness of cover layer | БДС EN 1340, Annex С |
|  |  | Bending strength | БДС EN 1340, Annex F |
|  |  | Water absorption | БДС EN 1340, Annex E |
|  |  | Measuring of abrasion according to the Böhme test | БДС EN 1340, Annex H |
|  |  | Loss of mass after test freeze – thaw with de-icing salt | БДС EN 1340, Annex D |
|  |  | Unpolished slip resistance | БДС EN 1340, Annex I |
|  | Concrete paving blocks | Shape and dimensions: - difference in diagonals, - length, - width, - thickness | БДС EN 1338, Annex С |
|  |  | Thickness of cover layer | БДС EN 1338, Annex С |
|  |  | Failure load | БДС EN 1338, Annex F |
|  |  | Strength of splitting | БДС EN 1338, Annex F |
|  |  | Water absorption | БДС EN 1338, Annex E |
|  |  | Measuring of abrasion according to the Böhme test | БДС EN 1338, Annex H |
|  |  | Loss of mass after test freeze – thaw with de-icing salt | БДС EN 1338, Annex D |
|  |  | Unpolished slip resistance | БДС EN 1338, Annex I |
|  | Concrete slabs for lining the road trenches | Geometric dimensions and shape: - length, - width, - height, - difference in diagonals, - cracks / holes | БДС 11482, cl. 3.1 |
|  |  | Flexural tensile strength | БДС 11482, cl. 3.2 |
|  |  | Water absorption | БДС 11482, cl. 3.3 |
|  |  | Loss of mass / tensile strength in bending immediately after freezing and thawing | БДС 11482, cl. 3.4, cl. 3.2 |
|  | Concrete furrow for draining of the road embankment | Geometric dimensions: - length, - width in big / small base, - thickness of wall, - height in big / small base | БДС 11483 |
|  |  | Holes: - depth, - area | БДС 11483 |
|  | Masonry units | Geometric dimensions and shape: - length, - width, - height, - thickness of enclosing / partitioning partitions, - depth of aperture | БДС EN 772-16 |
|  |  | Water absorption: - water absorption coefficient due to capillary, - initial rate of water absorption | БДС EN 772-11 |
|  |  | Compressive strength | БДС EN 772-1+А1 |
|  |  | Water absorption | БДС EN 772-7 |
|  |  | Dry density: - gross density, - net density | БДС EN 772-13 |
|  | Manholes and inspection chambers unreinforced / steel fibre/ reinforced concrete | Geometric characteristics: - nominal size, - internal height | БДС EN 1917, cl. 3.1.16 and cl. 3.1.19 |
|  |  | Watertightness under hydrostatic test | БДС EN 1917, Annex С, cl. 4 |
|  |  | Strength: - load during test, - result of an effective crushing, - limit (destructive) load, - vertical load by test | БДС EN 1917, Annex A, Annex B |
|  |  | Water absorption of concrete | БДС EN 1917, Annex D |
|  | Precast concrete elements. Normal weight and lightweight concrete shuttering block | Geometric characteristics: - length, - width, - height, - width of the hollow core, - length of the hollow core, - length of the cantilevered end | БДС EN 15435, cl. 5.1; БДС EN 772-16 |
|  |  | Water absorption due to capillary | БДС EN 772-11 |
|  |  | Compressive strength | БДС EN 772-1+А1 |
|  |  | Bending strength of the walls | БДС EN 15435, Annex B |
|  |  | Gross dry density | БДС EN 15435, cl. 4.5 |
|  | Bitumen and bituminous binders | Penetration | БДС EN 1426 |
|  |  | Softening point | БДС EN 1427 |
|  |  | Fraass breaking point | БДС EN 12593 |
|  |  | Elastic recovery | БДС EN 13398 |
|  |  | Flash point in open cup | БДС EN ISO 2592 |
|  |  | Solubility | БДС EN 12592 |
|  |  | Resistance to hardening - change in mass, | БДС EN 12607-1 |
|  |  | -retained penetration, |  |
|  |  | -change in softening point |  |
|  | Bituminous mixtures | Bulk density | БДС EN 12697-6 |
|  |  | Maximum density | БДС EN 12697-5 |
|  |  | Air voids content | БДС EN 12697-8, cl. 4 |
|  |  | Stability | БДС EN 12697-34 |
|  |  | Flow | БДС EN 12697-34 |
|  |  | Soluble binder content | БДС EN 12697-1, Annex В, cl. В.1.7 |
|  |  | Particle size distribution | БДС EN 12697-2 |
|  |  | Strength of indirect tensile | БДС EN 12697-23 |
|  |  | Temperature | БДС EN 12697-13 |
|  |  | Coefficient of strength under indirect tensile loading, ITSR (Sensitivity to water) | БДС EN 12697-12, Method А |
|  |  | Binder drainage | БДС EN 12697-18, cl. 5 |
|  | Laid and compacted bituminous layers | Bending of bituminous pavement | БДС 15131 |
|  |  | Irregularity of pavement courses: -Transverse, -Longitudinal | БДС EN 13036-7 |
|  |  | Thickness of a bituminous layer | БДС EN 12697-36, cl. 6.1 |
|  |  | Bulk density: - of layer / core / slice, - standard (reference) | БДС EN 12697-6 |
|  |  | Degree of compaction | БДС EN 12697-9* |
|  | Grouted anchors | Tendor end displacement | БДС EN ISO 22477-5, cl. 10.4 |
|  |  | Determination of the creep rate | БДС EN ISO 22477-5, cl. 10.4, Annex A |
|  |  | Apparent free lenght | БДС EN ISO 22477-5, cl. 10.4, Annex D |
|  | Non-magnetic coatings on magnetic substrates | Coating thickness | БДС EN ISO 2178 |

*Repealed but not replaced standard with regard to the testing method.

To perform sampling of:

| Type of the scope: flexible * |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/ validated method) |
| 1 | 2 | 3 |
| 1. | Cement | БДС EN 196-7 |
| 2. | Coarse / Fine / All-in aggregate | БДС EN 932-1 |
| 3. | Artificial / Mixed - coarse, - all-in aggregate | БДС EN 932-1; БДС 14610, cl. 3 |
| 4. | Recycled / Mixed - coarse, - all-in aggregate | БДС EN 932-1 |
| 5. | Filler / Mineral filler | БДС EN 932-1, cl. 8.3, cl. 8.4, cl. 8.5 and cl. 8.7 |
| 6. | Construction soils/ Aggregates for unbound and hydraulically bound mixtures/ All-in aggregate | БДС EN 932-1; БДС 17146, cl. 5 |
| 7. | Fresh concretes | БДС EN 12350-1 |
| 8. | Hardened concrete | БДС EN 12504-1 |
| 9. | Sprayed concrete | БДС ЕN 14488-1 |
| 10. | Construction mortars | БДС EN 1015-2, cl. 5 and cl. 6; БДС EN 1015-2/ A1 |
| 11. | Construction mortars for screed materials | БДС EN 13892-1, cl. 3, cl. 4 and cl. 5 |
| 12. | Concrete flags | БДС EN 1339, cl. 6.2, Annex А and Annex B |
| 13. | Concrete kerb units | БДС EN 1340, cl. 6.2, Annex А and Annex B |
| 14. | Concrete paving blocks | БДС EN 1338, cl. 6.2, Annex А and Annex B |
| 15. | Concrete furrow for draining of the road embankment | БДС 11483, cl. 2 |
| 16. | Bitumen and bituminous binders | БДС EN 58, cl. 8.1 and cl. 8.2.1 |
| 17. | Bituminous mixtures | БДС EN 12697-27, cl. 4.1, cl. 4.3, cl. 4.4 and cl. 4.6 |
| 18. | Laid and compacted bituminous layers | БДС EN 12697-27, cl. 4.7 |

2. Сonstruction Testing Centre Burgas at TRA EOOD

To perform testing of:

| Type of the scope: flexible * |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Coarse / All-in aggregate | Particle size distribution | БДС EN 933-1 |
|  |  | Fine content | БДС EN 933-1 |
|  |  | Shape index | БДС EN 933-4 |
|  |  | Overall flakiness index | БДС EN 933-3 |
| 2. | Fine / All-in aggregate | Particle size distribution | БДС EN 933-1 |
|  |  | Fine content | БДС EN 933-1 |
|  |  | Sand equivalent value | БДС ЕN 933-8+А1 |
| 3. | Filler / Mineral filler | Water content | БДС EN 1097-5 |
|  |  | Particle size distribution | БДС EN 933-1 |
| 4. | Construction soils / Aggregates for unbound and hydraulically bound mixtures | Water content | БДС EN 1097-5 |
|  |  | Particle size distribution | БДС EN 933-1 |
|  |  | Elastic module | БДС 15130 |
|  |  | Deformation module | БДС 15130; Ordiance № 55, Art. 47 |
|  |  | Deformation modules ratio | БДС 15130 |
|  |  | Bulk density by substitute sand | Annex № 18 of Ordinance № РД-02-20-2 |
|  |  | Bulk density of skeleton by substitute sand | Annex № 18 of Ordinance № РД-02-20-2 |
| 5. | Bitumen and bituminous binders | Penetration | БДС EN 1426 |
|  |  | Softening point | БДС EN 1427 |
| 6. | Bituminous mixtures | Bulk density | БДС EN 12697-6 |
|  |  | Maximum density | БДС EN 12697-5 |
|  |  | Air voids content | БДС EN 12697-8, cl. 4 |
|  |  | Stability | БДС EN 12697-34 |
|  |  | Flow | БДС EN 12697-34 |
|  |  | Soluble binder content | БДС EN 12697-1, Annex В, cl. В.1.7 |
|  |  | Particle size distribution | БДС EN 12697-2 |
|  |  | Temperature | БДС EN 12697-13 |
| 7. | Laid and compacted bituminous layers | Thickness of a bituminous layer | БДС EN 12697-36, cl. 6.1 |
|  |  | Bulk density: - of layer/ core / slice, - standard (reference) | БДС EN 12697-6 |
|  |  | Degree of compaction | БДС EN 12697-9* |
| 8. | Fresh concretes | Slump | БДС EN 12350-2 |
| 9. | Hardened concrete | Density | БДС EN 12390-7, cl. 6.1.2 b) |
|  |  | Compressive strength | БДС EN 12390-3 |

*Repealed but not replaced standard with regard to the testing method.

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/ validated method) |
| 1 | 2 | 3 |
| 1. | Coarse / Fine / All-in aggregate | БДС EN 932-1 |
| 2. | Filler / Mineral filler | БДС EN 932-1, cl. 8.3, cl. 8.4, cl. 8.5 and cl. 8.7 |
| 3. | Construction soils / Aggregates for unbound and hydraulically bound mixtures | БДС EN 932-1; БДС 17146, cl. 5 |
| 4. | Bitumen and bituminous binders | БДС EN 58, cl. 8.1 and cl. 8.2.1 |
| 5. | Bituminous mixtures | БДС EN 12697-27, cl. 4.1; cl. 4.3, cl. 4.4 and cl. 4.6 |
| 6. | Laid and compacted bituminous layers | БДС EN 12697-27, cl. 4.7 |
| 7. | Fresh concretes | БДС EN 12350-1 |

3. Сonstruction Testing Centre Krepost at TRA EOOD

To perform testing of:

| Type rof the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Coarse / All-in aggregate | Particle size distribution | БДС EN 933-1 |
|  |  | Fine content | БДС EN 933-1 |
|  |  | Water content | БДС EN 1097-5 |
|  |  | Shape index | БДС EN 933-4 |
|  |  | Overall flakiness index | БДС EN 933-3 |
| 2. | Fine / All-in aggregate | Particle size distribution | БДС EN 933-1 |
|  |  | Fine content | БДС EN 933-1 |
|  |  | Water content | БДС EN 1097-5 |
|  |  | Sand equivalent value | БДС ЕN 933-8+А1 |
| 3. | Filler / Mineral filler | Water content | БДС EN 1097-5 |
|  |  | Particle size distribution | БДС EN 933-1 |
| 4. | Construction soils / Aggregates for unbound and hydraulically bound mixtures | Water content | БДС EN ISO 17892-1; БДС EN ISO 17892-1/A1 |
|  |  | Particle size distribution | БДС EN 933-1 |
|  |  | Elastic module | БДС 15130 |
|  |  | Deformation module | БДС 15130; Ordiance № 55, Art. 47 |
|  |  | Deformation modules ratio | БДС 15130 |
|  |  | Bulk density by substitute sand | Annex №18 of Ordinance № РД-02-20-2, SG 79/2018 |
|  |  | Bulk density of skeleton by substitute sand | Annex №18 of Ordinance № РД-02-20-2 |
| 5. | Bitumen and bituminous binders | Penetration | БДС EN 1426 |
|  |  | Softening point | БДС EN 1427 |
| 6. | Bituminous mixtures | Bulk density | БДС EN 12697-6 |
|  |  | Maximum density | БДС EN 12697-5 |
|  |  | Air voids content | БДС EN 12697-8, cl. 4 |
|  |  | Stability | БДС EN 12697-34 |
|  |  | Flow | БДС EN 12697-34 |
|  |  | Soluble binder content | БДС EN 12697-1, Annex В, cl. В.1.7 |
|  |  | Particle size distribution | БДС EN 12697-2 |
| 7. | Laid and compacted bituminous layers | Thickness of a bituminous layer | БДС EN 12697-36, cl. 6.1 |
|  |  | Bulk density: - of layer / core / slice, - standard (reference) | БДС EN 12697-6 |
|  |  | Degree of compaction | БДС EN 12697-9* |

*Repealed but not replaced standard with regard to the testing method.

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/ validated method) |
| 1 | 2 | 3 |
| 1. | Coarse / Fine / All-in aggregate | БДС EN 932-1 |
| 2. | Filler / Mineral filler | БДС EN 932-1, cl. 8.3, cl. 8.4, cl. 8.5 and cl. 8.7 |
| 3. | Construction soils / Aggregates for unbound and hydraulically bound mixtures | БДС EN 932-1; БДС 17146, cl. 5 |
| 4. | Bituminous mixtures | БДС EN 12697-27, cl. 4.1, cl. 4.3, cl. 4.4 and cl. 4.6 |
| 5. | Laid and compacted bituminous layers | БДС EN 12697-27, cl. 4.7 |

Flexible scope: Implementing a new version of standards or standards replacing them is allowed. An updated list of standarsd and their dated versions is provided by laboratory.

References:

Annex № 15 to Art. 160 item 3 of Ordinance № РД-02-20-2, SG № 79/2018 – method for determining the Liquid limit.

Annex № 16 to Art. 160 item 3 of Ordinance № РД-02-20-2, SG № 79/2018 – method for determining the Plastic limit and Plasticity index.

Annex № 17 to Art. 161 table 39 and Article 162 table 40 item 3 of Ordinance № РД-02-20-2, SG № 79/2018 – method for determiningCalifornia Bearing Capacity Index.

Annex № 18 to Art. 168, para.1 of Ordinance № РД-02-20-2, SG № 79/2018 – method for determining the volumetric density of construction soils in place through substitute sand.

Ordinance № 55, Art. 47, SG № 18/2004 on the design and construction of railway lines, railway stations, railway crossings and other elements of the railway infrastructure, promulgated SG № 18 of 05.03.2004, amended SG № 20 of 12.03.2004, amended SG № 42 of 21.05.2004.