ORDER

No. A 669

Sofia, 25.10.2021

“GSI-BALKANI” LTD

INSPECTION BODY OF TYPE C

Management and office address:

8104 city of Burgas, South Industrial zone, Territory of LUKOIL Neftochim Burgas AD

To perform inspection according to the following scope:

| No. | Field of Inspection | Type of Inspection | Inspected parameter / characteristic | Test / measurement methods used during inspection | Regulations, standards, specifications, charts |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | Electrical installations and equipment with voltage up to 1000V | New and currently used units and facilities | Resistance of protective earthing systems | ПК-7.1.-1 version 02 Revision 00 01.2018 | Ordinance No. 16-116, State Gazette issue No. 26/2008; Ordinance No. 3, State Gazette issue No. 90, 91 /2004; TC |
|  |  |  | Resistance of lightning protection earthing systems | ПК-7.1.-1 version 02 Revision 00 01.2018 | Ordinance No. 4, State Gazette issue No. 6/2011; Ordinance No. 16-116, State Gazette issue No. 26/2008; TC |
| 2 | Voltage cables up to 20 kV | New and currently used units and facilities | Insulation resistance | БДС 1986:1982, item 3.3-a), b), d), e); ПК-7.1-2 | Ordinance No. 3, State Gazette issue No. 90, 91 /2004; НИЕМС -1995 |
|  |  |  | Control with increased constant voltage | БДС 2406:1982; НИЕМС -1995; ПК-7.1-10; | Ordinance No. 16-116, State Gazette issue No. 26/2008; Ordinance No. 3, State Gazette issue No. 90, 91 /2004; НИЕМС -1995; TC |
| 4 | Electrical machines | New and currently used units and facilities | Active resistance of the coils | БДС 1532-1981; ПК-7.1-6; НИЕМС | Ordinance No. 16-116, State Gazette issue No. 26/2008; Ordinance No. 3, State Gazette issue No. 90, 91 /2004; НИЕМС -1995; TC |
| 5 | Power transformers up to 400 kV | New and currently used units and facilities | Insulation resistance | БДС 16654:1987; PK-7.1-4 | Ordinance No. 16-116, State Gazette issue No. 26/2008; НИЕМС -1995; TC |
|  |  | New and currently used units and facilities | Coils connection group | БДС 15320:1981; ПК-7.1-7 | Ordinance No. 16-116, State Gazette issue No. 26/2008; Ordinance No. 3, State Gazette issue No. 90, 91; TC |
| 6 | Electrical devices and pressure equipment exceeding 1000V | New and currently used units and facilities | Insulation resistance | ПК-7.1-5’ НИЕМС - 1995 | Ordinance No. 16-116, State Gazette issue No. 26/2008; Ordinance No. 3, State Gazette issue No. 90, 91 /2004; НИЕМС -1995; TC |
| 7 | Electrical devices and pressure equipment up to 1000V | New and currently used units and facilities | Phase/protective conductor impedance | ПК-7.1-9 version 02 Revision 00 01.2018 | Ordinance No. 16-116, State Gazette issue No. 26/2008; Ordinance No. 3, State Gazette issue No. 90, 91 /2004; |
| 8 | Electrical installations and equipment with voltage up to 1000V: Zero-sequence protective circuit-breakers | New and currently used units and facilities | Contact voltage, actuation current and switch-off time | ПК-7.1-16 version 02 Revision 00 01.2018 | Ordinance No. 3, State Gazette issue No. 90, 91 /2004; Ordinance No. 16-116, State Gazette issue No. 26/2008; TC |

Ordinance No. 3, State Gazette issue No. 90 and 91 /2004 – Ordinance on the design of electrical installations and power lines, amended State Gazette issue No. 42 dd. 09 June 2015;

Ordinance No. 16-116, State Gazette issue No. 26/2008 - Ordinance on the energy equipment technical operation, amended State Gazette issue No. 42 dd. 09 June 2015;

Ordinance No. 4 (State Gazette issue No. 6/2011) - on lightning protection of buildings, outdoor facilities and open spaces;

НИЕМС – 1995 -  Standards for testing of electrical machines and equipment.