SCOPE 184 ОКС

Inspection Body of type C

At ELLATZITE MED AD – Mirkovo,

Management and Office address:

2086 Mirkovo, Sofia-Region

To perform inspection of:

| Scope type: flexible* |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure |  | Regulations, Standards, Specifications, Schemes |  |
| 1 | 2 | 3 | 4 | 5 |  | 6 |  |
| 1. | Electrical installations and equipment up to 1000V | New and in operation facilities | Impedance of the "phase protective conductor" circuit | NSU Control Procedure 07.1-1 |  | Ordinance № 3, SG № 90, 91/2004, Ordinance № 16-116, SG № 26/2008, Technical Specification |  |
| 2. | Electrical installations and equipment up to 1000V | New and in operation facilities | Circuit breakers: actuating current and touch voltage | NSU Control Procedure 07.1-2 |  | Ordinance № 3, SG № 90, 91/2004, Ordinance № 16-116, SG № 26/2008, Technical Specification |  |
| 3. | Electrical installations and equipment up to and above 1000 V | New and in operation facilities | Resistance of protective grounding installations | NSU Control Procedure 07.1-3 |  | Ordinance № 3, SG № 90, 91/2004, Ordinance № 16-116, SG № 26/2008, Technical Specification |  |
| 4. | Electrical installations and equipment up to and above 1000 V | New and in operation facilities | Resistance of lightning protection grounding systems | NSU Control Procedure 07.1-4 |  | Ordinance № 3, SG № 90, 91/2004, Ordinance № 16-116, SG № 26/2008, Ordinance № 4, SG № 6/2011, Technical Specification |  |
| 5. | Cable power lines for voltages up to 20kV | New and in operation facilities | The integrity of the cores and their phasing-in | БДС 2374 |  | Ordinance № 3, SG № 90, 91/2004, Ordinance № 16-116, SG № 26/2008, STEME 1995, Technical Specification |  |
|  |  |  | Insulation resistance |  | БДС 1986 - items 3.3 a), b), E) and f) |  | Ordinance № 3, SG № 90, 91/2004, Ordinance № 16-116, SG № 26/2008, STEME 1995, Technical Specification |
|  |  |  | Insulation with increased DC voltage or voltage with industrial frequency |  | БДС 2406 |  | Ordinance № 3, SG № 90, 91/2004, Ordinance № 16-116, SG № 26/2008, STEME 1995, Technical Specification |
| 6. | Electrical protection means: insulating rods, measuring rods, insulating pliers, insulating rods for portable earthing device, voltage indicators, dielectric gloves, dielectric boots and galoshes | commissioned products | Electric strength (leakage voltage and current) |  | Ordinance № 22 SG № 45/2006 БДС 16972 |  | Ordinance № 22, SG № 45/2006, Technical Specification |
| 7. | Transformers up to 35 kV | New and in operation facilities | Insulation resistance |  | БДС 15320, БДС 16654 |  | Ordinance № 16-116, SG № 26/2008. STEME 1995, Technical Specification |
|  |  |  | Active resistance of the windings |  | БДС 15320 |  | Ordinance № 16-116, SG № 26/2008. STEME 1995, Technical Specification |
|  |  |  | High-voltage insulation with industrial frequency |  | БДС 16249 |  | Ordinance № 16-116, SG № 26/2008. STEME 1995, Technical Specification |
|  |  |  | Breakdown voltage of transformer oil |  | БДС EN 60156 |  | Ordinance № 16-116, SG № 26 /2008 STEME 1995, Technical Specification |
| 8. | Electric motors for direct and alternating current up to and above 1000 V | New and in operation facilities | Insulation resistance, active winding resistance |  | БДС 6949 STEME 1995 |  | Ordinance № 16-116, SG № 26/2008. STEME 1995, Technical Specification |
|  |  |  | High-voltage insulation with industrial frequency |  | БДС 15701 |  | Ordinance № 16-116, SG № 26 /2008 STEME 1995, Technical Specification |
| 9. | Power switches and disconnectors UP TO 20 kV | New and in operation facilities | Insulation resistance and transient resistance of the movable contacts |  | STEME 1995 |  | Ordinance № 16-116, SG № 26/2008, Technical Specification |
|  |  |  | High-voltage insulation with industrial frequency |  | БДС 15701 |  | Ordinance № 16-116, SG № 26/2008. STEME 1995, Technical Specification |
| 10. | Busbars, post insulators and bushing insulators up to and above 1000 V | New and in operation facilities | Insulation resistance and high-voltage insulation with industrial frequency |  | БДС 3637 БДС 15701 |  | Ordinance № 16-116, SG, № 26/2008, STEME 1995, Technical Specification |

*Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

References:

Ordinance № 3. SG, Issue № 90 and 91/2004 - on the design of electrical installations and electric power lines

Ordinance № 16 - 116, SG № 26/2008 - on the technical operation of the energy equipment

Ordinance № 4, SG, № 6/2011 - on the lightning protection of buildings, outdoor facilities and open spaces.

in the use of personal computers in the education of students (SG, № 46/1994)

Ordinance № 22 on testing of electrical protective equipment in operation (SG, № 45/2006);

STEME-1995 - Standards for Testing of Electrical Machinery and Equipment - of the Energy Committee

TS - Technical Specification