ORDER

No.  А 258

Sofia, 29 April 2021

PROCONTROL LTD, LOVECH

TYPE C INSPECTION BODY

Management address and office address:

7 Ivan Drasov Str., Lovech

To perform inspection of:

Type of scope: flexible *

| № | Field of Inspection | Type of Inspection | Parameter of inspection/ Characteristic | Test and Measurement methods used for Inspection | Regulations, Standards, Specifications, Schemes |
| --- | --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| 1. | Electrical installations and equipment up to 1000 V; | New and/ or in use sites / facilities | Electrical insulation resistance | Ordinance No. RD-02-20-1, SG no. 53/2018 БДС 1986 it.3.3 a), b), e) and f) ПК 01 | Ordinance No. RD-02-20-1, SG No. 53/2018; Ordinance No.3, SG no. 90/2004 and 91/2004; Ordinance No.16-116, SG No. 26/2008; |
| 2. | Electrical installations and equipment up to and over 1000 V; | New and/ or in use sites / facilities | Resistance of protective earthing systems | Ordinance No. RD-02-20-1, SG no. 53/2018 ПК 02 | Ordinance No.3, SG no. 90/2004 and 91/2004; Ordinance No.16-116, SG No. 26/2008; Technical specifications |
| 3. | Electrical installations and equipment up to and over 1000 V; | New and/ or in use sites / facilities | Resistance of lightning protection earthing systems | Ordinance RD-02-20-1, SG no. 53/2018 ПК 02 | SG no. 90/2004 and 91/2004; Ordinance No.16-116, SG No. 26/2008; Ordinance No. 4, SG No. 6/2011 Technical specifications |
| 4. | Electrical installations and equipment up to 1000 V; | New and/ or in use sites / facilities | Impedance of the circuit “phase - protective conductor” or “phase – con-ductor PEN” | Ordinance RD-02-20-1, SG no. 53/2018 ПК 03 | Ordinance No.3, SG no. 90/2004 and 91/2004; Ordinance No. 16-116 (SG, 26/2008); Technical specifications |
| 5. | Electrical installations and equipment up to 1000 V; | New and/ or in use sites / facilities | Functionality of circuit breakers for currents with zero sequence (RCD) in TN and TT circuits: - Contact voltage (V); - Shutdown time (ms); - Actuation current (mA); | Ordinance No. RD-02-20-1, SG no. 53/2018 ПК 08 | Ordinance No.3, SG no. 90, 91/2004; Ordinance No. 16-116 (SG, 26/2008); Technical specifications |
|  |  |  | - Contact voltage (V); - Shutdown time (ms); - Switch-off current (mA); Non-tripping current | Ordinance No. RD-02-20-1, SG no. 53/2018 ПК 08 | Ordinance No. RD-02-20-1, SG no. 53/2018 |
| 6. | Artificial lighting | New and/ or in use sites / facilities | illumination | Methodical instructions for measurement and assessment of artificial lighting in buildings, 1985; ПК 04 | Ordinance No. 49 (SG, 7/1976); Ordinance No. 24 (SG, 95/2003); Ordinance No. 9 (SG, 46/1994); Ordinance No. 2 (SG, 15/2007); Ordinance No. 3 (SG, 15/2007); Ordinance No. 26 (SG, 103/2008); BDS 12464-1; Technical specifications |
| 7. | Microclimate | New and/ or in use sites / facilities | 1. Air tempera-ture; ° С 2. Relative humidity of air, %; 3. Air velocity, m/s | Ordinance No. RD-07-3, SG No. 63/2014 БДС 16686; ПК 06 | Ordinance No.3, SG No. 15/2007; Ordinance No.9, SG No. 46/1994; Ordinance No.2, SG no. 15/2007; Ordinance No.24, SG No. 95/2003 Ordinance No.RD-07-3, SG No. 63/2014; Ordinance No. 26 SG, no. 103/2008; БДС 14776; Technical specifications |
| 8. | Ventilation installations | New and/ or in use sites / facilities | 1. Air flow rate, m/s; 2. Flow rate of the installation, m3/h | БДС 12.3.018; ПК 07 | Ordinance No. 15, SG No. 68/2005; Ordinance No. 24, SG No. 95/2003; Technical specifications |
| 9. | Air conditioning installations | New and/ or in use sites / facilities | 1. Relative air humidity, %; 2. Air temperature °С | Ordinance No. RD-07-3, SG No. 63/2014 БДС 16686; ПК 05 | Ordinance No. 15, SG No. 68/2005; Ordinance No. RD-07-3, SG No. 63/2014; БДС 14776; Technical specifications |

* The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An updated list of standards/documents with their dated versions is provided by the conformity assessment bodies.

Ordinance No. 3 of 9 June, 2004 on the structure of electrical installations and power lines /OSEIPL/ - Issued by the Minister of Energy and Energy Resources, Promulgated SG No. 90 of 13 October, 2004, SG No. 91 of 14 October, 2004;

Ordinance No. 4 of 22 December 2010 on the lightning protection of buildings, outdoor facilities and open spaces was issued by the Ministry of Regional Development and Public Works and promulgated in the SG No. 6 of 18 January, 2011;

Ordinance No. 16-116 of 8 February 2008 on technical operation of energy equipment (Promulgated, SG No. 26 of 07.03.2008;

Ordinance No. 49 on the artificial lighting of buildings /OALB/ - Promulgated SG No. 7/1976;

Ordinance No. 24 of 20.10.2003 on the sanitary and hygienic requirements for discos, Promulgated SG No. 95/2003;

Ordinance No. 9 of 28.05.1994 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students, Promulgated SG No. 46/1994;

Ordinance No. 2 of 5.02.2007 on the health requirements to the computer and internet halls for public use, Promulgated SG No. 15/2007;

Ordinance No. 3 on the health requirements for kindergartens, Promulgated SG no. 15/2007;

Ordinance No.RD-07-3 of 18.07.2014 on the minimum requirements for the microclimate of workplaces, Promulgated SG No. 63/2014;

Ordinance No.15 on the technical rules and regulations for design, construction and operation of sites and facilities for heat generation, transmission and distribution, Promulgated SG No. 68/2005;

Methodical instructions for measurement and evaluation of artificial lighting in buildings, 40-85, ed. Standardization, 1985;

Ordinance No. RD-02-20-1 of 12 June 2018 on the technical rules and regulations for control and acceptance of electrical works, Promulgated SG No. 53/2018