ORDER

No. A 460

Sofia, 30.07.2021

KOZLODUY NPP EAD

INSPECTION BODY TYPE C

PERSONNEL DOSIMETRY CONTROL CENTRE

Address of headquarters and office: 3321 Kozloduy NPP site

To perform inspection according to the following scope:

| Scope type: fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Inspection area | Inspection Type | Inspected parameter/ characteristic | Testing/ measurement methods used during inspection | Legislative acts, standards, specifications, diagrams |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | The individual effective dose from external exposure, mSv, defined by measuring the individual dose equivalent (personal dose equivalent) – Hp(10), mSv using thermoluminescent dosimeter, worn on the chest. | Individual Dosimetry Control | Individual Effective Dose from external exposure, mSv | Methodology for performing individual thermoluminescent dosimetry control (ID No.КЦ.ПД.МТ.530/01 of 15 December 2007) | Regulation on radiation protection, art.11(1) (SG No.16/2018) Regulation No.32 on the conditions and procedure for conduct of individual dosimetric control of individuals, working with sources of ionising radiation, art.14 (1), item 2 (SG No. 91/2005) Technical Specifications |
| 2. | The individual committed effective dose of internal exposure under the in-vivo method including consequently: - Gamma spectrometry measurement with a whole-body counter of the activity, incorporated within human body, Bq; - Assessment of intake of radionuclides within human body using specialised software, Bq; - Assessment of the individual committed effective dose of internal exposure using specialised software. | Individual Dosimetry Control | Individual Committed Effective Dose of internal exposure, mSv | Methodology for performing individual dosimetry control of internal exposure (ID No.КЦ.ПД.МТ.529/02 of 14 July 2009) | Regulation on radiation protection, art.11(1) (SG No.16/2018) Regulation No.32 on the conditions and procedure for conduct of individual dosimetry control of individuals, working with sources of ionising radiation, art.33 (1), item 2 (SG No. 91/2005) Technical Specifications |

Regulation on Radiation Protection, adopted by Council of Ministers’ Decree of 14 February 2018 (Promulgated, SG No. 16/2018; amended and supplemented, SG No. 110/2020);

Regulation No.32 on the conditions and procedure for conduct of individual dosimetry control of individuals, working with sources of ionising radiation, (Promulgated, SG No. 91/2005; amended and supplemented, SG No. 109/2020);

Technical Specifications.