SCOPE 75 ЛИ

of ECO-CONSULT-ENGINEERING LTD

Laboratory for Environment Component Analysis

Management and laboratory address: 8010 Burgas, Slaveykov Residential complex,

bl. 126, ent. A, floor 3, office 9

To perform testing of:

| Type of the scope: flexible for part of the scope |
| --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| I. | Waters, waste (1); Waters, running surface (2); Waters, coastal sea (3); Waters, drinking (4) Waters, lake (5) Waters, ground (6) | 1. Active reaction/рН | БДС EN ISO 10523 (1, 2, 3, 4, 5, 6) БДС 3424 (4) ЕРА 150.1 (1, 2, 3, 4, 5, 6) |
|  |  | 2.Temperature | БДС 17.1.4.01 (1) VILM 34:2021 (1, 2, 3, 4, 5, 6) |
|  |  | 3.1 Total dry solids | БДС 17.1.4.04 (1, 2, 4, 5, 6) |
|  |  | 3.2 Dissolved solids. |  |
|  |  | 3.3 Suspended solids/ Undissolved solids | БДС 17.1.4.04 (1, 2, 4, 5, 6) БДС EN 872 (1, 2, 4, 5, 6) |
|  |  | 4. Chloride | БДС 17.1.4.24 (1,2,5,6) ISO 9297 (1,2,4,5,6) БДС EN ISO 10304-1 (1,2,4,5,6) |
|  |  | 5.1. Total chlorine | БДС EN ISO 7393-3 (1,2,4,5,6) |
|  |  | 5.2. Free chlorine 5.3. Residual free chlorine | VILM 21:2007 (1,2,4,5,6) |
|  |  | 6. Bichromatic oxidation | ISO 15705 (1,2,4,5,6) ISO 6060 (1,2,4,5,6) |
|  |  | 7.1 Ammonium | БДС ISO 7150-1 (1, 2, 4, 5, 6) |
|  |  | 7.2 Ammonium ions 7.3 Ammoniacal nitrogen | БДС ISO 7150-1 (1, 2, 4, 5, 6) VILM 29:2011 (1, 2, 3, 4, 5, 6) |
|  |  | 8. Nitrites/ Nitrite-nitrogen | БДС EN 26777 (1,2,3,4,5,6) VILM 30:2011 (1,2,3,4,5, 6) БДС EN ISO 10304-1 (1,2,4,5,6) |
|  |  | 9. Nitrates/ Nitrate-nitrogen | БДС ISO 7890-3 (1,2,4,5,6), VILM 11:2006 (1,2,4,5,6) VILM 15:2007 (3) БДС EN ISO 10304-1 (1,2,4,5,6) |
|  |  | 10. Sulphides/ Hydrogen sulfide | БДС 17.1.4.09 (1, 2, 4, 5, 6) VILM 16:2006 (1, 2, 4, 5, 6) |
|  |  | 11.1 Hexavalent chromium | ISO 11083 (1, 2, 4, 5, 6); VILM 03:2005 (1,2,3,4,5,6) БДС 17.1.4.17 (1, 2, 5, 6) |
|  |  | 11.2 Trivalent chromium | VILM 03:2005 (1,2,3,4,5,6) БДС 17.1.4.17 (1, 2, 5, 6) |
|  |  | 11.3 Total chromium | VILM 03:2005 (1,2,3,4,5,6) БДС 17.1.4.17 (1, 2, 5, 6) БДС EN ISO 11885 (1,2,4,5,6) |
|  |  | 12. Iron dissolved/ Iron total | БДС ISO 6332 (1, 2, 3, 4,5,6); БДС EN ISO 11885 (1,2,4,5,6) |
|  |  | 13. Biochemical oxygen demand (BOD)5 | БДС EN 1899-2 (1,2,3, 4,5,6) БДС EN ISO 5815-1 (1,2,3,4,5,6) ISO 5815-2 (1, 2, 3, 4, 5, 6) |
|  |  | 14. Nitrogen total / Total bound nitrogen | БDS EN ISO 20236 (1, 2, 3, 4, 5, 6) |
|  |  | 14.2 Total Kjeldahl nitrogen | БДС EN 25663 (1, 2, 4, 5, 6) ЕРА 351.3 (2, 5) |
|  |  | 15. Petroleum products/ Hydrocarbon index (HI) | VILM 01:2003 (1,2,3,4,5,6) ЕРА 1664В (1, 2, 4, 5, 6) БДС EN ISO 9377-2 (1,2, 5,6) |
|  |  | 16.1 Phenols | БДС ISO 6439 (1, 2, 4, 5) VILM 20:2007 (1, 2, 5, 6) |
|  |  | 16.2 Phenol index | БДС ISO 6439 (1, 2, 4, 5) |
|  |  | 17.1 Total phosphorus (Pt)/ | БДС EN ISO 6878 (1,2,3,4,5,6) VILM 12:2006 (1,2,3,4,5,6) |
|  |  | 17.2 Phosphorus such as phosphates (Р04-Р) |  |
|  |  | 17.3 Phosphates (Р04) | БДС EN ISO 6878 (1,2,3,4,5,6) VILM 12:2006 (1,2,3,4,5,6) БДС EN ISO 10304-1 (1,2,4,5,6) |
|  |  | 17.4 Phosphates (such as Р) |  |
|  |  | 17.5 Orthophosphate |  |
|  |  | 18. Element contents 18.1. Aluminium/Аl | БДС EN ISO 11885 (1,2,4,5,6) |
|  |  | 18.2. Arsenic/As |  |
|  |  | 18.3. Antimony/Sb |  |
|  |  | 18.4. Barium/Ва |  |
|  |  | 18.5. Boron/В |  |
|  |  | 18.6. Selenium/Se |  |
|  |  | 18.7. Cadmium/Cd |  |
|  |  | 18.8. Potassium/К |  |
|  |  | 18.9. Cobalt/Со |  |
|  |  | 18.10. Manganese/Мn |  |
|  |  | 18.11. Molybdenum /Мо |  |
|  |  | 18.12. Sodium/Na |  |
|  |  | 18.13. Nickel/Ni |  |
|  |  | 18.14. Copper/Сu |  |
|  |  | 18.15. Zink/Zn |  |
|  |  | 18.16. Lead/Рb |  |
|  |  | 18.17. Silver/Аg |  |
|  |  | 18.18. Vanadium/V |  |
|  |  | 18.19. Tin/Sn |  |
|  |  | 18.20. Beryllium/Ве |  |
|  |  | 18.21. Thallium/Тl | ЕРА 6010С (1, 2, 4, 5, 6) |
|  |  | 19. Mercury/Нg | VILM 28:2013 (1,2, 4,5,6) EPA 6010C (1,2, 4,5,6) |
|  |  | 20.1. Cyanides free | VILM 17:2006 (1,2,3,4,5,6) |
|  |  | 20.2. Cyanides total | VILM 17:2006 (1,2,3,4,5,6) БДС 17.1.4.14 (1, 2, 5, 6) |
|  |  | 21.1 Colour | БДС EN ISO 7887-Method А (2, 4, 5) БДС 17.1.4.01 (1) БДС 8451 (4) |
|  |  | 21.2 Odour | БДС 17.1.4.01 (1) БДС 8451 (4) |
|  |  | 21.3 Taste | БДС 8451 (4) |
|  |  | 22. Dissolved oxygen oxygen | БДС EN 25813(1, 2, 3, 4, 5, 6) ISO 5813 (1, 2, 3, 4, 5, 6) |
|  |  | 23.1. Sulphates | БДС 17.1.4.03 (1, 2, 5, 6); VILM 31:2016 (1, 2, 3, 4, 5, 6) ISO 15923-1-Method (G) (1, 2, 4, 5, 6) БДС EN ISO 10304-1(1,2,4,5,6) |
|  |  | 23.2. Sulphates such as sulphur | VILM 31:2016 (1, 2, 3, 4, 5, 6) |
|  |  | 24.1 Permanganate oxidation | БДС 17.1.4.16 (1, 2, 5, 6) |
|  |  | 24.2 Permanganate index | БДС EN ISO 8467 (2, 4, 5, 6) |
|  |  | 25.1. Total hardness | БДС ISO 6059 (2,4,5,6) ЕPA 130.2 (1) |
|  |  | 25.2. Permanent (non-carbonate) hardness | БДС ISO 6059 (2,4,5,6) БДС EN ISO 9963-1 (1,2,4,5,6) |
|  |  | 25.3. Temporary (carbonate) hardness | 26.3. Temporary (carbonate) |
|  |  | 26. Extractable substances | VILM 01:2003 (1,2,3,4,5,6) ЕРА 1664В (1, 2, 4, 5, 6) |
|  |  | 27. Anionic surfactants /a-SPAThe/ | БДС 17.1.4.25 (1, 2, 5, 6); БДС EN 903 (1, 2, 4, 5, 6) ISO 7875-1 (1, 2, 4, 5,6) |
|  |  | 28. Total alkalinity/ Composite alkalinity/ | БДС EN ISO 9963-1 (1,2,4,5,6) |
|  |  | 29. Carbonates (such as СаС03) | БДС EN ISO 9963-1 (1,2,4,5,6) |
|  |  | 30. Hydrogen carbonates | БДС EN ISO 9963-1 (1,2,4,5,6) |
|  |  | 31. Calcium | БДС ISO 6058 (1, 2, 4, 5, 6) БДС EN ISO 11885 (1,2,4,5,6) |
|  |  | 32. Magnesium | БДС EN ISO 11885 (1,2,4,5,6) |
|  |  | 33. Fluorides/ Fluorides (such as fluor) | VILM 12:2006 (1,2,3,4,5,6) БДС 16911 (4) БДС EN ISO 10304-1 (1,2,4,5,6) |
|  |  | 34. Conductivity/ Specific conductivity | БДС EN 27888 (1,2,3,4,5,6) |
|  |  | 35. Total organic carbon /ТОС/ Dissolved organic carbon | VILM 22:2007 (1, 2, 4, 5, 6) БДС EN 1484 (1, 2, 3, 4, 5, 6) |
|  |  | 36. Oils and fats | ЕРА 1664В (1, 2 , 3, 4, 5, 6) |
|  |  | 37. Turbidity/ Transparency | БДС EN ISO 7027-1 (1,2,4,5,6) |
|  |  | 38. Bromates | VILM 02:2015 (4, 6) |
|  |  | 39. Adsorbable Organic Halides (AOX) | VILM 04:2016 (1, 2, 4, 5, 6) |
|  |  | 40. Bromides | БДС EN ISO 10304-1 (1,2,4,5,6) |
| II. | Air, atmospheric – emissions | 1. Nitric oxide/NO | VILM 23:2016 |
|  |  | 2.1 Nitrogen oxides /NOx (NO, NO2) | VILM 23:2016 БДС EN 14792 |
|  |  | 2.2 Nitrogen dioxide/ NO2 | VILM 23:2016 |
|  |  | 3. Hydrogen sulfide /Н2S | VILM 23:2016 |
|  |  | 4. Sulphur dioxide/SO2 | VILM 23:2016 БДС EN 14791 |
|  |  | 5. Carbon oxide/СО | VILM 23:2016 БДС EN 15058 |
|  |  | 6. Carbon dioxide/СO2 | VILM 23:2016 |
|  |  | 7. Oxygen/O2 | VILM 23:2016 БДС EN 14789 |
|  |  | 8.1. Hydrocarbons, expressed as total carbon 8.2. Hydrocarbons, СН4 | VILM 23:2016 |
|  |  | 8.3 Organic compounds, expressed as total organic carbon/TOC | БДС EN 12619 |
|  |  | 9. Parameters of gaseous/air streams: 9.1. Velocity | VILM 23:2016 ISO 10780 БДС EN ISO 16911-1 |
|  |  | 9.2. Flowrate | ISO 10780 VILM 23:2016 БДС EN ISO 16911-1 |
|  |  | 9.3. Temperature | БДС EN ISO 16911-1 VILM 23:2016 |
|  |  | 9.4.1. Pressure 9.4.2. Barometric pressure | БДС EN ISO 16911-1 VILM 23:2016 |
|  |  | 9.5. Moisture | БДС EN 14790 VILM 23:2016 |
|  |  | 10. Total dust of ducted gaseous/air streams | БДС ISO 9096 БДС EN 13284-1 |
|  |  | 11. Hydrogen/Н2 | VILM 23:2016 |
|  |  | 12. Formaldehyde | ЕРА 323 |
|  |  | 13. Contents of elements in emissions / inorganic dust substances 13.1. Arsenic/As 13.2. Cadmium/Cd 13.3. Chromium/Сr 13.4. Copper/Сu 13.5. Manganese/Мn 13.6. Nickel/Ni 13.7. Lead/Рb 13.8. Antimony/Sb 13.9. Thallium/Т1 13.10. Vanadium/V 13.11. Cobalt/Со | БДС EN 14385 |
|  |  | 13.12. Tin/Sn 13.13. Tellurium/Те 13.14. Zink/Zn 13.15. Selenium/Se | VILM 05:2016 |
|  |  | 13.16. Mercury/Нg | БДС EN 13211; VILM 05:2016 |
|  |  | 14. Hydrogen fluoride | БДС 17.2.4.12 СД CEN/TS 17340 |
|  |  | 15. Ammonium/NН3 | БДС 17.2.4.05 |
|  |  | 16. Phenol | БДС 17.2.4.11 |
|  |  | 17. Hydrogen chloride /HCI | БДС EN 1911 |
|  |  | 18. Sulphur trioxide/SО3 | БДС 17.2.4.09 |
|  |  | 19. Aerosols of sulfuric acid | ЕРА 8 |
|  |  | 20.1 Quality assurance levels – 2 (QAL2) for automated measuring systems (AMS) 20.2 Annual Surveillance Tests (AST) | БДС EN 14181 |
| III. | Waste | 1. Active reaction/ рН/ рН (Н2O)/ рН (СаСl2) | БДС EN ISO 10523 |
|  |  | 2. Conductivity/ Specific conductivity | БДС EN 27888 |
|  |  | 3. Loss on ignition | БДС EN 15935 |
|  |  | 4. Dry solids (dry residue)/ Moisture (moisture contents) | ISO 11465 БДС EN 12880 |
|  |  | 5. Elements contents |  |
|  |  | 5.1. Arsenic/As |  |
|  |  | 5.2 Antimony/Sb |  |
|  |  | 5.3 Barium/Ва |  |
|  |  | 5.4 Selenium/Se |  |
|  |  | 5.5 Cadmium/Cd |  |
|  |  | 5.6 Molybdenum/Мо |  |
|  |  | 5.7 Nickel/Ni |  |
|  |  | 5.8 Copper/Сu |  |
|  |  | 5.9 Lead/Рb | БДС EN ISO 11885 |
|  |  | 5.10 Zink/Zn |  |
|  |  | 5.11 Vanadium/V |  |
|  |  | 5.12 Calcium/Са |  |
|  |  | 5.13 Magnesium/Мg |  |
|  |  | 5.14 Phosphorus/Р |  |
|  |  | 5.15 Sulphur(total)/S |  |
|  |  | 5.16 Cobalt/Со |  |
|  |  | 5.17 Manganese/Мn |  |
|  |  | 5.18 Boron/В |  |
|  |  | 5.19 Sodium/Na |  |
|  |  | 5.20 Potassium/К |  |
|  |  | 6. Chromium total | БДС EN ISO 11885 |
|  |  | 7. Chromium hexavalent | VILM 03:2005; ISO 11083 |
|  |  | 8. Iron | БДС ISO 6332 БДС EN ISO 11885 |
|  |  | 9. Chlorides | ISO 9297 БДС 17.1.4.24 БДС EN ISO 10304-1 |
|  |  | 10. Sulphates | БДС 17.1.4.03 VILM 31:2016 БДС ISO 11048 БДС EN ISO 10304-1 |
|  |  | 11. Fluorides | VILM 13:2006 БДС EN ISO 10304-1 |
|  |  | 12. Nitrates | VILM 11:2006 БДС EN ISO 10304-1 |
|  |  | 13. Nitrites | БДС EN 26777 VILM 30:2011 БДС EN ISO 10304-1 |
|  |  | 14. Phosphates | БДС EN ISO 6878 VILM 12:2006 БДС EN ISO 10304-1 |
|  |  | 15. Kjeldahl nitrogen | БДС EN 16169 |
|  |  | 16.1 Cyanides free | VILM 17:2006 |
|  |  | 16.2 Cyanides total | БДС 17.1.4.14 |
|  |  | 17. Phenols/ | БДС ISO 6439 |
|  |  | Phenol index | VILM 20:2007 |
|  |  | 18.Total carbon (ТС)/ Total organic carbon (ТОС) | VILM 22:2007 БДС EN 1484 БДС EN 15936 |
|  |  | 19. Dissolved organic carbon/DOC | VILM 22:2007 БДС EN 1484 |
|  |  | 20. Dissolved solids/ total of dissolved solids | БДС 17.1.4.04 sec.3 БДС EN 15216 |
|  |  | 21. Mercury/Hg | VILM 28:2013 ЕРА 6010С |
|  |  | 22. Ammonium/NH4 | БДС ISO 7150-1 |
|  |  | 23. Petroleum products/ Hydrocarbons (ТРН) | БДС EN 14345 БДС EN 14039 |
|  |  | 24. Acid neutralization capacity/ ANC | СД CEN/TS 15364 |
|  |  | 25.1 Sulphate sulphur 25.2 Sulphide sulphur | VILM 31:2016 |
|  |  | 26. Thallium | ЕРА 6010С |
|  |  | 27. Bromides | БДС EN ISO 10304-1 |
| IV. | Noise | 1. Equivalent sound power level | БДС ISO 8297 VILM 33:2011 |
|  |  | 2. Level of total sound power | БДС ISO 8297 VILM 33:2011 |
| V. | Soils (1), sediments (2), treated biowaste: - compost; - stabilized organic fraction; - fermentation product; - organic soil improver (3) | 1. Petroleum products/ Hydrocarbons (ТРН) | БДС EN 14345 (1,2,3) БДС EN ISO 16703 (1,2,3) |
|  |  | 2. Active reaction/ рН/ рН(Н20)/ рН (СаСl2) | БДС EN 15933 (1,2,3) |
|  |  | 3. Conductivity/ Specific conductivity | СД CEN/TS 15937 (1,2,3) |
|  |  | 4. Dry solid/ moisture contents | БДС EN 15934 (1,2,3) |
|  |  | 5. Loss of ignition | БДС EN 15935 (1,2,3) |
|  |  | 6.1 Contents of organic substance/ Total organic carbon (ТОС) 6.2 Humus 6.3 Total carbon (ТС) | БДС EN 15936 (1,2,3) БДС 11302 (1,2,3) ISO 10694 (1,2,3) |
|  |  | 7. Total nitrogen (Kjeldahl) | БДС EN 16169 (1,2,3) |
|  |  | Extracted forms of 8.1 Ammoniacal nitrogen (NH4-N) | БДС ISO 7150-1 (1, 2, 3) |
|  |  | 8.2 Nitrite-nitrogen (NO2-N) | БДС EN 26777 (1, 2, 3) |
|  |  | 8.3 Nitrate-nitrogen (NO3-N) | БДС ISO 7890-3 (1, 2, 3) |
|  |  | 9. Elements contents 9.1 Arsenic/As 9.2 Antimony/Sb 9.3 Selenium/Se 9.4 Cadmium/Cd 9.5 Nickel/Ni | БДС EN 16170 (1,2,3) |
|  |  | 9.6 Copper/Сu |  |
|  |  | 9.7 Lead/Рb |  |
|  |  | 9.8 Zink/Zn |  |
|  |  | 9.9 Manganese/Мn |  |
|  |  | 9.10 Calcium/Са |  |
|  |  | 9.11 Calcium oxide/СаО |  |
|  |  | 9.12 Magnesium (total)/Мg |  |
|  |  | 9.13 Phosphorus/Р (total) |  |
|  |  | 9.14 Sulphur/5(total) |  |
|  |  | 9.15 Cobalt/Со |  |
|  |  | 9.16 Sodium/Na |  |
|  |  | 9.17 Potassium (total)/К |  |
|  |  | 9.18 Chromium/Сr |  |
|  |  | 9.19 Iron/Fe |  |
|  |  | 9.20 Aluminium/Аl |  |
|  |  | 9.21 Boron/В |  |
|  |  | 9.22 Mercury/Hg |  |
|  |  | 10.1. Phosphorous 10.2. Phosphorous – exchangeable forms recalculated as Р2O5 10.3. Phosphates | БДС ISO 11263 (1, 2, 3) VILM 35:2021 (1, 2, 3) |
|  |  | 11.1. Water-soluble sulphates, recalculated as sulphur 11.2. Sulphates | VILM 31:2016 (1,2,3) БДС ISO 11048 (1,2,3) |
|  |  | 12. Impurities/stones | СД CEN/TS 16202 (1,2,3) |
|  |  | 13.1. Sodium, exchangeable forms | БДС EN ISO 11260 (1,2,3) |
|  |  | 13.2. Potassium, exchangeable forms recalculated as К2O |  |
|  |  | 13.3. Calcium, exchangeable forms |  |
|  |  | 13.4. Magnesium, exchangeable forms |  |
|  |  | 14.1 Density 14.2 Bulk density | БДС EN 12580 (1,2,3) |
|  |  | 15.1 Particle size 15.2 Particle maximum size | БДС EN 15428 (1,2,3) |

To perform sampling of:

| Type of the scope: flexible for part of the scope |
| --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Air, atmospheric - emissions | БДС EN 13284-1 БДС ISO 9096 БДС EN 14790 ЕРА 323- items 6÷6.6, item 7.1 VILM 05:2016-item 8 БДС 17.2.4.12-cl.2 БДС 17.2.4.05 – according to the annex БДС EN 14791-cl. 6, cl. 7 БДС EN 1911- cl. 5 БДС 17.2.4.11 – according to the annex БДС 17.2.4.09 – according to the annex ЕРА 8-item 8 БДС EN 13211-cl. 5.3÷5.12; cl. 7 СД CEN/TS 17340 - item 6, item 7 |
| 2. | Soils | БДС 17.4.5.01, БДС ISO 18400-102 |
| 3. | Waste | ASTM D5658 ASTM D5679 СД CEN/TR 15310-2 |
| 4. | Waters, lake | БДС ISO 5667-4 |
| 5. | Waters, drinking | БДС ISO 5667-5 |
| б. | Waters, running surface | БДС EN ISO 5667-6 |
| 7. | Waters, coastal sea | БДС ISO 5667-9 |
| 8. | Waters, waste | БДС ISO 5667-10 |
| 9. | Waters, ground | БДС ISO 5667-11 |
| 10. | Sediments and sludge | БДС EN ISO 5667-13 |
| 11. | Treated biowaste | БДС EN 12579; БДС EN ISO 5667-13 |

Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope

References:

| 1. | VILM 01:2021 | Water quality. Determination of the extractable substances and petroleum products in waters |
| --- | --- | --- |
| 2. | VILM 02:2015 | Water quality. Determination of the contents of bromates in drinking waters |
| 3. | VILM 03:2005 | Water quality. Determination of the contents of chromium in waters/water extract of waste/eluates |
| 4. | VILM 04:2016 | Water quality. Determination of the contents of Adsorbable Organic Halides (AOX) in waters |
| 5. | VILM 05:2016 | Stationary emission sources. Determination of elements contents. |
| 6. | VILM 11:2006 | Water quality. Determination of the contents of nitrates and nitrate nitrogen in waters/water extract of waste/eluates |
| 7. | VILM 12:2006 | Water quality. Determination of the contents of phosphates and total phosphorus in waters/water extract of waste/eluates |
| 8. | VILM 13:2006 | Water quality. Determination of the contents of fluorides in waters/water extract of waste/eluates |
| 9. | VILM 15:2007 | Water quality. Determination of the contents of nitrate nitrogen and nitrates in sea water |
| 10. | VILM 16:2006 | Water quality. Determination of the contents of sulphides and hydrogen sulfide in waters |
| 11. | VILM 17:2006 | Water quality. Determination of the contents of cyanides and free cyanides in waters/water extract of waste/eluates |
| 12. | VILM 20:2007 | Water quality. Determination of the contents of phenol in waters/water extract of waste/eluates |
| 13. | VILM 21:2007 | Water quality. Determination of the contents of free (residual) chlorine in waters/water extract of waste/eluates |
| 14. | VILM 22:2007 | Water quality. Determination of the contents of total organic carbon in waters/water extract of waste/eluates |
| 15. | VILM 23:2016 | Stationary emission sources. Measurement of harmful substances (pollutants) and parameters of the gaseous streams |
| 16. | VILM 28:2013 | Water quality. Mercury determination using ICP - OES in waters/water extract of waste/eluates |
| 17. | VILM 29:2011 | Water quality. Determination of ammonium ions and ammoniacal nitrogen in waters/water extract of waste/eluates |
| 18. | VILM 30:2011 | Water quality. Determination of nitrites and nitrite nitrogen in waters/water extract of waste/eluates |
| 19. | VILM 31:2016 | Water quality. Determination of sulphates and their forms in waters and eluates |
| 20. | VILM 33:2011 | Validated intralaboratory methods for determination of total sound power, emitted in the surrounding environment by an industrial enterprise and determination of the sound level on the site of impact |
| 21. | VILM 34:2021 | Water quality. Water temperature measurement method |
| 22. | VILM 35:2021 | Soils, sediments, treated biowaste. Determination of the bulk forms of phosphorus. |