SCOPE 316 ОКС

of Inspection Body of type С ORION 5-LAB

at ORION-5 Vatrachki & Sons OOD

Management address:

1404 Sofia, Strelbishte,  171 Gotse Delchev Blvd, Building 27, Ent. 2, Floor 1, Apt.17

Office address:

1680 Sofia, Borovo, Bulgaria Blvd., Building 13, Ent. 7, Floor 1, Apt. 2

To perform inspection of:

| Type of the scope: Flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical systems and equipment up to 1000 V | At new and/or or operational sites / facilities | Loop impedance of the ‘Phase – protective conductor’ | PKfzp Procedure | Ordinance № 3, SG №90, 91/2004; Ordinance № 16-116, SG № 26/2008; Technical Specifications |
|  |  |  | FI (residual current) circuit breakers protection) inrush current; shutdown time; touch voltage; protective earth resistance | Procedure PKd | Ordinance № 3, SG №90, 91/2004; Ordinance № 16-116, SG №26/2008; Technical Specifications |
| 2. | Electrical systems and equipment up to 1000 V | At new and/or or operational sites / facilities | Resistance of lightning protection earthing systems | Procedure PKm | Ordinance № 4, SG № 6/2011; Technical Specifications |
|  |  |  | Resistance of protective earthing systems | Procedure PKz | Ordinance № 3, SG № 90, 91/2004; Ordinance № 16- 116, SG № 26/2008; Technical Specifications |
|  |  |  | Insulation resistance of cables and power lines | БДС 1986 item 3.3 a), b), e) and f). Procedure PKi-k-nn | Ordinance № 3, SG № 90, 91/2004; Ordinance № 16- 116, SG № 26/2008; Technical Specifications |
| 3. | Electrical systems and equipment up to 1000 V | At new and/or or operational sites / facilities | Isolation of power lines (busbars) with nominal voltage up to 20 kV, by means of increased voltage control with industrial frequency 50Hz to 50 kV | БДС 5589 БДС 3637 БДС 13910 Procedure PKi-t-srn | Ordinance № 3, SG № 90, 91/2004; Ordinance № 16- 116, SG № 26/2008; Standards for testing electrical machines and equipment; Technical Specifications |
|  |  |  | Isolation of power cable lines up to 20kV, by increased direct voltage control up to 70kV | БДС 2406 Procedure PKi -k-srn | Ordinance № 3, SG № 90, 91/2004; Ordinance № 16- 116, SG № 26/2008; Standards for testing electrical machines and equipment; Technical Specifications |
| 4. | Power transformers for voltage up to 110kV | At new and/or or operational sites / facilities | Insulation resistance and ratio R60:R15 | БДС 16654 Procedure PKi -s-tr | Ordinance № 3, SG № 90, 91/2004; Ordinance № 16- 116, SG № 26/2008; Standards for testing electrical machines and equipment; Technical Specifications |
|  |  |  | Active resistance of the coils | БДС EN 60076-1 БДС 15320 Procedure PKas-s-tr | Ordinance № 3, SG № 90, 91/2004; Ordinance № 16- 116, SG № 26/2008; Standards for testing electrical machines and equipment; Technical Specifications |
|  |  |  | Transformation factor | БДС EN60076-1 БДС 15320 Procedure PKkt-s-tr | Ordinance № 3, SG № 90, 91/2004; Ordinance № 16-116, SG № 26/2008; Standards for testing electrical machines and equipment; Technical Specifications |

*Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

References:

Ordinance № 16-116 on the technical operation of electrical equipment (SG № 26/2008);

Ordinance № 3 on the arrangement of electrical systems and power lines (SG № 90 and 91/2004);

Ordinance № 4 on the lightning protection of buildings, outdoor facilities and open spaces (SG № 6/2011);

NIEMS - Standards for testing electrical machinery and equipment (1995)

TC- Technical Specification