


ORDER
No. A 114
Sofia, 26.02.2021
[bookmark: _GoBack]Inspection body of type C  
at " LABKOUT " LTD, Shumen

Management and office address: 9700, Shumen, 4 Han Sabin Str.

 To perform inspection according to the following scope:
	Scope type: flexible*

	№
	Field of Inspection
	Type of Inspection
	Parameter of inspection/
Characteristic
	Test and Measurement Methods Used During Inspection
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	1.
	Microclimate
of work environment
	New and/or put into operation units/ equipment
	Air temperature, air relative humidity, air velocity
	БДС 16686; Ordinance No. РД- 07-3 
(SG, issue 63/2014)
	Ordinance No. 2
(SG, issue 15/2007); Ordinance No. 3 
(SG issue 15/2007); Ordinance No. 9 
(SG issue 46/1994); Ordinance No. 24 
(SG issue 95/2003); Ordinance No. 26 
(SG, issue 103/2008); Ordinance No.РД-07-3, (SG, issue 63/2014); БДС 14776;
Technical Specification

	2.
	Noise of work environment
	New and/or put into operation
	Level of noise, equivalent level of noise, daily level of noise exposure,
average weekly
	БДС EN ISO 9612 (БДС ISO 1999); БДС 15471
	Ordinance No. 6 
(SG, issue 70/2005); Ordinance No. 9 
(SG, issue 46/1994); Ordinance No. 24 
(SG, issue/2003);

	
	
	units/ equipment
	level of noise exposure, peak sound pressure level

	
	Ordinance No. 26 
(SG, issue 103/2008); Technical Specification

	3.
	Noise in residential and public buildings
	New and/or put into operation units/ equipment
	Level of noise, equivalent level of noise,
	БДС 15471
	Ordinance No. 6 
(SG, issue 58/2006) (appendix 2, table 1); Ordinance No. 9 
(SG, issue 46/1994); Ordinance No. 24 
(SG, issue 95/2003); Ordinance No. 26 
(SG, issue 103/2008); Technical Specification

	4.
	Noise of environment
	New and/or put into operation units/ equipment
	Equivalent level of noise
	БДС 15471
	Ordinance No. 6 
(SG, issue 58/2006) (appendix 2, table 2); Technical Specification

	5.
	Artificial light in work and household environment
	New and/or put into operation units/ equipment
	Luminosity
	Methodical guidelines for measuring and assessment of artificial light in buildings 40-85
	Ordinance No. 2 
(SG, issue 15/2007); Ordinance No. 3 
(SG, issue 15/2007); Ordinance No. 9 
(SG, issue 46/1994); Ordinance No. 24 
(SG, issue 95/2003); Ordinance No. 26 
(SG, issue 103/2008); Ordinance No. 49, 
(SG, issue 7/1976); БДС EN 12464-1; Technical Specification

	6.
	Electrical systems and equipment up to 1000 V
	New and/or put into operation units/ equipment
	Loop impedance, phase – protective conductor
	ОКС/24-ПР-11
	Ordinance No. 3 
(SG, issue 90, 91/2004); Ordinance No. 16-116 (SG, issue 26/2008);
Technical Specification

	
	
	
	Resistance of protective earthing systems
	ОКС/25-ПР-11
	Ordinance No. 3 
(SG, issue 90, 91/2004); Ordinance No. 16-116 (SG, issue 26/2008);
Technical Specification

	
	
	
	Resistance
of lightning protection earthing
systems
	ОКС/26-ПР-11
	Ordinance No. 4 
(SG, issue 6/2011); Technical Specification


* The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An updated list of standards/documents with their dated versions is provided by the CAB.

Ordinance No. 3 on health requirements to kindergartens (promulgated, SG, issue 15/ 2007);
Ordinance No. 2 on health requirements to computer and internet rooms for public use (promulgated, SG, issue 15/ 2007);
Ordinance No. 9 on health and hygiene requirements when personal computers are used in education and extracurricular activities by students (SG, issue 46/1994);
Ordinance No. 24 on sanitary and hygienic requirements for the discos (promulgated, SG, issue 95/2003, corr. SG, issue 100/2003);
Ordinance No. 26 on the structure and activity of creches and children kitchens and health requirements to them (SG, issue103/2008);
Ordinance No. РД-07-3 on the minimum requirements for the microclimate of work environments (SG, issue 63/2014)
Ordinance No. 6 on the minimum requirements for ensuring health and safety of persons working at risks connected with noise exposure (SG, issue 70/2005);
Ordinance No. 6 on noise indicators in environment measuring the level of discomfort during various parts of day and night, limit values of the indicators of noise in environment, methods of assessment of noise indicator values and harmful effects of noise on health of population (promulgated SG, issue 58/ 2006);
Ordinance No. 49 on artificial light of buildings (SG, issue 7/1976, amended and supplemented issue 64/ 1976);
Ordinance No. 3 on structure of electrical systems and power lines (promulgated, SG, issue 90/2004, issue 91/2004);
Ordinance No. 4/2010 on lightning protection of buildings, outdoor facilities and open spaces (SG, issue 6 dated 18.01.2011)
Ordinance No. 16-116 on technical operation of power equipment (promulgated, SG, issue 26/2008); Methodical guidelines for measuring and assessment of artificial light in buildings 40-85, issued Standardization, 1985.






