ORDER

№ A 295

Sofia, 10.05.2022

INSPECTION BODY of TYPE С at " VESTA - 17" LTD,

town of Targovishte

Management address: 7700 Targovishte, 4 “Paisiy” str., entrance B, 1-st floor, apt. 4, POB 4

Office address: 7700 Targovishte, Vabel residential quarter, 13 “Hristo Smirnenski” str.

To perform inspection according to the following scope:

| Type of scope: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of inspection | Type of inspection | Parameter of Inspection/ Characteristic | Test and Measurement Methods used during inspection | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical systems and equipment up to and above 1000 V | New or in exploitation facilities/equipment | Resistance of earthing protection systems | Inspection procedure ПК 01 | Ordinance № 3- 2004, /SG 90 and 91/2004; Ordinance № 16-116/ SG 26/2008; Technical specification |
|  |  |  | Insulation resistance | БДС 1986 p. 3.3 a), b), d) and e) Inspection procedure ПК 02 | Ordinance № 3- 2004, /SG 90 and 91/2004; Ordinance № 16-116/ SG 26/2008; Technical specification |
|  |  |  | Resistance of grounding electrode subsystem of lightning protection systems | Inspection procedure ПК 03 | Ordinance № 4-2011/ SG 6/2011; Technical specification |
| 2. | Electrical installation and equipment for voltage up to 1000 V | New or in exploitation facilities/equipment | Impedance Zs of the loop "phase - protective conductor" | Inspection procedure ПК 04 | Ordinance № 3- 2004/ SG 90 and 91/2004; Ordinance № 16-116/SG 26/2008; Technical specification |
|  |  |  | Residual current circuit breakers: -action current, -action time, -contact voltage | Inspection procedure ПК 05 | Ordinance № 3- 2004/ SG 90 and 91/2004; Ordinance № 16-116/SG 26/2008; Technical specification |
| 3. | Electrical protective equipment |  |  |  |  |
|  | Dielectric gloves (rubber insulating gloves), dielectric boots and galoshes; Dielectric carpets and rugs | Products in exploitation | Electrical strength of insulation, Leakage current | Ordinance № 22/ SG 45/2006 Inspection procedure ПК 06 | Ordinance № 22/ SG 45/2006; Technical specification |
|  | Insulating rods, Voltage detectors | Products in exploitation | Electrical strength of insulation | Ordinance № 22/ SG 45/2006 Inspection procedure ПК 07 | Ordinance № 22/ SG 45/2006; Technical specification |
| 4. | Power cable lines and equipment up to 20 kV | New or in exploitation facilities/equipment | Insulation testing applying higher DC voltage levels | БДС 2406; Inspection procedure ПК 08 | Ordinance № 16-116/SG 26/2008; Technical specification |
| 5. | Power transformers up to 20 kV including ones in exploitation | New or in exploitation facilities/ equipment | Insulation resistance | БДС 16654; Inspection procedure ПК 09 | Ordinance № 16-116/ SG 26/2008; Standards for testing electrical machinery and equipment-1995; Technical specification |
|  |  |  | Breakdown voltage of transformation oil | БДС 60156; Inspection procedure ПК 10 | Ordinance № 16-116/ SG 26/2008; Technical specification |
| 6. | Microclimate in the workplace | New or in exploitation facilities/ equipment | Air temperature; Relative humidity of air; Air velocity | БДС 16686; Ordinance № РД-07-3 /SG 63/2014; Inspection procedure ПК 11 | Ordinance № РД-07-3/ SG 63/2014; БДС 14776; Technical specification |
| 7. | Artificial lighting of work and living environment | New or in exploitation facilities/ equipment | Illuminance | Methodological guidelines for measuring and assessing artificial lighting in buildings, 40-85; Inspection procedure ПК 12 | Ordinance № 49/ SG 7/1976; БДС EN 12464-1; Technical specification |
| 8. | Occupational noise | New or in exploitation facilities/equipment | Daily noise exposure level; Average weekly noise exposure level; C-weighted peak sound pressure level | БДС EN ISO 9612 (БДС ISO 1999); Inspection procedure ПК 13 | Ordinance № 6/ SG 70/2005 |

* The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An updated list of standards/documents with their dated versions is provided by the CAB.

Ordinance № 16-116 – On technical exploitation of energy equipment (SG 26/2008);

Ordinance № 3 – On construction of electrical systems and power line (SG 90/2004, 91/2004);

Ordinance № 4 – On lightning protection of buildings, external equipment and open spaces (SG 6/2011);

Ordinance № 22 – On testing electric safety devices in exploitation (SG 45/2006);

НИЕМС – 1995 - Standards for testing electrical machinery and equipment;

Ordinance № РД-07-3 – On minimum requirements to microclimate in working spaces (SG63/2014);

Ordinance № 49 – On artificial lighting of buildings (SG 7/1976);

Ordinance № 6 – On minimum requirements to ensuring health and safety of employees working under the risk of exposure to noise (SG 70/2005);

Methodological guidelines for measurement and assessment of artificial lighting in buildings 40-85, Compendium of methods НЦХМЕХ, volume IV, ed. "Standardization", 1985;

ТС - Technical specification.