 SCOPE 225 ЛИ
Centralna Himicheska Laboratoria Ltd.
Chemical Laboratory
Management  and laboratory address:

1220 Sofia, Voenna rampa, 1, Lokomotiv Str.
To perform testing of:
	Type of the scope: fixed

	№
	Tested products
	Type of test/characteristic
	Testing methods (standard / validated method)

	1
	2
	3
	4

	1
	Mineral insulating oil
	Water soluble acids and bases
	БДС 5252:2019

	2
	Mineral insulating oil
	Density at 20°C
	БДС EN ISO 3675:2004

	3
	Mineral insulating oil
	Acid number
	БДС EN 62021-1:2006

	4
	Mineral insulating oil
	Breakdown voltage at industrial frequency up to 70 kV
	БДС EN 60156:2002

	5
	Mineral insulating oil
	Water content
	БДС EN 60814:2003, 

cl.1 and cl.2

	6
	Mineral insulating oil
	Dielectric Dissipation Coefficient
	БДС EN 60247:2006

	6
	Mineral insulating oil
	Specific resistance
	БДС EN 60247:2006

	7
	Mineral insulating oil
	Corrosive sulphur on copper foil
	ASTM D1275:2015

	8
	Mineral insulating oil
	Kinematic viscosity at 40°C
	БДС EN ISO 3104:2020, procedure A 
ASTM D445-21


To perform sampling of: 

	Type of the scope: fixed

	№
	Product
	Sampling method 

(standard / validated method)

	1
	2
	3

	1.
	Mineral insulating oil
	БДС EN 60475:2012, cl.4.2.1, cl.4.2.5, cl.4.3, cl.4.4
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