SCOPE 296 ЛИ

Service Lab EOOD

Testing Division

Management address:

1404 Sofia, Krasno selo, 117, Nishava Str, floor 3, apt. 6

Laboratory address:

Slivnitsa, Sofia-Region, Babin del locality

(geographical coordinates: 42.860569, 23.043920)

To perform testing of:

| Type of the scope: Flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of testing/characteristics | Testing methods (standardised/validated) |
| 1 | 2 | 3 | 4 |
| 1. | Bituminous mixtures | 1.1. Soluble binder content | БДС EN 12697-1 Annex B, clause B.2.1 |
|  |  | 1.2. Particle size distribution | БДС EN 12697-2+A1 |
|  |  | 1.3. Maximum density | БДС EN 12697-5 Procedure A |
|  |  | 1.4. Bulk density | БДС EN 12697-6 Procedure A, B, D |
|  |  | 1.5. Air voids content | БДС EN 12697-8 |
|  |  | 1.6. Voids content in the mineral aggregate | БДС EN 12697-8 |
|  |  | 1.7. Percentage of the voids in the mineral aggregate filled with binder | БДС EN 12697-8 |
|  |  | 1.8. Sensitivity to water - indirect tensile strength ratio | БДС EN 12697-12 Method A |
|  |  | 1.9. Binder drainage | БДС EN 12697-18; Clause 5 |
|  |  | 1.10. Indirect tensile strength | БДС EN 12697-23 |
|  |  | 1.11. Stability | БДС EN 12697-34 |
|  |  | 1.12. Flow | БДС EN 12697-34 |
| 2. | Bituminous layers | 2.1. Bulk density of bituminous specimen (core) | БДС EN 12697-6 Procedure A |
|  |  | 2.2. Conventional reference density | БДС EN 12697-9* |
|  |  | 2.3. Compaction degree | БДС EN 12697-9* |
|  |  | 2.4. Thickness of bituminous layer | БДС EN 12697-36 Clause 6.1 |
| 3. | Bitumen | 3.1. Penetration | БДС EN 1426 |
|  |  | 3.2. Softening point | БДС EN 1427 |
|  |  | 3.3. Elastic recovery | БДСEN 13398 |
|  |  | 3.4. Density | БДС EN 15326+A1 |
| 4. | Aggregates | 4.1. Particle size distribution | БДС EN 933-1 |
|  |  | 4.2. Percentage of fines fraction passing the 0.063 mm sieve | БДС EN 933-1 |
|  |  | 4.3. Flakiness index | БДС EN 933-3 |
|  |  | 4.4. Shape index | БДС EN 933-4 |
|  |  | - Percentage of: - crushed or broken particles - rounded particles - totally crushed or broken particles - totally rounded particles | БДС EN 933-5 |
|  |  | 4.6. Shell content | БДС EN 933-7 |
|  |  | 4.7. Sand equivalent value | БДС EN 933-8+A1 |
|  |  | 4.8. Methylene blue value | БДС EN 933-9 |
|  |  | 4.9. Resistance to wear - micro-Deval coefficient | БДС EN 1097-1 |
|  |  | 4.10. Resistance to fragmentation - Los Angeles coefficient | БДС EN 1097-2 |
|  |  | 4.11. Loose bulk density | БДС EN 1097-3 |
|  |  | 4.12. Water content | БДС EN 1097-5 |
|  |  | - Particle density: - apparent particle density - oven-dried particle density - saturated and surface-dried particle density - pre-dried particle density - particle density of coarse aggregate saturated to constant mass | БДС EN 1097-6 Clause 7, 8, 9 Annex A - clause A.3, A.4 Annex B |
|  |  | 4.14. Water absorption | БДС EN 1097-6 Clause 7, 8, 9 Annex B |
|  |  | 4.15. Magnesium sulfate value | БДС EN 1367-2 БДС EN 13450 Annex G |
|  |  | 4.16. Content of humus | БДС EN 1744-4+A1 Clause 15.1 |
|  |  | 4.17. Percentage of lightweight particles | БДС EN 1744-4+A1 Clause 14.2 |
|  |  | 4.18. Maximum density of skeleton at optimum water content | БДС EN 13286-2 Clause 7.1,7-2, 7.4, 7.5 БДС 17146 Clause 3.3 - type of testing H 100, M 100, H 150, M 150 |
|  |  | 4.19. California Bearing Ratio | БДС EN 13286-47 Ordinance № РД-02-20-2, SG 79/2018, Annex № 17 |
|  |  | 4.20. Swelling | БДС EN 13286-47 |
|  |  | 4.21. Liquid limit | БДС EN ISO 17892-12, Clause 5.4 Ordinance № РД-02-20-2, SG 79/2018, Annex № 15 |
|  |  | 4.22. Plastic limit | БДС EN ISO 17892-12, Ordinance № РД-02-20-2, SG 79/2018, Annex № 16 |
|  |  | 4.23. Plasticity index | БДС ENISO 17892-12 Ordinance № РД-02-20-2, SG 79/2018, Annex № 16 |
|  |  | 4.24. Elastic module | БДС 15130 |
|  |  | 4.25. Deformation module | БДС 15130 |
|  |  | 4.26. Deformation modules ratio E2:E1 | БДС 15130 |
|  |  | 4.27. Deformation module | Ordinance № 55, SG 18/2004, Art. 47 |
|  |  | 4.28. Bulk density of skeleton | Ordinance № РД-02-20-2, SG 79/2018, Annex № 18 |
|  |  | 4.29. Degree of compaction | Ordinance № РД-02-20-2, SG 79/2018, Annex № 18 |
|  |  | 4.30. Resistance to fragmentation under static load | БДС EN 206+A2/NA Annex NA. Q |
| 5. | Fillers | 5.1. Particle size distribution | БДС EN 933-1 |
|  |  | 5.2. Methylene blue value | БДС EN 933-9 |
|  |  | 5.3. Water content | БДС EN 1097-5 |
|  |  | 5.4. Particle density | БДС EN 1097-7 |
|  |  | 5.5. Percentage of the air voids | БДС EN 1097-4 |
| 6. | Construction soils | 6.1. Water content | БДС EN ISO 17892-1 |
|  |  | 6.2. Bulk density | БДС EN ISO 17892-2 Clause 5.1 |
|  |  | 6.3. Density in dry condition | БДС EN ISO 17892-2 Clause 5.1 |
|  |  | 6.4. Particle size distribution | БДС EN ISO 17892-4 Clause 5.2 |
|  |  | 6.5. Content of humus | БДС EN 1744-4+A1 Clause 15.1 |
|  |  | 6.6. Maximum density of skeleton at optimum water content | БДС EN 13286-2 Clause 7.1, 7.2, 7.4, 7.5 БДС 17146 Clause 3.3 - type of testing H 100, M 100, H 150, M 150 |
|  |  | 6.7. California Bearing Ratio | БДС EN 13286-47 Ordinance № РД-02-20-2, SG 79/2018, Annex № 17 |
|  |  | 6.8. Swelling | БДС EN 13286-47 |
|  |  | 6.9. Uniformity coefficient | БДС EN ISO 14688-2 |
|  |  | 6.10. Liquid limit | БДС EN ISO 17892-12, Clause 5.4 Ordinance № РД-02-20-2, SG 79/2018, Annex № 15 |
|  |  | 6.11. Plastic limit | БДС EN ISO 17892-12, Ordinance № РД-02-20-2, SG 79/2018, Annex № 16 |
|  |  | 6.12. Plasticity index | БДС EN ISO 17892-12 Ordinance № РД-02-20-2, SG 79/2018, Annex № 16 |
|  |  | 6.13. Elastic module | БДС 15130 |
|  |  | 6.14. Deformation module | БДС 15130 |
|  |  | 6.15. Deformation modules ratio E2:E1 | БДС 15130 |
|  |  | 6.16. Deformation module | Ordinance № 55, SG 18/2004, Art. 47 |
|  |  | 6.17. Bulk density of skeleton | Ordinance № РД-02-20-2, SG 79/2018, Annex № 18 |
|  |  | 6.18. Degree of compaction | Ordinance № РД-02-20-2, SG 79/2018, Annex № 18 |
| 7. | Unbound mixtures | 7.1. Particle size distribution | БДС EN 933-1 |
|  |  | 7.2. Percentage of fines fraction passing the 0.063 mm sieve | БДС EN 933-1 |
|  |  | 7.3. Water content | БДС EN 1097-5 |
|  |  | 7.4. Magnesium sulfate value | БДС EN 1367-2 |
|  |  | 7.5. Maximum density of skeleton at optimum water content | БДС EN 13286-2 Clause 7.1, 7.2, 7.4, 7.5 |
|  |  | 7.6. California Bearing Ratio | БДС EN 13286-47 |
|  |  | 7.7. Swelling | БДС EN 13286-47 |
|  |  | 7.8. Elastic module | БДС 15130 |
|  |  | 7.9. Deformation module | БДС 15130 |
|  |  | 7.10. Deformation modules ratio E2:E1 | БДС 15130 |
| 8. | Hydraulically bound mixtures | 8.1. Particle size distribution | БДС EN 933-1 |
|  |  | 8.2. Water content | БДС EN 1097-5 |
|  |  | 8.3. Maximum density of skeleton at optimum water content | БДС EN 13286-2 Clause 7.1, 7.2, 7.4, 7.5 БДС 17146 Clause 3.3- type of testing H 100, M 100, H 150, M 150 |
|  |  | 8.4. Compressive strength | БДС EN 13286-41 |
|  |  | 8.5. Workability period | БДС EN 13286-45 Clause 5 |
|  |  | 8.6. California Bearing Ratio | БДСEN 13286-47 |
|  |  | 8.7. Swelling | БДС EN 13286-47 |
|  |  | 8.8. Elastic module | БДС 15130 |
|  |  | 8.9. Deformation module | БДС 15130 |
|  |  | 8.10. Deformation modules ratio E2:E1 | БДС 15130 |
|  |  | 8.11. Bulk density of skeleton | Ordinance № РД-02-20-2, SG 79/2018, Annex № 18 |
|  |  | 8.12. Degree of compaction | Ordinance № РД-02-20-2, SG 79/2018, Annex № 18 |
|  |  | 8.13. Immediate bearing index | БДС EN 13286-47 |
| 9. | Fresh concretes | 9.1. Slump | БДС EN 12350-2 |
|  |  | 9.2. Density | БДС EN 12350-6 |
| 10. | Hardened concrete | 10.1. Compressive strength | БДС EN 12390-3 |
|  |  | 10.2. Density | БДС EN 12390-7 |

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Bituminous mixtures | БДС EN 12697-27, Clause 4.1, 4.3, 4.7 |
| 2. | Bituminous layers | БДС EN 12697-27, Clause 4.7 |
| 3. | Aggregates | БДС EN 932-1, Clause 8.8, Annex A.2 |
| 4. | Construction soils | БДС EN 932-1, Clause 8.8, Annex A.2 |
| 5. | Unbound mixtures | БДС EN 932-1, Clause 8.8, Annex A.2 |
| 6. | Hydraulically bound mixtures | БДС EN 932-1, Clause 8.8. Annex A.2 |
| 7. | Fresh concrete | БДС EN 12350-1 |

*Repealed but not replaced standard with regard to the testing method.

Flexible scope:

Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Reference:

- Ordinance № РД-02-20-2/28.08.2018, on road design (SG № 79/25.09.2018, amd. SG № 90/30.10.2018, amd. SG № 38/24.04.2020)

- Appendix № 15 to Art. 160, item 3

- Appendix № 16 to Art. 160, item 3

- Appendix № 17 to Art. 161 and Art. 162

- Appendix № 18 to Art. 168, para. 1

- Ordinance № 55, Art. 47/29.01.2004, on the design and construction of railway lines, railway stations, railway crossings, and other elements of the railway infrastructure (SG № 18/05.03.2004, amd. SG № 20/12.03.2004, amd. SG № 42/21.05.2004).