SCOPE 7 ЛИК

of Laboratory Metrologia,

at Metrologia Holding Ltd.

Management address: 1836 Sofia, Levski G, bl.44A,

Laboratory Addresses: Office 1 Bulgaria: 1836 Sofia, Levski G, bl. 44A

Office 2 Slovakia: 83107 Bratislava, Vajnory, 35, Tomanova Str.

I. To perform testing of:

Office 1

| Type of the scope: fixed |
| --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Roller brake testers | force, pressure, length, speed | Direct measurement БДС 16327 РПК 702 С03 |

The testing is performed at the customer's location.

II. To perform calibrating of:

Office 1

| Type of the scope: fixed |
| --- |
| № | Measuring instrument | Measured value, unit of measure | Measurement range | Measurement uncertainty | Calibration method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | LENGTH |
| 1.1 | Micrometers devices * | Length, m | for external dimensions up to 2 000 mm | (1,3+2,5.L) μm | РПК 702 Д01 |
|  |  |  | for 2-point inside dimensions up to 400 mm |  |  |
|  |  |  | for three points inside dimensions up to 100 mm |  |  |
| 1.2 | Calipers devices * | Length, m | for external and internal dimensions up to 2 000 mm | 0,03 mm | РПК 702 Д02 |
|  |  |  | for depth gauge up to 500 mm |  |  |
| 1.3 | Line scales and measuring tapes * | Length, m | up to 100 mm | 0,003 mm | РПК 702 Д03 |
|  |  |  | up to 5000 mm | 0,3 mm |  |
|  |  |  | up to 100000 mm | (0,5+0,02.L) mm |  |
| 1.4 | Measuring microscopes and profile projectors * | Length, m | up to 500 mm | (1+6.L) µm | РПК 702 Д04 |
| 1.5 | Dial gauge for measurement and set length * | Length, m | up to 100 mm | 0,9 µm | РПК 702 Д05 |
| 1.6 | Gauges blocks and measurement standards | Length, m | up to 100 mm | (0,19+2,5.L) µm | РПК 702 Д06 |
| 1.7 | Calibration blocks №1 and №2, ladder step wedges and measurement standards | Length, m | Calibration blocks №1 and №2 up to 200 mm | 0,1 mm | РПК 702 Д07 |
|  |  |  | Ladder step wedges up to 500 mm | (1,0 + 2,5.L) µm |  |
| 1.8 | Test sieves | Length, m | up to 100 mm | 3 µm | РПК 702 Д08 |
| 1.9 | Thickness gauges (mechanical, electromagnetic and ultrasound) * | Length, m | up to 100 mm | 1,3 µm | РПК 702 Д09 |
| 1.10 | Roll tester taxi meter ** | Length, m | up to 20000 m | 0,1 % | РПК 702 Д10 |
| Used indication - L is numerical value of length in m |
| 2. | ANGLE |
| 2.1 | Bevel protractors* | Arcdegrees, º | 4x90 º | 90 " | РПК 702 А01 |
| 2.2 | Beveled edges | Arcdegrees, º | до 90 º | 15 " | РПК 702 А01 |
| 2.3 | Levels | Arcdegrees, º | 18' (5 mm/m) | 5 " | РПК 702 А02 |
| 3. | WEIGHT |
| 3.1 | Scales (automatic and non-automatic)* | Weight, kg | I. accuracy class up to 500 g | from 0,01 mg up to 0,4 mg | РПК 702 М01 |
|  |  |  | II. accuracy class up to 1 kg up to 10 kg up to 60 kg up to 120 kg | 0,001 g 0,01 g 0,2 g 1,2 g |  |
|  |  |  | III. and IIII. accuracy class up to 10 kg up to 300 kg up to 500 kg up to 4000 kg up to 100000 kg | 0,2 g 5 g 100 g 1 kg 10 kg |  |
| 3.2 | Automatic scales for batching ** | Weight, kg | up to 10 kg up to 4000 kg up to 10000 kg | 0,2 g 2 kg 5 kg | РПК 702 М02 |
| 3.3 | Weights accuracy class М and custom weights | Weight, kg | from 1 kg to 1000 kg | from 0,016 g до 16 g | РПК 702 М03 |
|  | Weights accuracy class F2, М and custom weights | Weight, kg | from 1 mg to 500 mg | from 0,025 mg to 0,08 mg |  |
|  |  |  | from 1 g to 2000 g | from 0,1 mg to 10 mg |  |
| 4. | VOLUME |
| 4.1 | Measuring containers (gauges, cylinders, flasks, pycnometers, beakers and other) | Volume, l | from 1ml to 5 ml | from 0,006 ml to 0,009 ml | РПК 702 О01 |
|  |  |  | from 0,005 l to 3 l | from 0,03 ml to 0,1 ml |  |
|  |  |  | from 3 l to 6 l | from 0,3 ml to 0,6 ml |  |
|  |  |  | from 6 l to 20 l | from 3,2 ml to 4,5 ml |  |
|  |  |  | from 20 l to 50 l | from 6,8 ml to 7,7 ml |  |
|  |  |  | from 50 l to100 l | from 12 ml to 15 ml |  |
| 4.2 | Burettes, pipettes and other dispensers | Volume, l | from 0,1ml to 2000ml | from 0,0002 ml to 0,1 ml |  |
| 5. | DENSITY |
| 5.1 | Areometers (density meters) | Density kg/m3 g/ml | from 500 kg/m3 to 2000 kg/m3 | 0,05 kg/m3 | РПК 702 AM01 |
|  |  |  | from 0,5 g/ml to 2 g/ml | 0,00005 g/ml |  |
| 6. | TORQUE |
| 6.1 | Torque measuring instruments* | Torque, Nm | from 0,01 Nm to 2000 Nm | 0,2 % | РПК 702 ВМ01 |
| 6.2 | Torque wrench and torque screwdrivers* | Torque, Nm | from 0,01 Nm to 2000 Nm | 0,9 % | РПК 702 ВМ01 |
| 7. | FORCE |
| 7.1 | Force measuring equipment (stands, testers and testing machines) * | Force, N tension/ compression | from 0,01 N to 1000 N | 0,25 % | РПК 702 С01 |
|  |  |  | over 1 kN to 1000 kN | 0,5 % |  |
|  |  | Force, N compression | over 1000 kN to 2000 kN | 0,6 % |  |
| 7.2 | Force-proving instruments and force transducers* | Force, N tension/ compression | from 0,01 N to 1000 N | 0,25 % | РПК 702 С02 |
|  |  |  | over 1 kN to 1000 kN | 0,5 % |  |
|  |  | Force, N compression | over 1000 kN to 2000 kN | 0,6 % |  |
| 8. | PRESSURE |
| 8.1 | Pressure measuring devices from accuracy class 0,1:* mechanical with elastic measuring element (pressure gauges, manometers, vacuum gauges) electromechanical (transducers, transmitters, manometers with digital indication) calibrators | Pressure, bar | from -0,95 bar to 60 bar air | 0,05 % FS | РПК 702 Р01 |
|  |  |  | to 600 bar water or oil |  |  |
| 8.2 | Devices for measuring absolute pressure * (differential pressure gauges and barometers, from accuracy class of 0,1) | Pressure, bar | from 500 mbar to 1100 mbar | 0,1 % FS | РПК 702 Р01 |
| Used indication FS – pressure value range in bar |
| 9. | HARDNESS |
| 9.1 | Durometers Shore * | Hardness, Shore | from 10 Shore to 100 Shore | 0,3 Shore | РПК 702 ТВ01 |
| 9.2 | Durometers IRHD * | Hardness, IRHD | from 30 IRHD to 100 IRHD | 0,3 IRHD |  |
| 10. | TEMPERATURE |
| 10.1 | Thermometers * (digital, analog, liquid) | Temperature оС | from -40 °С to 0 °С | from 0,2 °С to 0,1 °С | РПК 702 Т01 |
|  |  |  | over 0 °С to 400 °С | from 0,1 °С to 0,3 °С |  |
|  |  |  | over 400 °С to 650 °С | from 0,3 °С to 1,5 °С |  |
|  |  |  | over 650 °С to 1200 °С | 2,0 °С |  |
| 10.2 | Infrared thermometers * | Temperature оС | from 20 °С to 350 °С | from 0,3 °С to 0,6 °С | РПК 702 Т01 |
| 10.3 | Resistive temperature transducers * | Temperature оС | from -40 °С to 0 °С | from 0,2 °С to 0,1 °С | РПК 702 Т02 |
|  |  |  | over 0 °С to 400 °С | from 0,1 °С to 0,3 °С |  |
|  |  |  | over 400 °С to 650 °С | from 0,3 °С to 1,5 °С |  |
| 10.4 | Thermoelectric sensors of temperature (thermocouples) * | Temperature оС | from -40 °С to 200 °С | 0,5 °С | РПК 702 Т02 |
|  |  |  | over 200 °С to 650 °С | from 0,6 °С to 1,5 °С |  |
|  |  |  | over 650 °С to 1200 °С | 2,0 °С |  |
| 10.5 | Temperature indicators and simulators * | Temperature оС | from -40 °С to 600 °С | 0,2 °С | РПК 702 Т03 |
|  |  |  | over 600 °С to 1200 °С | 0,3 °С |  |
| 11. | RELATIVE HUMIDITY |
| 11.1 | Hygrometers and transducers for relative humidity * | Relative humidity, % RH | from 20 %RH to 90 %RH | 2,5 %RH | РПК 702 ОВ01 |
| 12. | ELECTRICITY |
| 12.1 | Voltmeters for constant voltage (digital and analog) | Constant electrical voltage, DCU, V | from 0 mV to 19,999 9 mV | from 0,000 23 mV to 0,001 2 mV | РПК 702 Е01 |
|  |  |  | from 20 mV to 199,999 mV | from 0,002 4 mV to 0,012 mV |  |
|  |  |  | from 0,2 V to 1,999 99 V | from 0,000 032 V to 0,000 12 V |  |
|  |  |  | from 2 V to 19,999 9 V | from 0,000 32 V to 0,001 2 V |  |
|  |  |  | from 20 V to 199,999 V | from 0,003 2 V to 0,012 V |  |
|  |  |  | from 200 V to 1 000 V | from 0,021 V to 0,090 V |  |
| 12.2 | Voltmeters for alternating voltage (50 Hz, digital and analog) | Alternating electrical voltage, ACU, V | from 10 mV to 19.9999 mV | from 0,010 mV to 0,014 mV | РПК 702 Е01 |
|  |  |  | from 20 mV to 199,999 mV | from 0,034 mV to 0,10 mV |  |
|  |  |  | from 0,2 V to 1,99999 V | from 0,00021 V to 0,00096 V |  |
|  |  |  | from 2 V to 19,9999 V | from 0,0020 V to 0,0094 V |  |
|  |  |  | from 20 V to 199,999 V | from 0,020 V to 0,097 V |  |
|  |  |  | from 200 V to 1000 V | from 0,16 V to 0,56 V |  |
| 12.3 | DC ammeters (digital and analog) | Direct current, DCI, A | oт 19 μА to 199,999 μА | from 0,079 µА to 0,040 µА | РПК 702 Е02 |
|  |  |  | from 0,2 mA to 1,999 9 mA | oт 0,000 081 mА to 0,001 8 mА |  |
|  |  |  | from 2 mA to 19,999 mA | from 0,003 7 mА to 0,018 mА |  |
|  |  |  | from 20 mA to 199,999 mA | from 0,008 2 mА to 0,041 mА |  |
|  |  |  | from 0,2 А to 1,999 9 А | from 0,000 086 A to 0,005 0 A |  |
| 12.4 | AC ammeters (50Hz, digital and analog) | Alternating current, ACI, A | from 2 mА to 19,9999 mА | oт 0,0024 mА to 0,013 mА | РПК 702 Е02 |
|  |  |  | from 20 mA to 199,999 mA | from 0,024 mА to 0,13 mA |  |
|  |  |  | from 0,2 А to 1,99999 А | from 0,0004 A to 0,0018 A |  |
|  |  |  | from 2 А to 19,9999 А | from 0,0024 A to 0,014 A |  |
| 12.5 | Current clamp meters | Constant and alternating current (50 Hz) DCI и ACI, A | from 0 А to 1000 А | from 0,015 A to 0,34 A | РПК 702 Е02 |
| 12.6 | Ohmmeters (digital and analog) | Electrical resistance R, Ω | from 0,01 Ω to 10 кΩ | from 0,000039 Ω to 0,0032 kΩ | РПК 702 Е03 |
|  |  |  | from 10 кΩ to 100 MΩ | from 0,0041 kΩ to 0,049 MΩ |  |
| 12.7 | Constant and alternating (50 Hz) voltage calibrators | Constant and alternating voltage, DCU, ACU, V | DCU: | РПК 702 Е01 |
|  |  |  | from 0 V to 0,2 V | from 0,0000059 V to 0,000027 V |  |
|  |  |  | from 0,2 V to 2 V | from 0,000027 V to 0,00021 V |  |
|  |  |  | from 2 V to 20 V | from 0,00021 V to 0,0021 V |  |
|  |  |  | from 20 V to 200 V | from 0,0021 V to 0,021 V |  |
|  |  |  | from 200 V to 1000 V | from 0,021 V to 0,10 V |  |
|  |  |  | ACU: |  |
|  |  |  | from 0,2 V to 1,99 V | from 0,00010 V to 0,00072 V |  |
|  |  |  | from 2 V to 20 V | from 0,00077 V to 0,0070 V |  |
|  |  |  | from 20 V to 200 V | from 0,0076 V to 0,070 V |  |
|  |  |  | from 200 V to 1000 V | from 0,083 V to 0,37 V |  |
| 12.8 | DC and AC (50 Hz) calibrators | Constant and alternating current, DCI, ACI, A | DCI: from 0,2 mA to 2 A | from 0,0018 mA to 0,093 mA | РПК 702 Е02 |
|  |  |  | ACI: from 2 mA to 0,2 A | from 0,0070 mA to 0,14 mA |  |
| 12.9 | Converters of values with DCU input, DCI and R output DCU and DCI * | input DCU, DCI and R | DCU: | РПК 702 Е04 |
|  |  |  | from 0 mV to 19.9999 mV | from 0,00023 mV to 0,0012 mV |  |
|  |  |  | from 20 mV to 199,999 mV | from 0,00023 mV to 0,0012 mV |  |
|  |  |  | DCI: |  |
|  |  |  | from 0 mA to 20 mA | from 0,079 µА to 0,004 mА |  |
|  |  |  | RΩ: |  |
|  |  |  | from 0,01 Ω to 10 кΩ | from 0,000039 Ω to 0,0032 kΩ |  |
|  |  | output DCU, DCI | DCU: |  |
|  |  |  | from 0 V to 0,2 V | from 0,0000059 V from 0,000027 V |  |
|  |  |  | from 0,2 V to 2 V | oт 0,000027 V to 0,00021 V |  |
|  |  |  | from 2 V to 20 V | from 0,00021 V to 0,0021 V |  |
|  |  |  | DCI: |  |
|  |  |  | from 0,2 mA to 2 A | from 0,0018 mA to 0,093 mA |  |
| 13. | PHYSICOCHEMICAL AND OPTICAL |
| 13.1 | Conductometers * | Specific conductivity of electrolytes, µS/cm; mS/cm | from 0,8 µS/cm to 15 mS/сm | from 0,6 µS/cm to 0,3 mS/сm | РПК 702 EH02 (using CRM) |
|  |  |  | from 0,015 mS/cm to 100 mS/сm | from 0,003 mS/cm to 1,25 mS/сm |  |
|  |  |  | from 100 mS/cm to 111,3 mS/сm | from 0,1,25 mS/cm to 2,1 mS/сm |  |
| 13.2 | pH Meters * | Hydrogen index рН | from 1 to 10 | from 0,02 to 0,03 | РПК 702 PH01 |
|  |  |  | from 11 to 12 | from 0,03 to 0,04 |  |
| 13.3 | Spectrophotometers and photometers for the UV and visible areas * | Wavelength, λ of emissions from spectral sources, (Hg и De), nm | Hg from 365,0 nm, 546,1 nm; to (built into the appliance) 486,0 nm; 656,1 nm | 0,6 nm | РПК 702 ОH03 |
| 13.4 | Spectrophotometers and photometers for ultraviolet and visible areas for the wavelength, λ from 250 nm to 700 nm * | Spectral transmittance ( ((), % geometry 0/0, relative to the air for λ from 250 nm to 700 nm | from 4,0 % to 94,0 % | from 0,12 % to 1,0 % | РПК 702 ОH03 |
|  |  | Spectral optical density D(λ) for λ from 250 nm to 700 nm (calculated on the basis of ( ((),geometry 0/0, relative to the air) | from 1,398 to 0,027 | from 0,011 to 0,005 |  |
| 14. | TIME INTERVAL |
| 14.1 | Stopwatches * | Time interval, s | from 1 s to 10 h | 0,1 s | РПК 702 ВР01 |

* These measuring devices are calibrated in the laboratory or at the customer's site.

** These measuring devices are calibrated on site to the customer.

III. To perform calibrating of:

Office 2

| Type of the scope: fixed |
| --- |
| № | Measuring instrument | Measured value, unit of measure | Measurement range | Measurement uncertainty | Calibration method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | LENGTH |
| 1.1 | Micrometric devices for external dimensions * | Length, m | to 200 mm | (1,3+2,5.L) μm | РПК 702 Д01 |
| 1.2 | Calipers for external dimensions and depth gauges * | Length, m | to 200 mm | 0,03 mm | РПК 702 Д02 |
| 1.3 | Thickness gauges (mechanical, electromagnetic and ultrasound) * | Length, m | to 10 mm | 1,3 µm | РПК 702 Д09 |
| 2. | WEIGHT |
| 2.1 | Scales non-automatic * | Weight, kg | I. accuracy class up to 200 g | from 0,01 mg to 0,4 mg | РПК 702 М01 |
|  |  |  | II. accuracy class up to 1 kg | 0,001 g |  |
|  |  |  | III. accuracy class up to 100 kg | 5 g |  |
| 2.2 | Weights accuracy class F2, М and custom weights | Weight, kg | from 1 mg to 500 mg | from 0,025 mg to 0,08 mg | РПК 702 М03 |
|  |  |  | from 1 g to 200 g | from 0,1 mg to 1,0 mg |  |
| 3. | VOLUME |
| 3.1 | Volumetric flasks Pycnometers Atypical measurement containers | Volume, l | from 1 ml to 10 ml | 0,01 ml | РПК 702 О01 |
|  |  |  | from 10 ml to 50 ml | 0,03 ml |  |
|  |  |  | from 50 ml to 250 ml | 0,05 ml |  |
|  |  |  | from 250 ml to 1000 ml | 0,10 ml |  |
|  |  |  | from 1000ml to 2000ml | 0,20 ml |  |
|  |  |  | from 2000ml to 5000 ml | 0,30 ml |  |
| 3.2 | Graduated pipettes Pasteur pipettes | Volume, l | from 0,1 ml to 1 ml | 0,005 ml |  |
|  |  |  | from 1 ml to 5 ml | 0,008 ml |  |
|  |  |  | from 5 ml to 25 ml | 0,01 ml |  |
|  |  |  | from 25 ml to 100 ml | 0,02 ml |  |
| 3.3 | Micropipettes | Volume, l | from 1 µl to 10 µl | 0,05 µl |  |
|  |  |  | from 10 µl to 200 µl | 0,2 µl |  |
|  |  |  | from 200 µl to 500 µl | 0,5 µl |  |
|  |  |  | from 500 µl to 1000 µl | 1,5 µl |  |
|  |  |  | from 1000µl to 5000µl | 5,0 µl |  |
| 3.4 | Burettes | Volume, l | from 10 ml to 20 ml | 0,015 ml |  |
|  |  |  | from 20 ml to 50 ml | 0,02 ml |  |
|  |  |  | from 50 ml to 100 ml | 0,03 ml |  |
| 3.5 | Measuring cylinders | Volume, l | from 5 ml to 20 ml | 0,05 ml |  |
|  |  |  | from 20 ml to 100 ml | 0,2 ml |  |
|  |  |  | from 100 ml to 250 ml | 0,3 ml |  |
|  |  |  | from 250 to 500 ml | 0,6 ml |  |
|  |  |  | from 500 ml to 1000 ml | 2,0 ml |  |
|  |  |  | from 1000 ml to 2000 ml | 3,0 ml |  |
|  |  |  | from 2000 ml to 5000 ml | 7,5 ml |  |
| 3.6 | Butyrometers | Volume, l | from 0,1 ml to 5 ml | 0,015 ml |  |
| 3.7 | Measuring containers | Volume, l | from 250 ml to 500 ml | 2 ml |  |
|  |  |  | from 500 ml to 1000 ml | 3 ml |  |
|  |  |  | from 1000 ml to 2000 ml | 5 ml |  |
|  |  |  | from 2000 ml to 5000 ml | 10 ml |  |
| 4. | PRESSURE |
| 4.1 | Pressure measuring devices from accuracy class 0,05:* mechanical with elastic measuring element (pressure gauges, manometers, vacuum gauges) electromechanical (transducers, transmitters, manometers with digital indication) piston pressure gauges, pressure calibrators | Pressure, bar | from -0,95 bar to 2 bar на въздух | 0,02% FS | РПК 702 Р01 |
|  |  |  | to 25 bar на въздух | 0,04% FS |  |
|  |  |  | to 120 bar air | 0,02% FS |  |
|  |  |  | to 600 bar oil | 0,05% FS |  |
| 4.2 | Devices for measuring absolute pressure * (differential pressure gauges and barometers, from accuracy class of 0,05) | Pressure, Pa | from 500 mbar to 1100 mbar | 0,05% FS | РПК 702 Р01 |
| Used indication FS – pressure value range in bar |
| 5. | HARDNESS |
| 5.1 | Durometers Shore * | Hardness, Shore | from 10 Shore to 100 Shore | 0,3 Shore | РПК 702 ТВ01 |
| 5.2 | Durometers IRHD * | Hardness, IRHD | from 30 IRHD to 100 IRHD | 0,3 IRHD |  |
| 6. | TEMPERATURE |
| 6.1 | Thermometers * (digital, analog, liquid) | Temperature оС | from -40 °С to -20 °С | 0,13 °С | РПК 702 Т01 |
|  |  |  | over -20 °С to 100 °С | 0,06 °С |  |
|  |  |  | over 100 °С to 200 °С | 0,08 °С |  |
|  |  |  | over 200 °С to 400 °С | 0,12 °С |  |
|  |  |  | over 400 °С to 650 °С | 0,25 °С |  |
|  |  |  | over 650 °С to 1200 °С | 2,0 °С |  |
| 6.2 | Resistive temperature transducers * | Temperature оС | from -40 °С to -20 °С | 0,13 °С | РПК 702 Т02 |
|  |  |  | over -20 °С to 100 °С | 0,06 °С |  |
|  |  |  | over 100 °С to 200 °С | 0,08 °С |  |
|  |  |  | over 200 °С to 400 °С | 0,12 °С |  |
|  |  |  | over 400 °С to 650 °С | 0,25 °С |  |
| 6.3 | Thermoelectric sensors of temperature (thermocouples) * | Temperature оС | from -40 °С to 200 °С | 0,3 °С | РПК 702 Т02 |
|  |  |  | over 200 °С to 650 °С | from 0,4 °С to 1,0 °С |  |
|  |  |  | over 650 °С to 1200 °С | 2,0 °С |  |
| 7. | RELATIVE HUMIDITY |
| 7.1 | Hygrometers and transducers for relative humidity * | Relative humidity, % RH | from 10 %RH to 95 %RH | 1,8 %RH | РПК 702 ОВ01 |
| 8. | PHYSICOCHEMICAL |
| 8.1 | Conductometers * | Specific conductivity of electrolytes, µS/cm; mS/cm | Comparative method with reference conductometer | РПК 702 EH02 (Comparative method with reference conductometer) |
|  |  |  | 0,1 mS/cm to 100 mS/сm | 0,015 mS/cm to 1 mS/сm |  |

* These measuring devices are calibrated in the laboratory or at the customer's site.

** These measuring devices are calibrated on site to the customer.

IV. To perform measuring of:

Office 2

| Type of the scope: fixed |
| --- |
| № | Measured value | Unit of measure | Measuring range | Measurement uncertainty | Measuring method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Temperature | °C | -40 °C to 200 °C | 0,2 °C | РПК 702 Т01 |
|  |  |  | 200 °C to 400 °C | 0,3 °C |  |
|  |  |  | 400 °C to 650 °C | 1,0 °C |  |
|  |  |  | 650 °C to 1200 °C | 2,3 °C |  |
| 2. | Relative humidity | % RH | 10 %RH to 95 %RH | 2,3 %RH | РПК 702 ОВ01 |
| 3. | Pressure | Pa | from -95 kPa to 60000 kPa | 1 % | РПК 702 Р01 |

The measurement is performed on site at the customer.

References:

- РПК 702 Д01 Calibration of micrometric devices.

- РПК 702 Д02 Calibration of calipers.

- РПК 702 Д03 Calibration of line scales and measuring tapes.

- РПК 702 Д04 Calibration of measuring microscopes and profile projectors.

- РПК 702 Д05 Calibration of dial gauge for measurement and set length.

- РПК 702 Д06 Calibration of gauges blocks and measurement standards. (based on ISO 3650, EUROMET.L-S16)

- РПК 702 Д07 Calibration of calibration blocks №1 and №2, ladder step wedges and measurement standards.

- РПК 702 Д08 Calibration of test sieves. (based on ISO 3310-1,2,3)

- РПК 702 Д09 Calibration of thickness gauges.

- РПК 702 D10 Calibration

- РПК 702 А01 Calibration of bevel protractors and beveled edges.

- РПК 702 А02 Calibration of levels.

- РПК 702 М01 Calibration of scales. (based on EN 45501, EURAMET cg-18)

- РПК 702 М02 Calibration of automatic scales for batching.

- РПК 702 М03 Calibration of weights.

- РПК 702 О01 Calibration of volume instruments. (based on EURAMET cg-19)

- РПК 702 AM01 Calibration of areometers (density meters). (based on ISO 649-1, SIM MWG7/cg-03/v.00)

- РПК 702 ВМ01 Calibration of torque measuring instruments, torque wrench and torque screwdrivers. (based on ISO 6789, EURAMET cg-14)

- РПК 702 С01 Calibration of стенtoве, машини за изпитване и съоръжения, за измерване на сили. (based on ISO 7500-1, EURAMET cg-4)

- РПК 702 С02 Calibration of force-proving instruments and force transducers. (based on ISO 376, EURAMET cg-4)

- РПК 702 С03 Procedure for testing of roller brake testers.

- РПК 702 Р01 Measuring of pressure. Calibration of pressure measuring devices. (based on EURAMET cg-3, EURAMET cg-17)

- РПК 702 ТВ01 Calibration of durometers. (based on ISO 18898, ASTM D2240-00)

- РПК 702 Т01 Measuring of temperature. Calibration of thermometers.

- РПК 702 Т02 Calibration of temperature transducers and sensors. (based on EURAMET cg-8)

- РПК 702 Т03 Calibration of temperature indicators and simulators. (based onа EURAMET cg-11)

- РПК 702 ОВ01 Measuring of relative humidity. Calibration of hygrometers and transducers for relative humidity.

- РПК 702 Е01 Calibration of voltmeters and calibrators DC and AC voltage. (based on EURAMET cg-15)

- РПК 702 Е02 Calibration of ammeters and calibrators of direct and alternating current. (based on EURAMET cg-15)

- РПК 702 Е03 Calibration of ohmmeters. (based on EURAMET cg-15)

- РПК 702 Е04 Calibration of converters of values with input and output DCU and DCI or R.

- РПК 702 PH01 Calibration of pH Meters.

- РПК 702 EH01 Calibration of conductometers.

- РПК 702 ОH01 Calibration of spectrophotometers.

- РПК 702 ВР01 Calibration of stopwatches.