ORDER

№ A 676

Sofia, 28.11.2022

INSPECTION BODY „ELSTART”, TYPE C

At „ELSTART” OOD, Ruse

Management and office address: 7012 Ruse, 1 Aksakov Str., P.K. № 22

To perform inspection within the following scope:

| Type of scope: flexible* |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| № | Inspection area | Inspection type | Parameter of Inspection/ Characteristic | Test and Measurement Methods Employed for inspection, inspection procedure |  | Regulatory acts, norms, specifications, inspection schemes |
| 1 | 2 | 3 | 4 | 5 |  | 6 |
| 1 | Electrical installations and equipment up to 1000V | In new and/or operational sites/facilities | Insulation resistance | БДС 1986, point 3.3 a, b, d, e; РИК 7- 04 |  | Ordinance № 3 (SG, issues 90 and 91/2004); Ordinance № 16-116 (SG, issue 26/2008); TS |
|  |  |  | Resistance of protective earthing systems | РИК 7-02 |  | Ordinance № 3 (SG, issues 90 and 91/2004); Ordinance № 16-116 (SG, issue 26/2008); TS |
|  |  |  | Resistance of lightningprotection systems | РИК 7-03 | Ordinance № 4 (SG, issue 6/2011) Ordinance № 16-116 (SG, issue 26/2008); TS |  |
|  |  |  | ‘Phase - protective conductor’ loop impedance | РИК 7-01 | Ordinance № 3 (SG, issue 90 and 91/2004); Ordinance №. 16-116 (SG, issue 26/2008); TS |  |
|  |  |  | Trigger current, tripping time, protective earthing resistance and contact voltage of circuit breakers /CB/ | РИК 7-05 | Ordinance № 3 (SG, issue 90 and 91/2004); Ordinance № 16-116 (SG, issue 26/2008); TS |  |
| 2 | Artificial lighting in working and domestic environments | In new and/or operational sites/facilities | Illuminance | Methodological guidelines for measurement and assessment of artificial lighting in buildings 40-85 РИК 7-06. | Ordinance № 2 (SG, issue 15/2007) Ordinance № 3 (SG, issue 15/2007) Ordinance № 9 (SG, issue 46/1994) Ordinance № 24 (SG, issue 95/2003) Ordinance № 26 (SG, issue 103/2008) Ordinance № 49 (SG, issue 7/1976) БДС EN 12464 TS |  |

Ordinance № 3 on the layout of electrical installations and power lines, (SG, issue 90 and issue 91/2004), amended in SG, issue 42/2015;

Ordinance № 16-116 on the technical operation of power equipment (SG, issue 26/2008), amended in SG, issue 42/2015;

Ordinance № 4 on the lightning protection of buildings, outdoor equipment and open spaces (SG, issue 6/2011);

Ordinance № 2 on the requirements for computer and internet clubs for public use (SG, issue 15/2007);

Ordinance № 3 on the health requirements for kindergartens (SG, issue 15/2007);

Ordinance № 9 on health and hygiene requirements for the use of personal computers in the training and extracurricular activities of students (SG, issue 46/1994);

Ordinance № 24 on the sanitary and hygiene requirements for disco clubs (SG, issue 95/2003);

Ordinance № 26 on the establishment and operation of nurseries and nursery kitchens and the health requirements for them (SG, issue 103/2008);

Ordinance № 49 on the artificial lighting in buildings (SG, issue 7/1976);

Methodical instructions for measurement and assessment of artificial lighting in buildings, 40-85, issue Standardization, 1985.