ORDER

No. A 559

Sofia, 26.09.2022

INSPECTION BODY OF TYPE C

at “S I M PREVENT” EOOD, Plovdiv

Management address: 4001, city of Plovdiv, 14 Vechernitsa St., fl. 3, apt. 9

Office address: 4006, city of Plovdiv, 51 Tsarigradsko Shose, fl. 2, office 208

To perform inspection of:

| Scope type: Flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1.1 | Microclimate in the workplace and domestic environment | New sites/facilities and/or sites/facilities in operation | -Air temperature; -Relative humidity of the air; -Air movement speed. | БДС 16686; ПК 7.1.1-01; Ordinance № РД-07-3, (SG, issue 63/2014) | Ordinance №24 (SG, issue 95/2003); Ordinance №9 (SG, issue 46/1994); Ordinance №2 (SG, issue 15/2007); Ordinance №3 (SG, issue 15/2007); Ordinance №26 (SG, issue 103/2008); Ordinance № РД-07-3, (SG, issue 63/2014) БДС 14776; Technical specification |
| 1.2 | Artificial light in the workplace and domestic environment | New sites/facilities and/or sites/facilities in operation | Lightness | Methodical instructions for measurement and assessment of artificial light in buildings, Publishing House Standardization ПК 7.1.1-02 | Ordinance №49 (SG, issue 7/1976); Ordinance №24 (SG, issue 95/2003); Ordinance №9 (SG, issue 46/1994); Ordinance №2 (SG, issue 15 /2007); Ordinance №3 (SG, issue 15/2007); Ordinance №26 (SG, issue 103/2008); Ordinance №19 (SG, issue 79/2008); БДС EN 12464-1; Technical specification |
| 1.3 | Noise in the workplace environment | New sites/facilities and/or sites/facilities in operation | Equivalent level of noise; level of noise; Daily level of exposure to noise; Average weekly level of exposure to noise; Peak level of noise pressure | БДС EN ISO 9612; (БДС ISO 1999); БДС 15471; ПК 7.1.1-03 | Ordinance №7 (SG, issue 88/1999) – Art. 138; Ordinance №9 (SG, issue 46/1994); Ordinance №26 (SG, issue 103/2008); Ordinance №6 (SG, issue 70/2005); Technical specification |
| 1.4 | Noise in the environment | New sites/facilities and/or sites/facilities in operation | Equivalent level of noise | БДС 15471; ПК 7.1.1-10 | Ordinance №6 (SG, issue 58/2006), Addendum 2, Table 2; Technical specification |
| 1.5 | Noise in the premises of residential and public buildings | New sites/facilities and/or sites/facilities in operation | Equivalent level of noise, Level of noise | БДС 15471; ПК 7.1.1-04 | Ordinance №6 (SG, issue 58/2006), Addendum 2, Table 1; Ordinance №9 (SG, issue 46/1994); Ordinance №24 (SG, issue 95/2003); Ordinance №2 (SG, issue 15/2007); Ordinance №26 (SG, issue 103/2008); Technical specification |
| 2. | Electrical devices and equipment for voltages of up to 1000 V |  |  |  |  |
| 2.1 | Electrical devices and equipment for voltages of up to 1000 V | New sites/facilities and/or sites/facilities in operation | Electrode loop impedance | ПК 7.1.1-05 | Ordinance №3 (SG, issue 90,91/2004); Ordinance №16-116 (SG, issue 26/2008); Technical specification |
| 2.2 | Electrical devices and equipment for voltages of up to 1000 V | New sites/facilities and/or sites/facilities in operation | Resistance of protective earthing systems | ПК 7.1.1-07 | Ordinance №3 (SG, issue 90,91/2004); Ordinance №16-116 (SG, issue 26/2008); Technical specification |
| 2.3 | Electrical devices and equipment for voltages of up to 1000V | New sites/facilities and/or sites/facilities in operation | Resistance of lightning protection earthing systems | ПК 7.1.1-08 | Ordinance №4 (SG, issue 6/2011); Technical specification |
| 2.4 | Electrical devices and equipment for voltages of up to 1000V | New sites/facilities and/or sites/facilities in operation | Protection switches: -Electricity activation -contact voltage | ПК 7.1.1-06 | Ordinance №3 (SG, issue 90,91/2004); Ordinance №16-116 (SG, issue 26/2008); Technical specification |
| 2.5 | Electrical devices and equipment for voltages of up to 1000V | New sites/facilities and/or sites/facilities in operation | Insulation resistance | БДС 1986, item 3.3, a), b), d), e); ПК 7.1.1-09 | Ordinance №3 (SG, issue 90,91/2004); Ordinance №16-116 (SG, issue 26/2008); Technical specification |

* Introduction of new versions of standards/documents or superseding standards/documents is allowed. An updated list of standards/documents with their dated versions is maintained by the Conformity Assessment Body.

Ordinance № РД-07-3 on the minimum requirements about microclimate in workplaces (SG, issue 63/2014);

Ordinance № 24 on the sanitary and hygiene requirements for dance clubs (SG, issue 95/2003);

Ordinance № 9 on the health and hygiene requirements about the use of personal computers in school education and extracurricular activities of students (SG, issue 46/1994);

Ordinance № 2 on the health requirements about computer and internet clubs for public use (SG, issue 15/2007);

Ordinance № 3 of 05/02/2007 on the health requirements about kindergartens (SG, issue 15/2007);

Ordinance № 26 of 18 November 2008 on the structure and activities of nurseries and children’s kitchens and the health requirements about them (SG, issue 103/2008);

Ordinance № 49 on artificial lights in buildings (SG, issue 7/1976);

Ordinance № 19 on the structure and activities of optics and health requirements about them (SG, issue 79/2008);

Ordinance № 6, SG № 58/2006, on the indicators for environmental noise, taking into account the degree of discomfort during the different parts of the day, the limit values ​​of the indicators for environmental noise, in the premises of residential and public buildings, in zones and territories intended for residential construction, recreational zones and territories and mixed-use zones, methods for estimating the values ​​of noise indicators and the harmful effects of noise on the health of the population (SG, issue 100/2021);

Ordinance № 7 on the minimum requirements about occupational health and safety in the workplace and during the use of equipment (SG, issue 88/1999);

Ordinance № 6 on the minimum requirements about providing health and safety for workers in case of risks related to noise exposure (SG, issue 70/2005);

Ordinance № 3 on the structure of electrical devices and power lines (SG, issue 90/2004, issue 91/2004);

Ordinance № 16-116 on the technical exploitation of power equipment (SG, issue 26/2008);

Ordinance № 4 on lightning protection of buildings, external facilities and open spaces (SG, issue 90/2004, issue 6 of 2011).