ORDER

№ A 570

Sofia, 28.09.2022

# INSPECTION BODY OF TYPE C

# at "OMEGA ST" ООD, PLOVDIV

# Management address:

# 4001 Plovdiv, 34 Hadzhi Dimitar Blvd

Office address:

4000 Plovdiv, 5 Ponedelnik Pazar Str.

.

To perform inspection:

| Scope type: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of inspection/ Characteristic | Test and Measurement Methods Used During Inspection | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| I. ELECTRICAL INSTALLATIONS AND EQUIPMENT UP TO 1000 V |  |  |  |  |  |
| 1 | Electrical installations and equipment up to 1000 V | Inspection of new and/or operational facilities and sites | Impedance of "Phase - protective conductor" circuit | ПК 7.1-07 | Ordinance No. 3 (SG No. 90 and 91/2004) Ordinance No. 16-116 (SG No. 26/2008) Technical specification |
| 2 | Electrical installations and equipment up to 1000 V | Inspection of new and/or operational facilities and sites | Zero sequence current circuit-breakers: - actuation current; - contact voltage | ПК 7.1-08 | Ordinance No. 3 (SG No. 90 and 91/2004) Ordinance No. 16-116 (SG No. 26/2008) Technical specification |
| 3 | Electrical installations and equipment up to 1000 V | Inspection of new and/or operational facilities and sites | Resistance of protective earthing systems | ПК 7.1-09 | Ordinance No. 3 (SG No. 90 and 91/2004) Ordinance No. 16-116 (SG No. 26/2008) Technical specification |
| 4 | Electrical installations and equipment up to 1000 V | Inspection of new and/or operational facilities and sites | Resistance of the earthing leads of lightning protection earthing systems | ПК 7.1-10 | Ordinance No. 4 (SG No. 6/2011) Technical specification |
| 5 | Electrical installations and equipment up to 1000 V | Inspection of new and/or operational facilities and sites | Insulation resistance | БДС 1986 – item 3.3 a), b), e), f) ПК 7.1-11 | Ordinance No. 3 (SG No. 90 and 91/2004) Ordinance No. 16-116 (SG No. 26/2008) Technical specification |
| II. PHYSICAL FACTORS OF THE ENVIRONMENT |  |  |  |  |  |
| 6 | Artificial lighting | Inspection of new and/or operational facilities and sites | Illumination | Methodical instructions for measurement and assessment of artificial lighting in buildings 40- 85, 1985 ПК 7.1-05 | Ordinance No. 49 (SG No. 7/1976) Ordinance No. 24 (SG No. 95/2003) Ordinance No. 9 (SG No. 46/1994) Ordinance No. 2 (SG No. 15/2007) Ordinance No. 3 (SG No. 15/2007) Ordinance No. 19 (SG No. 79/2008) Ordinance No. 26 SG No. 103/2008 БДС EN 12464-1 Technical specification |
| 7 | Microclimate in working and living environments | Inspection of new and/or operational facilities and sites | - air temperature, - relative air humidity, - air velocity, | БДС 16686 ПК 7.1-01 Ordinance No. РД-07-3 (SG No. 63/2014) | Ordinance No. 24 (SG No. 95/2003) Ordinance No. 9 (SG No. 46/1994) Ordinance No. 2 (SG No. 15/2007) Ordinance No. 3 (SG No. 15/2007) Ordinance No. 26 (SG No. 103/2008) Ordinance No. РД-07-3 (SG No. 63/2014) БДС 14776 Technical specification |
| 8 | Noise in working environments | Inspection of new and/or operational facilities and sites | - noise level, dBA; - equivalent noise level, dBA | БДС 15471 ПК 7.1-02 | Ordinance No. 7 (SG No. 88/1999/ - Art. 138 Ordinance No. 9 (SG No. 46/1994) Ordinance No. 26 (SG No. 103/2008/) Technical specification |
|  |  | Inspection of new and/or operational facilities and sites | - daily / average weekly noise exposure level, dBA - peak sound pressure level, dBC | БДС ISO 1999 (БДС EN ISO 9612) ПК 7.1-12 ПК 7.1-13 | Ordinance No. 6 (SG No. 70/2005) Technical specification |
| 9 | Noise in the various territories and spatial zones within and outside urbanized territories | Inspection of new and/or operational facilities and sites | - equivalent noise level, dBA; - noise level, dBA | БДС 15471 ПК 7.1-03 | Ordinance No. 6 (SG No. 58/2006) - Appendix No.2, Table 2 |
| 10 | Noise in premises of residential and public buildings | Inspection of new and/or operational facilities and sites | - noise level, dBA; - equivalent noise level, dBA; | БДС 15471 ПК 7.1-04 | Ordinance No. 6 (SG No. 58/2006) - Appendix No.2, Table 1 Ordinance No. 9 (SG No. 46/1994) Ordinance No. 24 (SG No. 95/2003) Ordinance No. 2 (SG No. 15/2007) Ordinance No. 26 (SG No. 103/2008) Technical specification |
| III. VENTILATION INSTALLATIONS |  |  |  |  |  |
| 12 | Ventilation installations | Inspection of new and/or operational facilities and sites | Air flow velocity, Air flow rate | БДС 12.3.018 ПК 7.1-06 | Ordinance No. 24 (SG No. 95/2003) Ordinance No. 15 (SG No. 68/2005) Technical specification |

* The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An updated list of standards/documents with their dated versions is provided by the CAB.

Ordinance No. 3 on the structure of electrical installations and power lines (SG No. 90 and No. 91/2004);

Ordinance No. 16-116 on the technical operation of energy equipment (SG No. 26/2008);

Ordinance No. 4 (SG, No. 6/2011) on the lightning protection of buildings, external facilities and open spaces;

Methodical instructions for measurement and assessment of artificial lighting in buildings 40-85, issued by Standardization, 1985;

Ordinance No. 49 on artificial lighting of buildings (SG No. 7/1976);

Ordinance No. 24 on the sanitary and hygienic requirements for discotheques (SG, No. 95/2003);

Ordinance No. 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of pupils (SG No. 46/1994);

Ordinance No. 2 on the health requirements for computer and internet centres for public use (SG No. 15/2007);

Ordinance No. 3 on the health requirements for kindergartens (SG No. 15/2007);

Ordinance No. 19 on the structure and the activity of optician’s and the health requirements for them (SG No. 79/2008);

Ordinance No. 26 on the structure and the activity of kindergartens and children's kitchens and the health requirements for them (SG No. 103/2008);

Regulation № 24 on sanitary and hygienic requirements for discotheques (SG 95/2003);

Ordinance No. РД-07-3 on the minimum requirements for the microclimate at workplaces (SG No. 63/2014);

Ordinance № 6 on the indicators for environmental noise, taking into account the degree of discomfort during the different parts of the day, the limit values ​​of the indicators for environmental noise, in the premises of residential and public buildings, in zones and territories intended for residential construction, recreational zones and territories and mixed-use zones, methods for estimating the values ​​of noise indicators and the harmful effects of noise on the health of the population. (SG № 6/58/2006, amended and supplemented;

Ordinance No. 7 on the minimum requirements for healthy and safe working conditions at workplaces and when using the work equipment (SG No. 88/1999);

Ordinance No. 6 on the minimum requirements for ensuring the health and safety of workers at risk related to noise exposure (SG, No. 70/2005);

Ordinance No. 15 on the technical rules and regulations for design, construction and operation of sites and facilities for production, transmission and distribution of heat). (Promulgated SG No. 68/2005).