

ORDER

№ A 309

[bookmark: _Hlk110600951]Sofia, 12.05.2022


INSPECTION BODY
at MEDIKO GROUP LTD, town of Plovdiv

Address of management and office: 4004 Plovdiv, 8 B Kukush Street


To perform inspection according to the following scope:
	Scope type: Flexible*

	№ 
	Field of Inspection
	Type of Inspection
	Parameter of Inspection/ Characteristic

	Test and Measurement Methods Used for Inspection
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	INSPECTION BODY OF TYPE C

	1
	Electrical installations and equipment with voltage up to 1000 V









	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities


	Earthing resistance measurement of protective earthing system; resistance between the neutral wire and earth
	Guidelines 7.1-1
	Regulation № 16-116 (SG, issue 26/ 2008) Regulation № 3 (SG, issue 90 and 91/2004) Customer’s TS 

	2
	
	
	Resistance of lightning protection earthing system
	Guidelines 7.1-2
	Regulation № 4 
(SG, issue 6/2011) Customer’s TS

	3
	
	
	Loop Resistance Zs Impedance of
 contour "phase-
 protected
 conductor
	Guidelines 7.1-3
	Regulation № 16-116 (SG, issue 26/ 2008) Regulation № 3 (SG, issue 90 and 91/2004) 
Customer’s TS 

	4
	
	
	Insulation resistance 
	БДС 1986, para 3.3 a), b), e) f) 
Guidelines 7.1-4
	Regulation № 16-116 (SG, issue 26/ 2008) Regulation № 3 (SG, issue 90 and 91/2004) 
Customer’s TS 

	5
	
	
	Testing Residual Current Devices (RCD’s): 
- trriping time
- breaking current
- contact voltage
	Guidelines 7.1-5
	Regulation № 16-116 (SG, issue 26/ 2008) Regulation № 3 (SG, issue 90 and 91/2004) 
Customer’s TS 

	6
	Microclimate in working and living environment
	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities

	- Air temperature;
- Relative humidity;
- Air velocity
	Regulation № RD-07-3 (SG, issue 63/2014) БДС 16686
Guidelines 7.1-6
	Regulation № RD-07-3 
(SG, issue 63/ 2014)
Regulation № 9 
(SG, issue 46/1994)
Regulation № 24 (SG, issue 95/2003)
Regulation № 2 
(SG, issue 15/2007)
Regulation № 3 
(SG, issue 15/2007)
Regulation № 26 (SG, issue 103/2008)
БДС 14776 
Customer’s TS

	7
	Artificial lighting in working and living environment
	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities

	Illuminance
	Methodical instructions for measurement of artificial lighting in buildings 40-85, published by Standardization 1985 
Guidelines 7.1-7
	Regulation № 49 (SG, issue 7/1976)
Regulation № 24 (SG, issue 95/2003)
Regulation № 2 
(SG, issue 15/2007)
Regulation № 9 
(SG, issue 46/1994)
Regulation № 26 (SG, issue 103/2008)
Regulation № 3 
(SG, issue 15/2007)
БДС EN 12464-1 
Customer’s TS

	8
	Noise at workplace  - Occupational  Noise exposure
	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities
	- Daily Noise exposure level 
- Average weekly Noise exposure level 
- Peak sound pressure level
- sound pressure level
- equivalent continuous sound pressure level


	Guidelines 7.1-11 
БДС EN ISO 9612 (БДС ISO 1999)



БДС 15471 
	Customer’s TS
Regulation № 6 
(SG, issue 70/2005)



Regulation № 7, Art.138 
(SG, issue 88/1999)
Regulation № 9 (SG, issue 46/1994)
Regulation № 26 (SG, issue 103/2008)

	9. 
	Noise in premises of residential and public buildings
	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities

	- sound pressure level
- equivalent continuous sound pressure level

	БДС 15471
Guidelines 7.1-8
	Regulation № 6, Appendix № 2, Table № 1 (SG, issue 58/2006)
Regulation № 9 
(SG, issue 46/1994)
Regulation № 2 
(SG, issue 15/2007)
Regulation № 24 (SG, issue 95/2003)
Regulation № 26 (SG, issue 103/2008)
Regulation № 6 
(SG, issue 16/1977)

	10.
	Environmental Noise
	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities
	- equivalent continuous sound pressure level

	БДС 15471
Guidelines 7.1-8
	Regulation № 6, Appendix № 2, Table № 2 (SG, issue 58/2006)


	11.
	Ventilation systems
	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities
	- Air speed flow
- Air flow rate

	БДС 12.3.018
Guidelines 7.1-9
	Regulation № 15 (SG, issue 68/2005)
Regulation № 24 (SG, issue 95/2003)
Customer’s TS

	12.
	Chemical agents– airborne gases and vapors in work environment

	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities
	Concentration of chemical agents - gases and vapors by the express linear colorimetric method
	БДС EN 689+AC 
БДС EN 482 
Guidelines 7.1-12
	Regulation № 13 (SG, issue 8/2003)
Customer’s TS

	13.
	Chemical agents– airborne dust in work environment

	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities
	Concentration of chemical agents – dust (inhalable and respirable fractions)
	БДС EN 689+AC 
БДС EN 482 
БДС 2200
Guidelines 7.1-13
	Regulation № 13 (SG, issue 8/2003)
Customer’s TS

	INSPECTION BODY OF TYPE A 

	14.
	Playgrounds, located indoor and/or outdoor
	Initial control – in new sites and facilities;
Periodical – in operation sites and facilities

	Playground safety by comprehensive review based on available documentation, visual inspection and measurements/testing
	БДС EN 1176-1 
Documentation-based para 4.1, 4.2, 4.2.2, 4.2.12, 4.2.13, 4.2.14, 4.2.15, 4.2.16, 5, 6 
Visual inspection and measurements para 4.2.3, 4.2.4, 4.2.5, 4.2.6, 4.2.7, 4.2.8, 4.2.9, 4.2.10, 4.2.11, 4.2.12, 4.2.13, 4.2.14, 4.2.15, 4.2.16, 7
БДС EN 1176-2+AC 
Documentation-based para 4.6, 4.7, 4.8, 6
Visual inspection and measurements para 4.2, 4.3, 4.4, 4.5, 4.9, 4.10, 5, 7
БДС EN 1176-3 
Documentation-based para 5, 
Visual inspection and measurements para 4.2, 4.3, 4.4, 4.5, 4.6, 4.7, 4.8, 4.9, 6 
БДС EN 1176-4+AC 
Documentation-based para 4.2, 4.3, 4.4, 4.9, 4.10, 5, 6
Visual inspection and measurements para 4.5, 4.6, 4.7, 4.8, 4.11, 4.12, 4.13, 4.14, 7 
БДС EN 1176-5 
Documentation-based para 4.6, 5, 6
Visual inspection and measurements para 4.2, 4.3, 4.4, 4.5, 5, 7
БДС EN 1176-6+AC 
Documentation-based para 4.3, 5, 6
Visual inspection and measurements para 4.2, 4.4, 4.5, 4.6, 4.7, 4.8, 4.9, 4.10, 4.11, 5, 7
БДС EN 1176-7 
Documentation-based para 4.2, 5, 7, 8 
БДС EN 1176-10 
Documentation-based para 4.2.1, 4.2.2.7, 4.3.1, 4.4.1.7, 4.4.4.1, 5, 6
Visual inspection and measurements para 4.2.2.1, 4.2.2.2, 4.2.2.3, 4.2.24, 4.2.2.5, 4.2.26, 4.3.2.1, 4.3.2.2, 4.3.3, 4.3.4, 4.3.5, 4.3.6, 
4.3.7, 4.3.8, 4.3.9, 4.4.1, 4.4.2, 4.4.3, 4.4.4.2, 7
БДС EN 1176-11 
Documentation-based para 5
Visual inspection and measurements para 4.1, 4.2, 4.3, 4.4, 6 
БДС EN 1177+AC 
Guidelines 7.1-10
	Regulation № 1 
(SG, issue 10/2009)
Customer’s TS



*The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An updated list of standards/documents with their dated versions is provided by the CAB.

List of references: 
Regulation № 16-116 for the technical operation of electrical equipment (SG, issue 26/2008);
Regulation № 3 for the structure of electrical installations and electrical conduction lines (SG, issue 90 and 91/2004);
Regulation № 4 for the lightning protection of buildings, outdoor facilities and open areas (SG, issue 6/2011);
Regulation № 6 for ensuring normal acoustic environment in residential and public buildings and places (SG, issue 16/1977);
Regulation № 2 on the health requirements in computer and internet clubs for public use (SG, issue 15/2007);
Regulation № 3 on the health requirements in children daycare centers and kindergartens (SG, issue 15/2007);
Regulation № 9 on the health and hygiene requirements for using personal computers for educational purposes and for extracurricular activities of students (SG, issue 46/1994);
Regulation № 24 on the health and hygiene requirements in nightclubs (SG, issue 95/2003);
Regulation № RD-07-03 on the minimum requirements for the microclimate at the work places (SG, issue 63/2014);
Regulation № 49 on the artificial lighting in buildings (SG, issue 7/1976);
Methodical instructions for measurement of artificial lighting in buildings 40-85, Collection of Methods of the National Center for Hygiene, Medical Ecology and Nutrition, volume IV, published by Standardization, 1985; 
Regulation № 6 on the minimum requirements for ensuring the health and safety of workers at risk of exposure to noise (SG, issue 70/2005);
Regulation № 6 on the noise indicators in environment showing the extent of discomfort throughout the diurnal hours, on the limit values of noise indicators in the environment, in residential and public buildings, in areas and places intended for residential constructions, recreational areas and grounds and mixed purpose grounds, on the methods for assessment of noise indicators and of the harmful effects of the noise on the health of population (SG, issue 58/2006)
Regulation № 26 on the structure and operation of nursing homes and infant kitchens and the applicable health requirements (SG, issue 103/2008);
Regulation № 7 on the minimum requirements for ensuring the health and safety at the work places and when using equipment (SG, issue 88/1999);
Regulation № 15 on the technical rules and norms for designing, construction and operation of plants and equipment for production, transmission and distribution of heat energy (SG, issue 68/2005);
Regulation № 13 for the protection of workers against the risks of working with chemicals (SG, issue 8/2004);
Regulation № 1 on the conditions and order for ensuring the safety of playgrounds (SG, issue 10/2009);
TS – Customer’s technical specifications.
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