SCOPE 4 ЛК

Hygitest Ltd.

Laboratory for calibration of flow meters and rotameters

for measuring air flow

Management Address: 1797 Sofia, Darvenitsa, 4 Andrey Lyapchev Blvd. 
Laboratory Address: 1431 Sofia, 15 Acad. Ivan Evstatiev Geshov Blvd, floor 10, office 14

To perform calibrating of:

| Type of the scope: Fixed |
| --- |
| № | Measuring instrument | Measured value, unit of measure | Measurement Range | Calibration and measurement capability (CMC) | Calibration method |
| 1 | 2 | З | 4 | 5 | 6 |
| 1. | Flow meters and rotameters | Flow rate, l/min | from 0,02 l/min to 30,00 l/min | from 0,0008 l/min to 0,25 l/min | MK 702-1/2018 |

Note:  Calibration is performed only on the premises of the Laboratory.

Reference:

MK 702-1/2018 - Methodology for calibration of flow meters and rotameters for measuring air flow.