SCOPE 260 ЛИ

Energy Lab testing laboratory

at Energy Max Ltd

Management address: 6008 Stara Zagora, 4 Han Asparuh Str.

Laboratory address: 6000 Stara Zagora, 16, Kaloyanovsko shosse Str,

TC Novotehprom, Block 3, Floor 6, Offices 601, 602 and 612

To perform testing of:

| Type of the scope: flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1 | Concrete mixes | Oxygen (O2) | IVM 001/2009 БДС EN 14789 |
|  |  | Carbon monoxide (CO) | IVM 001/2009 БДС EN 15058 |
|  |  | Carbon dioxide (CO2) | IVM 002/2014 |
|  |  | Nitrogen oxides (NOx) Nitric oxide (NO) Nitrogen dioxide (NO2) | IVM 001/2009 БДС EN 14792 |
|  |  | Sulphur dioxide (SO2) | IVM 001/2009 IVM 002/2014 |
|  |  | Velocity Volume flow rate | ISO 10780 БДС EN ISO 16911-1 |
|  |  | Water vapor (moisture) | БДС EN 14790 |
|  |  | Dust | БДС EN 13284-1 БДС ISO 9096 |
|  |  | Quality Assurance Level 2 (QAL 2) and Annual Surveillance tests (AST) | БДС EN 14181 for parameters: Oxygen (O2) Carbon monoxide (CO) Nitrogen oxides (NOx) Sulphur dioxide (S02) Velocity, Volume flow rate Water vapor (moisture) Dust |
|  |  | Total mercury (Hg) Elemental mercury (Hg0) Oxidized mercury (Hg+2) | ЕРА З0В |
| 2 | Coal: anthracite, black, brown, lignite, briquettes, coke | Мercury (Hg) | EPA 7473 |
| 3 | Limestone | Мercury (Hg) | EPA 7473 |
| 4 | Waste, sludge, sediment | Мercury (Hg) | EPA 7473 |
| 5 | Waters: drinking, mineral, surface, ground, sewage | Мercury (Hg) | EPA 7473 |

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling method (standard/validated) |
| 1 | 2 | 3 |
| 1. | Gas streams in ducts at stationary source emissions | БДС EN 14790 БДС EN 13284-1 БДС ISO 9096 EPA 30B |

Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope references:

IVM 001/2009 - Internally validated methodology. Analysis of flue gases in the industry - emissions testing and process gases (electrochemical method).

IVM 002/2014 - Internally validated methodology. Analysis of flue gases in the industry - emissions testing and process gases (non-dispersive infrared spectrometry).