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Test center TESTEN Ltd.
Testing Laboratory

Management address: 9000 Varna, 128, 8-mi Primorski Polk Blvd, office 304
Laboratory address: 9300 Dobrich, 68, Kaliakra Str.
  To perform testing of:
	Type of scope: Fixed

	№
	Tested products
	Type of test / characteristic
	Testing methods
(standard / validated method)

	1
	2
	3
	4

	1.
	Electrical panels (1). Communication cabinets (2). 
Server cabinets (3), part of the composition of automated technological process control systems in the nuclear power plant.
	Testing of stability and resistance when the specimen is operated by vibration (with acceleration from 0.1 g to 10 g in a specified direction - X, Y, Z axes and frequency from 1 Hz to 35 Hz).
	ПИ 7.2.1.1/10.02.2022


Reference: 
ПИ 7.2.1.1/10.02.2022 Vibration testing methodology for resistance to anthropogenic effects – air shock wave simulation and aircraft drop simulation.
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