ORDER

№A 653

Sofia, 10.11.2022

INSPECTION BODY OF TYPE А

AT REGIONAL HEALTH INSPECTORATE OF THE TOWN OF BLAGOEVGRAD

Management Address and Address of the CAB: 2700, Blagoevgrad, 2, Bratya Miladinovi Street

To perform inspection of:

| Type of the scope: flexible for a part of the scope* |
| --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection, Inspection Рocedure | Ordinances, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | б |
| I. | WATER | New and/or in use Рoducts |  | Рocedure ОКА-7.1-ПР-06-13* |  |
| 1. | Drinking water | New and/or in use Рoducts |  |  |  |
|  |  |  | Active reaction | БДС 3424, p. 1* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Aluminium | БДС ISO 10566* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Ammonium ion | БДС 3587, p.2* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Arsenic | БДС 3570* | Ordinance №9, SG №30/2001 Addendum №1, schedule Б |
|  |  |  | Boron | БДС ISO 9390* | Ordinance №9, SG №30/2001 Addendum №1, schedule Б |
|  |  | „ | Taste | БДС 8451, p.З* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Electric conductivity | БДС EN 27888* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Iron | БДС ISO 6332* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Calcium | БДС ISO 6058* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Magnesium | БДС 7211* revoked but not replaced | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Manganese | БДС ISO 6333* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Copper | БДС 3770* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Odour | БДС 8451, p.4* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Turbidity | БДС EN ISO 7027, p.6* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Nitrates | БДС 3758, p.1* БДС ISO 7890* | Ordinance №9, SG №30/2001 Addendum №1, schedule Б |
|  |  |  | Nitrites | БДС EN 26777* | Ordinance №9, SG №30/2001 Addendum №1, schedule Б |
|  |  |  | Total hardness | БДС 3775* БДС ISO 6059* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Free chlorine residual | БДС 3560* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Permanganate oxidizability | БДС 3413* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Sulphates | БДС 3588, p.5* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Dry residue | БДС 3546* | Ordinance №9, SG №30/2001 Addendum №1, schedule B |
|  |  |  | Fluorides | БДС 16911* | Ordinance №9, SG №30/2001 Addendum №1, schedule Б |
|  |  |  | Phosphates | БДС EN ISO 6878, p.З* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Chlorides | БДС 3414* | Ordinance №9, SG №30/2001 Addendum №1, schedule B |
|  |  |  | Chrome | БДС 17.1.4.17* | Ordinance №9, SG №30/2001 Addendum №1, schedule Б |
|  |  |  | Colour | БДС 8451, p.2.6* | Ordinance №9, SG №30/2001 Addendum №1, schedule B |
|  |  |  | Cyanides | БДС 7214* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Zinc | БДС 15107* | Ordinance №9, SG №30/2001 Addendum №1, schedule В |
|  |  |  | Colony count /microbial count/ at 22°С and 37°С | БДС EN ISO 6222* | Ordinance №9 Addendum No.1, Schedule В |
|  |  |  | Coliforms | БДС EN ISO 9308-1* БДС 17336* | Ordinance №9 Addendum No.1, Schedule В |
|  |  |  | Escherichia coli | БДС EN ISO 9308-1* БДС 17336* | Ordinance №9 Addendum No.1, Schedule А |
|  |  |  | Enterococci | БДС EN ISO 7899-2* | Ordinance №9 Addendum No.1, Schedule А |
|  |  |  | Clostridium perfringens | БДС EN ISO 14189* | Ordinance №9 Addendum No.1, Schedule В |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 16266* | Ordinance №9 Addendum No.1, Schedule А |
| 2. | Water from swimming pools | New and/or in use Рoducts |  |  |  |
|  |  |  | Active reaction | БДС 3424, p.1* | Instruction №34, SG №82/1975, article 18, para 3 |
|  |  |  | Taste | БДС 8451, p.4* | Instruction №34, SG №82/1975, article 18, para 3 |
|  |  |  | Colour | БДС 8451, p.2* | Instruction №34, SG №82/1975, article 18, para 3 |
|  |  |  | Nitrites | БДС EN 26777* | Instruction №34, SG №82/1975, article 18, para 3 |
|  |  |  | Ammonium ion | БДС 3587, p.2* | Instruction №34, SG №82/1975, article 18, para 3; Article 19 |
|  |  |  | Iron | БДС ISO 6332* | Instruction №34, SG №82/1975, article 18, para 3 |
|  |  |  | Manganese | БДС ISO 6333* | Instruction №34, SG №82/1975, article 18, para 3 |
|  |  |  | Residual active chlorine | БДС 3560* | Instruction №34, SG №82/1975, article 18, para 3 |
|  |  |  | Permanganate oxidizability | БДС 3413* | Instruction №34, SG №82/1975, article 18, para 3; article 19 |
|  |  | - | Microbial count | БДС EN ISO 6222* БДС 17335* | Instruction №34, article 18, para 4 |
|  |  |  | Coliforms | БДС EN ISO 9308- 1 БДС 17335 p.6 | Instruction №34, article 18, para 4 |
|  |  |  | Escherichia coli | БДС EN ISO 9308-1* БДС 17335, p. 7* | Instruction №34, SG №82 from 24.10.1975, article 18, para 4; article 19 |
|  |  |  | Enterococci | БДС EN ISO 7899-2* БДС 17335, p.8* | Instruction №34, article 18, para 4 |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 16266* БДС 17335, p.10* | Ordinance №14 Addendum №5, p.6 |
|  |  |  | Staphylococci | БДС 17335, p.9* | Instruction №34, article 18, para 4 |
| 3. | Mineral water | New and/or in use Рoducts |  |  |  |
|  |  |  | Arsenic | БДС 3570* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Chrome /VI/ | БДС 7212* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Borates | БДС ISO 9390* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Nitrates | БДС 3758, p.1* БДС ISO 7890* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Nitrites | БДС EN 26777* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Ammonium | БДС 3587, p.2* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Copper | БДС 3770* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Manganese | БДС ISO 6333* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Zinc | БДС 15107* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Oxidizability /permanganate/ | БДС 3413* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Fluoride | БДС 16911* | Ordinance №14, SG №79/1987. Addendum №4 |
|  |  |  | Total count of mesophilic aerobic microorganisms at 20°С and 37°С | БДС EN ISO 6222* | Ordinance №14, SG №79/1987. Addendum No 5, p.1 |
|  |  |  | Coliforms at 37°С | БДС EN ISO 9308-1* | Ordinance №14, SG №79/1987. Addendum No 5, p.2 |
|  |  |  | Escherichia coli at 43 °С | БДС EN ISO 9308-1* | Ordinance №14, SG №79/1987. Addendum No 5, p.3 |
|  |  |  | Enterococci | БДС EN ISO 7899-2* | Ordinance №14, SG №79/1987. Addendum No 5, p.4 |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 16266* | Ordinance №14, SG №79/1987. Addendum No 5, p.6 |
|  |  |  | Sulphite-reducing clostridia | БДС EN 26461-1* БДС EN 26461-2* | Ordinance №14, SG №79/1987. Addendum No 5, p.5 |
|  |  |  | Salmonella | БДС EN ISO 19250* | Ordinance №14, article 7, para 6 |
| 4. | Bottled natural mineral, sПРing and table water intended for drinking puПРoses | New and/or in use ПРoducts |  |  |  |
|  |  |  | Arsenic | БДС 3570* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Boron | БДС ISO 9390* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Manganese | БДС ISO 6333* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Copper | БДС 3770* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Nitrates | БДС 3758, p.1* БДС ISO 7890* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Nitrites | БДС EN 26777* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Fluorides | БДС 16911* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Chrome | БДС 17.1.4.17* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Cyanides | БДС 7214* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №3, SG №68/2004 |
|  |  |  | Total count of colonies of viable microorganisms at 22°С and 37°С | БДС EN ISO 6222* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №5, SG №68/2004 |
|  |  |  | Coliforms at 37°С | БДС EN ISO 9308-1* БДС 17336* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №5, SG №68/2004 |
|  |  |  | Escherichia coli at 44°С | БДС EN ISO 9308-1* БДС 17336* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №5, SG №68/2004 |
|  |  |  | Faecal streptococci | БДС EN ISO 7899-2* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №5, SG №68/2004 |
|  |  |  | Spore-forming sulfite-reducing clostridia | БДС EN 26461-1* БДС EN 26461-2* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №5, SG №68/2004 |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 16266* | Ordinance on the requirements to the Bottled natural mineral, sПРing and table water intended for drinking puПРoses, Addendum №5, SG №68/2004 |
| 5. | Surface waters | New and/or in use Рoducts |  |  |  |
|  |  |  | Coliforms 37 °С - Total | БДС EN ISO 9308-1* БДС 17336* | Ordinance №12 Addendum No.1, p.43, SG №63/2002 |
|  |  |  | Faecal coliforms | БДС EN ISO 9308-1* БДС 17336* | Ordinance №12 Addendum No.1, p.44, SG №63/2002 |
|  |  |  | Faecal streptococci | БДС EN ISO 7899-2* | Ordinance №12 Addendum No.1, p.45, SG №63/2002 |
|  |  |  | Salmonella | БДС EN ISO 19250* | Ordinance №12 Addendum No.1, p.46, SG №63/2002 |
| II. | COSMETIC ПРODUCTS AND HOUSEHOLD CHEMICALS | New and/or in use Рoducts |  | Рocedure ОКА-7.1-ПР-07-13* | Ordinance №14 of 28 July 2014 for the definition of detailed rules on submitting information under article 19 para 4 of Ordinance (EC) No. 1223/2009 on cosmetic ПРoducts, requirements to efficiency of sun ПРotection cosmetic ПРoducts and chemical methods for checking the content of cosmetic ПРoducts, ПРomulgated SG №68 of 15 August 2014 |
|  |  |  |  |  | Ordinance (EC) №1223/2009 of the European Parliament and of the Council of 30 November 2009 on cosmetic ПРoducts |
|  |  |  |  |  | Ordinance №648/2004/ЕC on detergents. Technical documentation. Technical specification |
| 1. | Cosmetic ПРoducts | New and/or in use Рoducts |  |  |  |
| 1.1 | Hair treatment ПРoducts |  |  |  |  |
|  |  |  | а-surfactants | БДС 10751, p.4.6.2* | TD; TS |
|  |  |  | Appearance | БДС 3741, p.1* | TD; TS |
|  |  |  | Colour | БДС 3741, p.1* | TD; ТS |
|  |  |  | Odour | БДС 3741, p.2* | TD; ТS |
|  |  |  | Heavy metals: mercury, bismuth – qualitative analysis | БДС 3741, p.5* | TD; ТS БДС 10751, p.2.3, schedule 1 |
|  |  |  | Active reaction –рН | БДС ISO 4316* | TD; TS; БДС 10751, p.2.3, schedule 1 |
|  |  |  | Total surfactants | БДС 9025, p.1* | TD; TS; БДС 10751, p.2.3, schedule 1 |
|  |  |  | Hydrogen peroxide | Ordinance No.14 of the Ministry of Health (MH), SG №68/2014, Addendum 2, p. VIII, В* | Ordinance 1223/2009- Addendum №III, p.12.а |
|  |  |  | Ammonium | Ordinance No.14 of the MH, SG №68/2014, Addendum 2, p. XVI* | Ordinance 1223/2009- Addendum №III, p.4 |
|  |  |  | Thioglycolic acid /mercaptoacetic acid/ | Ordinance No.14 of the MH, SG №68/2014, Addendum 2, p. XVIII, 5.1.* | Ordinance 1223/2009- Addendum №III, p.2а |
|  |  |  | Potassium/sodium hydroxide | Ordinance No.14 of the MH, SG №68/2014, Addendum 2, p. III* | Ordinance 1223/2009- Addendum №III, p.15.а |
|  |  |  | Oxalic acid | Ordinance No.14 of the MH, SG №68/2014, Addendum 2, p. IV* | Ordinance 1223/2009- Addendum №III, p.З |
|  |  |  | Boracic acid, borates and tetraborates | VLM 1 / 2019* | Ordinance 1223/2009- Addendum №III, p.1а; 16 |
|  |  |  | Total count of mesophilic aerobic microorganisms | БДС EN ISO 21149* | БДС EN ISO 17516 |
|  |  |  | Escherichia coli | БДС EN ISO 21150* | БДС EN ISO 17516 |
|  |  |  | Pseudomonas Aeruginosa | БДС EN ISO 22717* | БДС EN ISO 17516 and BNAEMPK -2004 |
|  |  |  | Candida albicans | БДС EN ISO 18416* | БДС EN ISO 17516 |
|  |  |  | Staphylococcus aureus | БДС EN ISO 22718* | БДС EN ISO 17516 |
|  |  |  | Moulds and yeast | БДС EN ISO 16212* | БДС EN ISO 17516 |
| 1.2 | Cosmetic creams, emulsions, lotions, gels, milks and oils for skin |  |  |  |  |
|  |  |  | Appearance | БДС 3741, p.1* | TD; TS |
|  |  |  | Active reaction –рН | БДС 3741, p.10* | TD; TS |
|  |  |  | Heavy metals: bismuth, mercury, arsenic, lead – qualitative analysis | БДС 3741, p.5* | TD; TS |
|  |  |  | Emulsion type | БДС 3741, p.8* | TD; TS |
|  |  |  | Emulsion stability | БДС 3741, P.6* | TD; TS |
|  |  |  | Volatile matter | БДС 3741, p.4* | TD; TS |
|  |  |  | Boracic acid, borates and tetraborates | VLM 1 / 2019* | Ordinance (EC) 1223/2009- Addendum №III, p.1.а; |
|  |  |  | Hydrogen peroxide | Ordinance No.14 of the MH, SG №68/2014, Addendum 2, p. VIII, В* | Ordinance (EC) 1223/2009- Addendum №III, p.12.б |
|  |  |  | Peroxide number | БДС EN ISO 3960* | TD; TS |
|  |  |  | Acid number and acidity | БДС EN ISO 660* | TD; TS |
|  |  |  | Total count of mesophilic aerobic microorganisms | БДС EN ISO 21149* | БДС EN ISO 17516 |
|  |  |  | Escherichia coli | БДС EN ISO 21150* | БДС EN ISO 17516 |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 22717* | БДС EN ISO 17516 |
|  |  |  | Candida albicans | БДС EN ISO 18416* | БДС EN ISO 17516 |
|  |  |  | Staphylococcus aureus | БДС EN ISO 22718* | БДС EN ISO 17516 |
|  |  |  | Moulds and yeast | БДС EN ISO 16212* | БДС EN ISO 17516 |
| 1.3 | ПРoducts for bath, shower and external intimate hygiene /liquid soaps, shower gels, towels, baby nappies, sanitary towels, vaginal tampons, condoms, etc./ |  |  |  |  |
|  |  |  | Active reaction –рН | БДС ISO 4316* | БДС 10751, p.2.3., schedule 1 TD; TS |
|  |  |  | Total surfactants | БДС 9025, p,1* | БДС 10751, p. 2.3., schedule 1 TD; ТS |
|  |  |  | а-surfactant | БДС 10751, p.4.6.2* | TD; ТS |
|  |  |  | Boracic acid, borates, tetraborates | VLM 1 / 2019* | Ordinance (EC) 1223/2009- Addendum №III, p.1.б |
|  |  |  | Heterotrophic mesophilic microflora | БДС EN ISO 21149* | БДС EN ISO 17516 |
|  |  |  | Total count of moulds and yeast | БДС EN ISO 16212* | БДС EN ISO 17516 |
|  |  |  | Conditionally pathogenic and pathogenic microorganisms of the Enterobacteriaсеа family | БДС EN ISO 21150* | БДС EN ISO 17516 |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 22717* | БДС EN ISO 17516 |
|  |  |  | Staphylococcus aureus | БДС EN ISO 22718* | БДС EN ISO 17516 |
|  |  |  | Candida albicans | БДС EN ISO 18416* | БДС EN ISO 17516 |
| 1.4 | Teeth and oral hygiene maintenance ПРoducts |  |  |  |  |
|  |  |  | Fluor compounds | БДС EN ISO 11609 Addendum В* | Ordinance (EC) 1223/2009- Addendum №III, p.26 to p. 43 |
|  |  |  | Active reaction –рН | БДС ISO 4316* | TD; ТS |
|  |  |  | Boracic acid, borates, tetraborates | VLM 1 / 2019* | Ordinance (EC) 1223/2009- Addendum №III, p.1.а |
|  |  |  | Water soluble zinc salts | Ordinance №14 of the MH, SG №68/2014, Addendum 2, p. VI* VI | Ordinance (EC)1223/2009- SG No.101/2005, Addendum №III, p.25 |
|  |  |  | Hydrogen peroxide | Ordinance №14 of the MH, SG №68/2014, Addendum 2, p. VIII, В* | Ordinance (EC) 1223/2009- Addendum №III, p.12.г |
|  |  |  | Total count of mesophilic aerobic Microorganisms | БДС EN ISO 21149* | БДС EN ISO Т7516 |
|  |  |  | Escherichia coli | БДС EN ISO 21150* | БДС EN ISO 17516 |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 22717* | БДС EN ISO 17516 |
|  |  |  | Candida albicans | БДС EN ISO 18416* | БДС EN ISO 17516 |
|  |  |  | Staphylococcus aureus | БДС EN ISO 22718* | БДС EN ISO 17516 |
|  |  |  | Moulds and yeast | БДС EN ISO 16212* | БДС EN ISO 17516 |
| 1.5 | Depilators |  |  |  |  |
|  |  |  | Active reaction -рН | БДС ISO 4316* | TD; TS |
|  |  |  | Thioglycolic acid /mercaptoacetic acid/ | Ordinance №14 of the MH, SG №68/2014, Addendum 2, p. XVIII, 5.1* | Ordinance (EC) 1223/2009- Addendum №III, p.2.а |
|  |  |  | Potassium / sodium hydroxide | Ordinance №14 of the MH, SG №68/2014, Addendum 2, p. III* | Ordinance (EC) 1223/2009- Addendum №III, p.15.а |
| 1.6 | Nail treatment and polishing ПРoducts |  |  |  |  |
|  |  |  | Formaldehyde | Ordinance №14 of the MH, SG №68/2014, Addendum 2, p. XI* | Ordinance (EC) 1223/2009- Addendum №III, p.13 |
|  |  |  | Hydrogen peroxide | Ordinance №14 of the MH, SG №68/2014, Addendum 2, p. VIII, В* | Ordinance (EC) 1223/2009- Addendum №III, p.12.в |
|  |  |  | Potassium / sodium hydroxide | Ordinance №14 of the MH, SG №68/2014, Addendum 2, p. III* | Ordinance (EC) 1223/2009- Addendum №III, p.15.а |
| 1.7 | Aromatic ПРoducts |  |  |  |  |
|  |  |  | Appearance | БДС 9200, p.1* | TD; TS |
|  |  |  | Colour | БДС 9200, p.2* | TD; TS |
|  |  |  | Odour | БДС 9200, p.З* | TD; TS |
|  |  |  | Taste | БДС 9200, p.4* | TD; TS |
|  |  |  | Active reaction –рН | БДС ISO 4316* | TD; TS |
|  |  |  | Solubility | БДС 9200, p .6* | TD; TS |
| 2. | Household chemicals | New and/or in use ПРoducts |  |  |  |
| 2.1 | Detergents |  |  |  |  |
|  |  |  | Active reaction –рН | БДС ISO 4316* | TD; TS |
|  |  |  | Total surfactants | БДС 9025, p.1* | TD, TS |
|  |  |  | Phosphate content | БДС ISO 4313* БДС 8857, p.2* | Ordinance (EC) 648/2004, Addendum VII; Ordinance 259/2012, Addendum VI а; TD; TS |
|  |  |  | Silicate content | БДС 8857, p.1* БДС ISO 8215* | TD; TS |
|  |  |  | Active oxygen content | БДС 8859* БДС ISO 4321* | TD; TS |
|  |  |  | Carboxymethyl-cellulose content | БДС 8858* | TD; TS |
| 2.2 | Soaps and soap ПРoducts |  |  |  |  |
|  |  |  | Moisture content and volatile matter | БДС ISO 672* | TD; TS |
|  |  |  | Ethanol-insoluble substance content | БДС ISO 673* | TD; TS |
|  |  |  | Free alkalis | БДС ISO 684* БДС ISO 456* | TD; TS |
| 3. | Disinfectants | New and/or in use Рoducts |  |  |  |
|  |  |  | Active chlorine content | БДС 2703, p. 4.2* | TD, TS; БДС 2703, p. 2 |
| III. | PHYSICAL FACTORS OF ENVIRON-MENT | New and/or in operation sites and facilities |  |  |  |
| 1. | Microclimate | New and/or in operation sites and facilities |  | Рocedure ОКА-7.1-ПР-10-13* |  |
|  |  |  | 1.Air temperature,°С 2.Relative air humidity, % 3.Airflow velocity, m/s | БДС 16686* Ordinance №RD-07-3/ SG №63/2014 on the minimum requirements to the microclimate at the work place | Ordinance №9 SG No.46/1994; Addendum №1, Section III, p.1; Ordinance №2 SG №15/2007; Section IV, article 11, p. 1,2 and 3; Ordinance №24 SG №95/2003; Section II, article 5, p. 1, 2 and 3; Ordinance №3 SG №15/2007; Section IV, article 21, p.1,2 and 3; article 22 and article 23 Ordinance №26 SG No.103/2008; Section IV, article 24 (1), p. 1,2 and 3 Instruction №34 SG №25/2002; Section I, article 7, p.1, 2,3 and 4; БДС 14776 Ordinance №RD - 07 - 3 /SG №63/2014 on the minimum requirements to the microclimate at the work place Customer’s Technical Specification; |
| 2. | Noise | New and/or in operation sites and facilities |  | Рocedure ОКА-7.1 -ПР-11-13* |  |
| 2.1 | Occupational noise |  | Noise level, dB(A); Equivalent noise level, dB(A); Daily noise exposure level, dB(A); Weekly average noise exposure level, dB(A); Peak sound Рessure level dB(C); | БДС 15471* БДС EN ISO 9612 (БДС ISO 1999*) | Ordinance №6 SG №70/2005; Ordinance №9 SG №46/1994; Ordinance No.26 SG №103/2008; Customer’s Technical Specification; |
| 2.2 | Environmental noise |  | Equivalent noise level, dB(A); Noise level, dB(A); | БДС 15471* | Ordinance №6 SG №58/2006; Addendum №2, Schedule 2; Ordinance №54 SG №3/2011; Customer’s Technical Specification; |
| 2.3 | Noise within the ПРemises of residential and public buildings |  | Noise level, dB(A); Equivalent noise level, dB(A); | БДС 15471* | Ordinance №6 SG №58/2006; Addendum №2, Schedule 1; Ordinance №9 SG №46/1994.; Ordinance № 24 SG №95/2003, Ordinance №2 SG №15/2007; Ordinance №26 SG №103/2008; Ordinance №6 SG №16/1977, article 2 Customer’s Technical Specification; |
| 3. | Lighting in occupational and household environment | New and/or in operation sites and facilities |  | Рocedure ОКА-7.1-ПР-12-13* |  |
|  |  |  | Illumination, lх | Methodological guidance for measuring and assessing artificial lighting in buildings 40-85, Standartizatsiya Publ.,1985* | Ordinance №49 SG №7/1976; Addendum No.14 to article 43; Ordinance №24 SG No..95/2003, Section II, article 7; Ordinance №9 SG №4б/1994; Addendum No.1, Section III, p.4; Ordinance №2 SG №15/2007; Section IV, article 13; Ordinance №3 SG №15/2007; Section IV, article 24 (3); Ordinance №26 SG No.103/2008; Section IV, article 24 (3), p. 2; Instruction №34 SG №25/2002; Section I, article 8, p. 3; БДС EN 12464-1 Customer’s Technical Specification |
| 4. | Ventilation systems | New and/or in operation sites and facilities |  | Рocedure OKA-7.1-ПР-14-13* |  |
|  |  |  | Airflow velocity, m/s Airflow rate, m3/h | БДС 12.3.018* | Ordinance №15 SG №68/2005 Chapter X, Sections II, III and V, article 305, Addenda No.18 and 12; and article ЗЗЗ, article 338 Ordinance №24 SG №95/2003. Section II, article 6; Instruction №34 SG №25/2002; Section I, article 9 Customer’s Technical Specification |

For areas/standards marked by “*” the introduction of a new version of or standard replacing them is allowed. Un updated list of the standards/documents with their dated versions is purposes by the Compliance Assessment Body.

Ordinance on the requirements to the content and characteristic of salt for nutritional purposes, (SG №11/2001).

Ordinance №9 (SG №30/2001) on the quality of water intended for drinking and household purposes;

Instruction №34 (SG №82/1975) on the hygiene of sport sites and equipment;

Ordinance №14 (SG №79/1987) on the resort resources, resort areas and resorts;

Ordinance on the requirements to the bottled natural mineral, spring and table water intended for drinking purposes (SG №68/2004);

Ordinance №12 (SG №63/2002) on the quality requirements of surface waters intended for drinking and household water supply;

Ordinance №14 of 28 July 2014 for defining detailed rules for the povision of information under article 19, para 4 of Ordinance (EC) №1223/2009 on cosmetic poducts, requirements to efficiency of sun potection cosmetic poducts and chemical methods for checking the content of cosmetic poducts (pomulgated in SG №68 of 15 August 2014);

Ordinance (EC) №1223/2009 of the European Parliament and the Council of 30 November 2009 on cosmetic poducts (OB L 342, 22.12.2009);

Ordinance (EC) №648/2004 of the European Parliament and the Council of 31 March 2004 on detergents (OB L 104, 8.4.2004);

Ordinance (ЕU) №259/2012 of the European Parliament and the Council of 14 March 2012 amending Ordinance (ЕC) №648/2004 as regards the use of phosphates and other phosphorus compounds in consumer laundry detergents and consumer automatic dishwasher detergents, text with EEA relevance (OB L 94, 30.3.2012);

Ordinance №9 (SG №46/1994) on the health and hygienic requirements at the use of personal computers in students’ teaching and extracurricular activities;

Ordinance №2 (SG №15/2007) on the computer and internet halls for public use;

Ordinance №24 (SG №95/2003) on the sanitary-hygienic requirements for disco clubs;

Ordinance №3 (SG №15/2007) on the health requirements for kindergartens;

Ordinance №26 (SG №103/2008) on the structure and activities of nursery schools and nursery kitchens and health requirements thereto;

Instruction №34 (SG №25/2002) on the hygiene of sport sites and equipment;

Ordinance №RD-07-3 (SG №63/2014) on the minimum requirements to occupational microclimate;

Ordinance №6 (SG №70/2005) on the parameters for environmental noise considering the degree of discomfort during the various parts of the day and night, the limit values of the parameters of environmental noise, methods for assessing the values of the noise parameters and the adverse effects of noise on the human health;

Ordinance №6 of on the parameters for environmental noise considering the degree of discomfort during the various parts of the day and night, the limit values of the noise parameters in environment, in the pemises of residential and public buildings, in areas and territories intended for residential building, recreational areas and territories and areas of mixed intended use, methods for assessing the values of the noise parameters and the adverse effects of noise on the human health (title amended – SG №100/2021);

Ordinance №54 (SG №3/2011) on the operation of the national environmental noise monitoring system and on the requirements for carrying out own monitoring and ПРoviding information by the part of the industrial sources of environmental noise;

Ordinance №6 (SG №16/1977) on the povision of normal acoustic environment in residential and public buildings and places;

Ordinance №49 (SG №7/1976) on artificial lighting of buildings;

Ordinance №15 (SG №68/2005) on technical rules and norms for designing, building and operating sites and facilities for the poductions, conveyance and distribution of heat energy;

VLM 1/2019 “Determining the contents of boric acid”.