ORDER

No. A 701

Sofia, 19.12.2022

ELMARK KONTROL INSPECTION BODY – TYPE C

at ELMARK EOOD,  Dobrich

Management address:

9300, city of Dobrich, 4 Dimitar Spisarevski St., entrance A, apartment 6

Office address:

9300, city of Dobrich, 51 25 Septemvri Blvd.

To perform inspection of:

| Scope type: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. in order | Field of inspection | Inspection type | Inspected parameter/ characteristic | Methods of testing/ measurement used for inspection | Provisions, standards, specifications, inspection schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical installations and equipment of up to 1000V | initial and/or periodic inspection; new and/or in use/operation sites/facilities | Impedance of the “phase - protective conductor” circuit | ПК 7.1.1-1 | Ordinance No. 3 State Gazette, issue 90 and 91/2004; Ordinance No. 16-116 State Gazette, issue 26/2008); TS |
| 2. | Electrical installations and equipment of up to 1000 V | initial and/or periodic inspection; new and/or in use/operation sites/ facilities | Circuit breakers for zero sequence currenTehnikcal specification, protective earth resistance, actuating current | ПК 7.1.1-2 | Ordinance No. 3 State Gazette, issue 90 and 91/2004); Ordinance No. 16-116 State Gazette, issue 26/2008; TS |
| 3. | Electrical installations and equipment of up to 1000 V Cable lines | initial and/or periodic inspection; new and/or in use/operation sites/facilities | Insulation resistance | БДС 1986 item 3.3 а), b), е) and f); ПК 7.1.1-3 | Ordinance No. 3 State Gazette, issue 90 and 91/2004; Ordinance No. 16-116 State Gazette, issue 26/2008; Electrical machinery and equipment testing standards; TS |
| 4. | Electrical installations and equipment of up to and above 1000 V | initial and/or periodic inspection; new and/or in use/operation sites/ facilities | Resistance of an earthing switch of a protective earthing system | ПК 7.1.1-4 | Ordinance No. 3 State Gazette, issue 90 and 91/2004; Ordinance No. 16-116 State Gazette, issue 26/2008); Rules for safety and health when working on electrical equipment with voltage of up to 1000 V State Gazette, issue 21/2005; TS |
| 5. | Electrical installations and equipment of up to and above 1000 V | initial and/or periodic inspection; new and/or in use/operation sites/ facilities | Resistance of an earthing switch of a lightning protection earthing system | ПК 7.1.1-5 | Ordinance No. 4 State Gazette, issue 6/2011; Ordinance No. 3 State Gazette, issue 90 and 91/2004; Ordinance No. 16-116 State Gazette, issue 26/2008; TS |
| 6. | Electrical installations and equipment of above 1000 V Cable lines of up to 20kV | initial and/or periodic inspection; new and/or in use/operation sites/facilities | Electrical insulation strength with increased DC voltage of up to 60 kV | БДС 2406; ПК 7.1.1-6 | Ordinance No. 3 State Gazette, issue 90 and 91/2004; Ordinance No. 16-116 State Gazette, issue 26/2008; Electrical machinery and equipment testing standards; TS |
| 7. | Electrical protective equipment: |  |  |  |  |
| 7.1 | Insulating rods; measuring rods; insulating pliers; current measuring pliers; insulating rods for portable earthing switches | Periodic inspection; in operation producTehnikcal specification | Electrical strength of insulation with increased alternating voltage | Ordinance No. 22 State Gazette, issue 45/2006; ПК 7.1.1-7 | Ordinance No. 22 State Gazette, issue 45/2006; TS |
| 7.2 | Voltage detectors | Periodic inspection; in operation producTehnikcal specification | Electrical strength of insulation with increased alternating voltage; voltage indication threshold /voltage threshold/ | Ordinance No. 22 State Gazette, issue 45/2006; ПК 7.1.1-7 | Ordinance No. 22 State Gazette, issue 45/2006; TS |
| 7.3 | Dielectric gloves, booTehnikcal specification and overshoes | Periodic inspection; in operation producTehnikcal specification | Electrical strength of insulation with increased alternating voltage, leakage current | Ordinance No. 22 State Gazette, issue 45/2006); ПК 7.1.1-7 | Ordinance No. 22 State Gazette, issue 45/2006; TS |
| 7.4 | Dielectric maTehnikcal specification | Periodic inspection; in operation producTehnikcal specification | Electrical strength of insulation with increased alternating voltage, leakage current | БДС 9914; ПК cedure 7.1.1-7 | Ordinance No. 22 State Gazette, issue 45/2006); БДС 9914; TS |

* The introduction of a new version of standards/documents or standards/documents which replace them is allowed. An up-to-date list of the standards/documents with their dated versions is provided by the conformity assessment body.

Ordinance No. 16-116 on the technical operation of energy equipment (State Gazette, issue 26/2008);

Ordinance No. 3 on the design of electrical installations and power lines (State Gazette, issue 90 and issue 91/2004);

Ordinance No. 4 on lightning protection of buildings, outdoor facilities and open spaces (State Gazette, issue 6/2011);

Ordinance No. 22 on the testing of electrical protective equipment in operation (State Gazette, issue 45/2006);

Electrical machinery and equipment testing standards - 1995 - Electrical machinery and equipment testing standards;

TS - Technical specification