SCOPE 3 МЛ

of

Independent Medical Diagnostics Laboratory

Synevo Bulgaria EOOD

Clinical laboratory

Management address:

1000 Sofia, Sredets District, 34 Angel Kanchev Str, floor 1

Laboratory address:

1404 Sofia, 49 А Bulgaria Blvd.

To perform testing of:

| Type of the scope: fixed |
| --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| Field(s) of activity of the medical laboratory: Hematology |
| 1 | blood | Erythrocytes | SOP-5.5.3-02/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 2 | blood | Haematocrit | SOP-5.5.3-03/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 3 | blood | Haemoglobin | SOP-5.5.3-04/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 4 | blood | Leukocytes | SOP-5.5.3-05/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 5 | blood | Platelets | SOP-5.5.3-06/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 6 | blood | Basophilic granular leucocytes | SOP-5.5.3-07/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 7 | blood | Eosinophilic granular leukocytes | SOP-5.5.3-08/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 8 | blood | Neutrophil granular leukocytes | SOP-5.5.3-09/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 9 | blood | Monocytes | SOP-5.5.3-10/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| 10 | blood | Lymphocytes | SOP-5.5.3-11/21.12.2015 - Automated Hematology Analyzer, Closed System: - Sysmex XN 1000 Pure |
| Field(s) of activity of the medical laboratory: Biochemistry |
| 11 | serum | Alanine aminotransferase | SOP-5.5.3-12/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 12 | serum | Albumin | SOP-5.5.3-13/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 13 | serum | Alkaline phosphatase | SOP-5.5.3-14/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 14 | serum | Aspartate aminotransferase | SOP-5.5.3-15/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 15 | serum | Bilirubin total | SOP-5.5.3-16/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 16 | serum | Bilirubin direct | SOP-5.5.3-17/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 17 | serum | Calcium | SOP-5.5.3-18/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 18 | serum | Chlorides | SOP-5.5.3-19/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 19 | serum | Total cholesterol | SOP-5.5.3-20/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 20 | serum | Creatine kinase | SOP-5.5.3-21/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 21 | serum | Creatinine | SOP-5.5.3-22/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 22 | serum | Gamma Glutamyltranspeptidase | SOP-5.5.3-23/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 23 | serum | Glucose | SOP-5.5.3-24/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 24 | serum | Lactate dehydrogenase | SOP-5.5.3-25/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 25 | serum | Potassium | SOP-5.5.3-26/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 26 | plasma | Prothrombin time | SOP-5.5.3-27/21.12.2015 - Automated coagulometer-analyzer, Closed system: - Sysmex СА-600 |
| 27 | serum | Sodium | SOP-5.5.3-28/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 28 | serum | Triglycerides | SOP-5.5.3-29/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 29 | serum | Uric acid | SOP-5.5.3-30/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |
| 30 | serum | Urea BUN | SOP-5.5.3-31/21.12.2015 - Automated Hematology Analyzer, Closed System: - Cobas Pro (module с503) |

References:

| Code/Validation date | Name of procedure | Type of procedure |
| --- | --- | --- |
| SOP-5.5.3-02/21.12.2015 | Procedure for analysis of В - Erythrocytes RBC (Erythrocytes) | Operational Internal Documented Procedure, developed in in accordance with instructions of manufacturer and inserts to packaging of the kit |
| SOP-5.5.3-03/21.12.2015 | Procedure for analysis of В - Hematocrit HСТ (Hematocrit) |  |
| SOP-5.5.3-04/21.12.2015 | Procedure for analysis of В - Haemoglobin HG В (Hemoglobin)) |  |
| SOP-5.5.3-05/21.12.2015 | Procedure for analysis of В Leukocytes WBC (Leucocytes |  |
| SOP-5.5.3-06/21.12.2015 | Procedure for analysis of В - Platelets PLT (Platelets) |  |
| SOP-5.5.3-07/21.12.2015 | Procedure for analysis of В - Basophils BASO (Basophilic granular leukocytes) |  |
| SOP-5.5.3-08/21.12.2015 | Procedure for analysis of В - Eosinophils ЕО (Eosinophilic granular leucocytes) |  |
| SOP-5.5.3-09/21.12.2015 | Procedure for analysis of В - Neutrophils NEUT (Neutrophilic granular leucocytes |  |
| SOP-5.5.3-10/21.12.2015 | Procedure for analysis of В - Monocytes MONO (Monocytes) |  |
| SOP-5.5.3-11/21.12.2015 | Procedure for analysis of В - Lymphocytes LYMPH (Lymphocytes) |  |
| SOP-5.5.3-12/21.12.2015 | Procedure for analysis of S - Alanine Aminotransferase (ALT) Alanine aminotransferase |  |
| SOP-5.5.3-13/21.12.2015 | Procedure for analysis of S - Albumin (Albumin) |  |
| SOP-5.5.3-14/21.12.2015 | Procedure for analysis of 5 - Alkaline Phosphatase (ALP) Alkaline Phosphatase |  |
| SOP-5.5.3-15/21.12.2015 | Procedure for analysis of S - Aspartate Aminotransferase (AST) Aspartate Aminotransferase |  |
| SOP-5.5.3-16/21.12.2015 | Procedure for analysis of S - Bilirubin, total (Bilirubin, total) |  |
| SOP-5.5.3-17/21.12.2015 | Procedure for analysis of S - Bilirubin, direct (Bilirubin, direct) |  |
| SOP-5.5.3-18/21.12.2015 | Procedure for analysis of S - Calcium, total (Calcium) |  |
| SOP-5.5.3-19/21.12.2015 | Procedure for analysis of S - Chloride (Chlorides) |  |
| SOP-5.5.3-20/21.12.2015 | Procedure for analysis of S - Cholesterol, total (Cholesterol, total) |  |
| SOP-5.5.3-21/21.12.2015 | Procedure for analysis of S - Creatine Kinase; СК (Creatine Kinase) |  |
| SOP-5.5.3-22/21.12.2015 | Procedure for analysis of S - Creatinine (Creatinine) |  |
| SOP-5.5.3-23/21.12.2015 | Procedure for analysis of S - Gamma- glutamyltranspeptidase yGT (GGTP (Gamma- glutamyltranspeptidase |  |
| SOP-5.5.3-24/21.12.2015 | Procedure for analysis of S - Glucose (Glucose) |  |
| SOP-5.5.3-25/21.12.2015 | Procedure for analysis of S - Lactate Dehydrogenase LDH (Lactate Dehydrogenase) |  |
| SOP-5.5.3-26/21.12.2015 | Procedure for analysis of 5 - Potassium (Potassium) |  |
| SOP-5.5.3-27/21.12.2015 | Procedure for analysis of Р - Prothrombin Time РТ (Prothrombin Time) |  |
| SOP-5.5.3-28/21.12.2015 | Procedure for analysis of S - Sodium (Sodium) |  |
| SOP-5.5.3-29/21.12.2015 | Procedure for analysis of S - Triglycerides (Triglycerides) |  |
| SOP-5.5.3-30/21.12.2015 | Procedure for analysis of S - Uric Acid (Uric Acid) |  |
| SOP-5.5.3-31/21.12.2015 | Procedure for analysis of S - Urea/BUN (Urea/BUN) |  |