SCOPE 12 ЛИК

of Cargo Inspections Services Ltd. Testing and Calibration Laboratory

Management and laboratory address: 8000 Burgas, 5 Ferdinandova Str.

To perform testing of:

| Type of the scope: flexible* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Petroleum and liquid petroleum products | Density | БДС EN ISO 3675 ASTM D5002 |
| 2. | Petroleum | Sulphur | ASTM D4294 |
|  |  | Sediments | ASTM D473 |
|  |  | Water | ASTM D4928 |

To perform sampling of:

| Type of the scope: flexible* |  |  |
| --- | --- | --- |
| № | Products | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Petroleum and liquid petroleum products | БДС EN ISO 3170 |

Note: Testing is performed only on the premises of the laboratory.

*Flexible Scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

To perform calibration of:

| Type of the scope: Fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Type of measuring instrument | Measured quantuty, measurement unit | Measurement range | Measure ment uncertainty | Calibration method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | Horizontal and vertical tanks | Volume, m3, l | From 0.1 m3 to 1 m3 (from 100 l to 1000 l) | 0,20% | CIG-01-05: 2015 (strapping method) |
|  |  |  | From 1 m3 to 10 m3 (from 1000 l to 10000 l) | 0,20% |  |
|  |  |  | From 10 m3 to 100 m3 (from 10000 l to 100000 l) | 0,15%-0,10% |  |
|  |  |  | From 100 m3 to 1000 m3 (from 100000 l to 1000000 l) | 0,10%-0,08% |  |
|  |  |  | From 1000 m3 to 10000 m3 (from 1000000 l to 10000000 l) | 0,08%-0,05% |  |
|  |  |  | From 10000 m3 to 20000 m3 (from 10000000 l to 20000000 l) | 0,08%-0,05% |  |
|  |  |  | From 20000 m3 to 50000 m3 (from 20000000 l to 50000000 l) | 0,08%-0,05% |  |

Reference: CIG-01-05: 2015 Calibration methods (strapping method) for vertical and horizontal tanks intended for liquid and bulk products.

Note: Calibration is performed only at the customer’s premises.