SCOPE 26 ЛК

Kalibra Measuring Services LLC

Calibration Laboratory

Management address:

9000 Varna, Odessos Quarter, 41 Bratya Miladinovi Str, Floor 1,

Laboratory address:

9140 Varna, Topoli Quarter, 32 Akatsiya Str. Office 201

To perform calibrating of:

| Type of the scope: Fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Measuring Instrument | Measured value and, Measure ment Unit | Measurement Range | Measurement Uncertainty | Calibration Method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Vertical cylindrical tanks | Volume, m3 | From 1 m3 to 1 000 m3 | 0,10 % | MK 01/2022 (БДС ISO 7507-1:2016) |
|  |  |  | From 1 000 m3 to 50 000 m3 | 0,05 % |  |
| 2. | Vertical cylindrical tanks | Volume, m3 | From 1 m3 to 1 000 m3 | 0,10 % | MK 02/2022 (БДС ISO 7507-2:2022) |
|  |  |  | From 1 000 m3 to 50 000 m3 | 0,05 % |  |
| 3. | Vertical cylindrical tanks | Volume, m3 | From 1 m3 to 1 000 m3 | 0,15 % | MK 03/2022 (БДС ISO 7507-4:2016) |
|  |  |  | From 1 000 m3 to 5 000 m3 | 0,10 % |  |
|  |  |  | From 5 000 m3 to 50 000 m3 | 0,05 % |  |
| 4. | Horizontal cylindrical tanks. | Volume, m3 | From 1 m3 to 300 m3 | 0,20 % | MK 04/2022 (ISO 12917-1:2017) |

References:

- MK 01/2022 (БДС ISO 7507-1:2016) Methodology for calibration of vertical cylindrical tanks by strapping method. (БДС ISO 7507-1:2016)

- MK 02/2022 (БДС ISO 7507-2:2022) Methodology for calibration of vertical cylindrical tanks by the method of optical-reference-line, or electro-optical distance ranging method. (БДС ISO 7507-2:2022)

- MK 03/2022 (БДС ISO 7507-4:2016) Methodology for calibration of vertical cylindrical tanks by internal electro-optical distance ranging method. (БДС ISO 7507-4:2016)

- MK 04/2022 (ISO 12917-1:2017) Methodology for calibration of horizontal cylindrical tanks – manual method. (ISO 12917-1:2017)

Note: The calibration of the measuring instruments is carried out at the customer’s location’s, as specified Calibration method.