ORDER

№ А 424

Sofia, 02.10.2023

Inspection Body Type C

„ELSTAR CONSULT” LTD Varna

Registered office address:

9000, Varna, 62 „Br. Miladinovi" St., fl.3, apt.6

Office address:

9000, Varna, 12 „Knyaz. Batenberg" St, office 1

To perform   inspection, according to the following scope:

| Type of scope: fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical systems and facilities for voltage up to 1000 V | On new and / or operational sites and equipment | Impedance of the loop „phase-protected" wire | PK 01-01, Ed.04/2014 | Ordinance No 3, SG, issue 90, 91/ 2004; Ordinance No 16-116, SG, issue 26/2008; ТС. |
| 2. | Electrical systems and facilities for voltage up to 1000 V | On new and / or operational sites and equipment | Resistance of protective earthing system | PK 02-01, Ed.04/2014 | Ordinance No 3, SG, issue 90, 91/ 2004; Ordinance No 16-116, SG, issue 26/2008; ТС. |
| 3. | Electrical systems and facilities for voltage up to 1000 V | On new and / or operational sites and equipment | - Resistance on lightning protection earhing arrangements | PK 03-01, Ed.04/2014 | Ordinance No 4, SG, issue 6/2011; ТС. |
| 4. | Electrical systems and facilities for voltage up to 1000 V | On new and / or operational sites and equipment | Circit breakers -Resistance of protective earthing -Tripping current | PK 04-01, Ed.05/2018 | Ordinance No 3, SG, issue 90, 91/ 2004; Ordinance No 16-116, SG, issue 26/2008; ТС. |

Ordinance No 4 on the lightning protection of buildings, outdoor facilities and open spaces (SG, issue  6/2011);

Ordinance No 3 on the design of electrical installations and power lines, SG, issue 90 and 91/2004, amend. SG No. 42/2015);

Ordinance No 16-116 on the technical operation of electrical equipment (SG, issue 26/2008,  amend.  SG No. 42/2015 );

ТС – Technical specification.