ORDER

№ A 496

Sofia, 01.12.2023

“DIA KONSULT 8” LTD

INSPECTION BODY OF TYPE С

Registered office: 6343, Mineralni Bani village, Haskovo region, 16 Hristo Botev Blvd.

Office address: 6300, Haskovo, 17 Klokotnitsa St.

To perform inspection according to the following scope:

| Scope type: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of inspection | Type of inspection | Parameter of Inspection/ Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | Electrical systems and equipment of up to 1000V and above | Initial /periodic of new and/or in operation sites/ equipment | Resistance of protective earthing systems | RP7.1.1.1; Ordinance №RD-02-20-1, SG № 53/2018 | Ordinance № 3,SG № 90 and 91/2004; Ordinance № 16-116, SG № 26/2008; БДС 3820; TS |
| 2 | Electrical systems and equipment of up to 1000V and above | Initial /periodic of new and/or in operation sites/ equipment | Resistance of lightning protection earthing systems | RP7.1.1.2; Ordinance №RD-02-20-1, SG № 53/2018 | Ordinance № 3, SG № 90 and 91/2004; Ordinance № 4, SG № 6/2011; Ordinance № 16-116, SG № 26/2008; TS |
| 3 | Electrical systems and equipment of up to 1000V | Initial /periodic of new and/or in operation sites/ equipment | Insulation resistance | RP7.1.1.3; Ordinance №RD-02-20-1, SG № 53/2018; БДС 1986 p. 3.3. a,b,c,d | Ordinance № 3, SG № 90 and 91/2004; Ordinance № 16-116, SG № 26/2008; Ordinance № RD-02-20-1, SG № 53/2018; TS |
| 4 | Electrical systems and equipment of up to 1000V | Initial /periodic of new and/or in operation sites/ equipment | Loop impedance "Phase-" protective conductor | RP7.1.1.4; Ordinance №RD-02-20-1, SG № 53/2018; | Ordinance № 3, SG № 90 and 91/2004; Ordinance № 16-116, SG № 26/2008; TS |
| 5 | Electrical systems and equipment of up to 1000V - Safety switches | Initial /periodic of new and/or in operation sites/ equipment | Shutdown time; Trigger current; Touch voltage; Resistance of protective earth | RP7.1.1.5; Ordinance №RD-02-20-1, SG № 53/2018; | Ordinance № 3, SG № 90 and 91/2004; Ordinance № 16-116, SG № 26/2008; Ordinance № RD-02-20-1, SG № 53/2018; TS |
| 6 | Physical factors - Noise in the working environment | Initial /periodic of new and/or in operation sites | Daily noise exposure level; Peak sound pressure level; Average weekly noise exposure level; Noise level; Equivalent noise level | RP7.1.1.6; БДС EN ISO 9612; (БДС ISO 1999); БДС 15471 | Ordinance № 6, SG № 70/2005; Ordinance № 7, SG № 88/1999; Ordinance № 9, SG № 46/1994; TS |
| 7 | Physical factors - Noise in the premises of residential and public buildings | Initial /periodic of new and/or in operation sites | Noise level; Equivalent noise level | RP7.1.1.7; БДС 15471 | Ordinance № 6 (Appendix № 2, Table 1), SG № 58/2006; Ordinance № 2, SG № 15/2007; Ordinance № 9, SG № 46/1994; Ordinance № 24, SG № 95/2003; Ordinance № 26, SG № 103/2008; Ordinance № RD-02-20-3, SG № 5/2016; TS |
| 8 | Physical factors - Artificial lighting in working environments, premises of residential and public buildings | Initial /periodic of new and/or in operation sites | Illumination/ Lighting | RP 7.-1.1.8; MGMEAL 40-85, ed."Standardization", 1985 | Ordinance № 49, SG № 7/1976; Ordinance № 2, SG № 15/2007; Ordinance № 3, SG № 15/2007; Ordinance № 9, SG № 46/1994; Ordinance № 24, SG № 95/2003; Ordinance № 26, SG № 103/2008; Ordinance № RD-02-20-3, SG № 5/2016; БДС EN 12464-1; БДС EN 12464-2; TS |
| 9 | Physical factors - Microclimate in the working environment, premises of residential and public buildings | Initial /periodic of new and/or in operation sites/ equipment | Air temperature; Relative air humidity; Air movement speed | RP 7.-1.1.9; БДС 16686; Ordinance №RD-07-3, SG № 63/2014 | Ordinance № RD-07-3, SG № 63/2014; Ordinance №RD-02-20-3, SG № 5/2016; Ordinance № 2, SG № 15/2007; Ordinance № 3, SG № 15/2007; Ordinance № 7, SG № 88/1999; Ordinance № 9, SG № 46/1994; Ordinance № 24, SG № 95/2003; Ordinance № 26, SG № 103/2008; БДС 14776; TS |
| 10 | Physical factors – Air conditioning installations | Initial /periodic of new and/or in operation sites/ equipment | Air temperature; Relative air humidity | RP 7.1.1.10; БДС 16686; Ordinance №RD-07-3, SG № 63/2014 | Ordinance № 15, SG № 68/2005; Ordinance № RD-07-3, SG № 63/2014; Ordinance № RD-02-20-3, SG № 5/2016; БДС 14776; TS |
| 11 | Physical factors – Ventilation installations | Initial /periodic of new and/or in operation sites/ equipment | Air flow velocity; Air flow rate | RP 7.1.1.11; БДС 12.3.018 | Ordinance № 15, SG № 68/2005; Ordinance № 24, SG № 95/2003; Ordinance № RD-02-20-3, SG № 5/2016; TS |
| 12 | Chemical factors - Chemical agents in the workplace | Initial and/or periodic on new and/or in use/operation sites | Concentration of chemical agents in the air by linear colorimetric method | RP 7.1.1.12; БДС EN 482; БДС EN 689 +AC | Ordinance № 13, SG № 8/2004; Ordinance № 10, SG № 94/2003; TS |
| 13 | Chemical factors - Dust in the workplace | Initial and/or periodic on new and/or in use/operation sites | Concentration of dust in air: Inhalable fraction; Respirable fraction | RP 7.1.1.13; БДС EN 482; БДС EN 689 +AC БДС 2200 | Ordinance № 13, SG № 8/2004; Ordinance № 10, SG № 94/2003; TS |

* The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the Conformity assessment bodies.

Ordinance № 3 on the design of electrical systems and power lines (SG № 90 and 91/2004);

Ordinance № 16-116 on the technical operation of electrical equipment (SG № 26/2008);

Ordinance № 4 on the lightning protection of buildings, outdoor facilities and open spaces (SG № 6/2011);

Ordinance № RD-02-20-1 of 2018 on technical rules and regulations for control and acceptance of electrical installation works (SG № 53/2018);

Ordinance № 6 on the minimum requirements for provision of health and safety of workers against risks involving noise exposure (SG № 70/2005);

Ordinance № 7 of 1999 on the minimum requirements for health and safety at Work and upon use of working equipment (SG № 88/1999);

Ordinance № 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG № 46/1994);

Ordinance № 6 of 2006 on the environmental noise indicators, taking into account the degree of discomfort during the different parts of the day, the limit values of the environmental noise indicators, in the premises of residential and public buildings, in zones and territories intended for residential construction, recreational areas and territories and mixed-use areas, the assessment methods of the noise indicator`s values and the harmful effects of noise on public health (amend. title – SG № 100 of 2021) (SG № 58/2006);

Ordinance № 2 of 2007 on the health requirements for computer and Internet rooms for public use (SG № 15/2007);

Ordinance № 24 - on sanitary and hygienic requirements for discotheques (SG № 95/2003);

Ordinance № 26 of 2008 on the structure and activity of nurseries and children’s kitchens and the health requirements towards them (SG № 103 / 2008);

Ordinance № RD-02-20-3 of 2015 on the design, implementation and maintenance of public service buildings in the field of education and science, health care, culture and the arts (SG № 5 / 2016);

Ordinance № 49 - on the artificial lighting of buildings (SG № 7/1976);

Ordinance № 3 of 2007 on health requirements for kindergartens (SG № 15/2007);

Ordinance № RD-07-3 - on the minimum requirements regarding the microclimate of workplaces (SG № 63/2014);

Ordinance № 15 - on the technical rules and standard specifications for design, construction and operation of the facilities and installations for the production, transmission and distribution of thermal energy (SG № 68/2005);

Ordinance № 13 of 2003 on the protection of workers from risks related to exposure to chemical agents at work (SG № 8 / 2004);

Ordinance № 10 of 2003 on the protection of workers from risks involving exposure to carcinogens and mutagens at work (SG № 94 / 2003);

MGMEAL 40-85. Methodological guidelines for measuring and evaluating artificial lighting in buildings 40-85, ed. Standardization, 85;

TS - Technical specification of the client.