ORDER

№ А 158

Sofia, 11.04.2023

INSPECTION BODY OF TYPE С „AERO CONTROL“

„AERO CONTROL“ ЕOOD, PLOVDIV

Management address: 4168 Chernozemen village, 15th St. No. 8, Kaloyanovo municipality

Office address: 4303 Plovdiv, „Vasil Levski" St. No. 272, p.k. 16

To perform inspections of the following scope:

| Type of scope: fixed |
| --- |
| No | Field of Inspection | Type of Inspection | Parameter of Inspection/Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure | Ordinance s, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Aerodynamic parameters of heating ventilation and air-conditioning systems | New and/or existing sites and equipment | Air flow velocity | БДС EN 12599:2012 БДС 12.3.018:1982 Methods for exercising ongoing control of HVAC/ Ministry of Labor and Social Policy, 1993, РПК 01.00, version 5/01.10.2021 | Ordinance No 15 (State Gazette, issue 68/2005, rev. 6/2016) Technical Specifications |
|  |  |  | Air temperature | БДС EN 12599:2012, РПК 01.00, version 5/01.10.2021 | Ordinance No 15 (State Gazette, issue 68/2005, rev. 6/2016) Technical Specifications |
|  |  |  | Air flow rate measured by air flow velocity | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 01.00, version 5/01.10.2021 | Ordinance No 24 (State Gazette, issue 95/2003) Technical Specifications |
|  |  |  | Air flow rate measured by differential pressure | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 01.00, version 5/01.10.2021 | Ordinance No 15 (State Gazette, issue 68/2005, rev. 6/2016) Ordinance No 24 (State Gazette, issue 95/2003) Technical Specifications |
|  |  |  | Directly measured air flow rate | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 01.00, version 5/01.10.2021 | Technical Specifications |
| 2. | Heat engineering parameters of heating ventilation and air-conditioning systems | New and/or existing sites and equipment | Heat capacity measured by air flow temperature and/or heat medium, differential pressure and air flow velocity | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 Instructions for the conduction of technical tests on HVAC systems in industrial enterprises/ NIOTE, 1985 РПК 02.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Cold capacity measured by air flow temperature and/or cold medium, differential pressure and air flow velocity | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 Instructions for the conduction of technical tests on HVAC systems in industrial enterprises/ NIOTE, 1985 РПК 02.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Specific air humidity | Instructions for the conduction of technical tests on HVAC systems in industrial enterprises/ NIOTE, 1985 РПК 02.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Full pressure in filters; pressure drop in filters; heat content in air and moisture content in air | БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 02.00, version 5/01.10.2021 | Technical Specifications |
| 3. | Fans | New and/or existing sites and equipment | Revolutions of the rotating parts | РПК 03.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Air flow rate of the fan | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 03.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Head pressure of the air coming from the fan | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 03.00, version 5/01.10.2021 | Technical Specifications |
| 4. | Air ducting systems and new brick wall ventilation and air-conditioning channels | New and/or existing sites and equipment | Static pressure in air ducting ventilation and air-conditioning channels | БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 04.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Specific air passage through air ducting ventilation and air-conditioning channels measured by control of differential pressure, air flow temperature and barometric air pressure | БДС EN 12599:2012 Practical manual for testing the air passage in air ducting systems. DW/143/ Association of HV contractors in the UK, 2000 РПК 04.00 | БДС EN 1507:2007 БДС EN 12599:2012 Technical Specifications |
| 5. | Housings of air-conditioning chambers | New and/or existing sites and equipment | Static air pressure in the housing of air-conditioning chambers | БДС EN 1886:2008 БДС EN ISO 16890-1:2017 РПК 05.00, version 5/01.10.2021 | БДС EN 1886:2008 Technical Specifications |
|  |  |  | Specific air passage through the housing of air-conditioning chambers measured by control of differential pressure, air flow temperature and barometric air pressure | БДС EN 12599:2012 БДС EN 1886:2008 РПК 05.00, version 5/01.10.2021 | БДС EN 1886:2008 Technical Specifications |
| 6.1 | Staircases and elevator cabins | New and/or existing sites and equipment | Static air pressure in staircases and/or elevator cabins | БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 06.01, version 5/01.10.2021 | Ordinance No Iз-1971, Art.73, par.1 (State Gazette, issue 96/2009, rev.63/ 2018) |
| 6.2 | Smoke ventilation systems for staircases, vestibules, elevator shafts and hallways | New and/or existing sites and equipment | Differential pressure | БДС 12.3.018:1982 БДС 12.4.021:1978 БДС EN 12599:2012 РПК 06.02, version 5/01.10.2021 | БДС EN 12101-6:2022 Technical Specifications |
|  |  |  | Network differential pressure | БДС 12.3.018:1982 БДС 12.4.021:1978 БДС EN 12599:2012 РПК 06.02, version 5/01.10.2021 | БДС EN 12101-6:2022 Technical Specifications |
|  |  |  | Air velocity through doors | БДС 12.3.018:1982 БДС 12.4.021:1978 БДС EN 12599:2012 РПК 06.02, version 5/01.10.2021 | БДС EN 12101-6:2022 Technical Specifications |
|  |  |  | Door opening strength | БДС EN 12101-6:2022 РПК 06.02, version 5/01.10.2021 | БДС EN 12101-6:2022 Technical Specifications |
| 7. | Dust collectors and pneumatic conveyors | New and/or existing sites and equipment | Revolutions of the rotating parts | РПК 07.0, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Air flow velocity | БДС 12.3.018:1982 Methods for exercising ongoing control of HVAC/ MTSG, 1993, РПК 07.00, version 5/01.10.2021 | Ordinance No 15 (State Gazette, issue 68/2005, rev. 6/2016) Technical Specifications |
|  |  |  | Air flow rate measured by differential pressure | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 БДС РПК 07.00, version 5/01.10.2021 | Ordinance No 15 (State Gazette, issue 68/2005, rev. 6/2016) Technical Specifications |
|  |  |  | Air flow rate of the fan | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 07.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Head pressure of the air coming from the fan | БДС EN 12599:2012 БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 07.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Pressure drop in cyclone and/or sleeve filter | БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 07.00, version 5/01.10.2021 | Technical Specifications |
|  |  |  | Local resistance coefficient presented as a ratio between the full pressures and the dynamic pressure at the inlet | БДС 12.3.018:1982 БДС 12.4.021:1978 РПК 07.00, version 5/01.10.2021 | Technical Specifications |
| 8. | Microclimate of work environment | New and/or existing sites and equipment | Air temperature; Specific air humidity Air flow velocity | Ordinance No RD-07-3 (State Gazette, issue 63/2014) РПК 08.00, version 5/01.10.2021 | Ordinance No RD-07-3 (State Gazette, issue 63/2014) Ordinance No 24 (State Gazette, issue 95/2003, rev. 100/ 2003) Technical Specifications |
| 9. | Artificial lighting | New and/or existing sites and equipment | Illumination | Methodical instructions for measurement and evaluation of artificial lighting inside buildings, 40-85, Standardization Publisher, 1985; РПК 09.00, version 1/15.08.2022 | Ordinance No 49 (State Gazette, issue 7/1976,rev.64/1976) Ordinance No 24 (State Gazette, issue 95/2003, rev. 100/ 2003) Ordinance No 2 (State Gazette, issue 15/2007) Ordinance No 9 (State Gazette, issue 46/1994) Ordinance No 3 (State Gazette, issue 15/2007, rev.85/2012) Ordinance No 26 (State Gazette, issue 103/2008, rev. 36/ 2011) БДС EN 12464-1:2021 Technical Specifications |
| 10.1 | Noise in work environment | New and/or existing sites and equipment | Daytime noise level exposure; Average weekly noise level exposure; Peak noise level pressure; Noise level, Noise level equivalent | БДС EN ISO 9612:2009 (БДС ISO 1999:2014) БДС 15471:1982 РПК 10.00, version 1/10.01.2022 | Ordinance No 6 (State Gazette, issue 70/2005) Ordinance No 7, Art.138 (State Gazette, issue 88/ 1999, rev.95/2016) Ordinance No 24 (State Gazette, issue 95/2003, rev. 100/ 2003) Ordinance No 9 (State Gazette, issue 46/1994) Technical Specifications |
| 10.2 | Noise inside residential and public buildings | New and/or existing sites and equipment | Noise level, Noise level equivalent | БДС 15471:1982 РПК 10.00, version 5/10.01.2022 | Ordinance No 6 Annex No 2 Table No 1 (State Gazette, issue 58/ 2006, rev.26/2019) Ordinance No 7, Art.138 (State Gazette, issue 88/ 1999, rev.95/2016) Ordinance No 24 (State Gazette, issue 95/2003, rev. 100/ 2003) Ordinance No 9 (State Gazette, issue 46/1994) Ordinance No 6 (State Gazette, issue 16/1977) Technical Specifications |
| 11.1 | Chemical agents – airborne dust in work environment | New and/or existing sites and equipment | Concentration of airborne dust in work environment: - inhalation fraction - respiratory fraction | БДС EN 689:2018 +AC: 2019 БДС EN 482:2021 БДС 2200:1985 РПК 11.01, version 1/01.10.2021 | Ordinance No 13 (State Gazette, issue 8/2004, rev. 5/2020) Technical Specifications |
| 11.2 | Chemical agents – airborne gas and vapors in work environment | New and/or existing sites and equipment | Concentration of airborne gas and vapors in work environment by the express linear-colorimetric test method –tubes indicators | БДС EN 689:2018 +AC: 2019 БДС EN 482: 2021 РПК 11.02, version 1/01.10.2021 | Ordinance No 13 (State Gazette, issue 8/2004, rev. 5/ 2020) Technical Specifications |
| 12. | Electrical installations inside buildings | New and/or existing sites and equipment | Conductor continuity; Electrical wiring insulation resistance; protection by SELV, PELV or circuit separation; resistance/impedance of floor and walls; Automatic switch off of power supply; additional protection; polarity test; phase sequence test; functional and operational test; voltage drop | БДС HD 60364-6: 2016/АС:2017-11:2018 РПК 12.00, version 1/01.10.2021 | Ordinance No 16-116 (State Gazette, issue 26/2008, rev. 42/2015) Ordinance No 3 (State Gazette, issue 90 and 91/2004, rev. 42/2015) БДС HD 60364-6: 2016/AC:2017-11:2018 БДС HD 60364-5-52:2011/А11:2018 Technical Specifications |
| 13. | Electrical installations and equipment up to and more than 1000 V | New and/or existing sites and equipment | Resistance of protecting and grounding installations | РПК 13.00, version 1/01.10.2021 | Ordinance No 16-116 (State Gazette, issue 26/2008, rev. 42/2015) Ordinance No 3 (State Gazette, issue 90 and 91/2004, rev. 42/2015) Technical Specifications |
| 14. | Electrical installations and equipment up to and more than 1000 V | New and/or existing sites and equipment | Resistance of lightning and grounding installations | РПК 14.00, version 1/01.10.2021 | Ordinance No 16-116 (State Gazette, issue 26/2008, rev. 42/2015) Ordinance No 4 (State Gazette, issue 6/2011) Ordinance No 3 (State Gazette, issue 90 and 91/2004, rev. 42/2015) Technical Specifications |
| 15. | Electrical installations and equipment up to 1000 V | New and/or existing sites and equipment | Zs impedance of the phase-protecting conductor loop | РПК 15.00, version 1/01.10.2021 | Ordinance No 3 (State Gazette, issue 90 and 91/2004, rev. 42/2015) Ordinance No 16-116 (State Gazette, issue 26/2008, rev. 42/2015) Technical Specifications |
| 16. | Electrical installations and equipment up to 1000 V | New and/or existing sites and equipment | Protecting circuit breakers: - triggering current - resistance of the protective earth conductor | РПК 16.00, version 1/01.10.2021 | Ordinance No 3 (State Gazette, issue 90 and 91/2004, rev. 42/2015) Ordinance No 16-116 (State Gazette, issue 26/2008, rev. 42/2015) Technical Specifications |
| 17. | Electrical installations and equipment up to 1000 V | New and/or existing sites and equipment | Insulation resistance | БДС 1986:1982, point 3.3 a), b), d), е) НИЕМС-1995 РПК 17.00, version 1/01.10.2021 | Ordinance No 3 (State Gazette, issue 90 and 91/2004, rev. 42/2015) Ordinance No 16-116 (State Gazette, issue 26/2008, rev. 42/2015) Technical Specifications |

Ordinance  No 16-116 on the technical operation of electrical equipment (State Gazette, issue 26/2008, rev.42/2015)

Ordinance  No 3 on the structure of electrical installations and electrical conductor lines (State Gazette, issue 90 and 91/2004, rev.42/2015)

Ordinance  No 4 on the lightning protection of buildings, external installation and outdoor areas (State Gazette, issue 6/2011)

Ordinance  No 7 on the minimum requirements for health and safety at the work place and the safe handling of work equipment (State Gazette, issue 88/ 1999, rev.95/2016)

Ordinance  No 6 on ensuring normal acoustic setting in residential and public buildings and areas (State Gazette, issue 16/1977)

Ordinance  No Iз-1971 on the construction and technical norms and rules for fire safety (State Gazette, issue 96/2009, rev.63/2018)

Methods for exercising ongoing control of HVAC/ Ministry of Labor and Social Policy, 1993

НИЕМС-1995 Norms for testing electrical machinery and equipment – 1995 – Energy Power Committee

Ordinance  No 13 on the protection of staff from the risks of exposure to chemical agents at the work place (State Gazette, issue 8/2004, rev. 5/2020)

Ordinance  No 2 on the health requirements with regard to computers and internet clubs for public use (State Gazette, issue 15/2007)

Ordinance  No 3 on the health requirements for daycare centers and kindergartens (State Gazette, issue 15/2007, rev.85/2012)

Ordinance  No 6 on the minimum requirements for ensuring the health and safety of staff risking exposure to noise (State Gazette, issue 70/2005)

Ordinance  No 6 on the indicators for environmental noise measuring the extent of discomfort in the course of twenty-four hour period, the limit values of environmental noise indicators, the methods for evaluation of noise indicators and of measuring the harmful effects on the health of population (State Gazette, issue 58/2006, rev.26/2019)

Ordinance  No 9 on the health and hygiene requirements for using personal computers for educational purposes and for extracurricular activities (State Gazette, issue 46/1994)

Ordinance  No 24 on the health and hygiene requirements for nightclubs (State Gazette, issue 95/2003, rev.100/2003)

Ordinance  No 49 on the artificial lighting inside buildings (State Gazette, issue 7/1976,

rev.64/1976)

Ordinance  No RD-07-3 on the minimum requirements for microclimate in work environment (State Gazette, issue 63/2014)

Methodical instructions for measurement and evaluation of artificial lighting inside buildings, 40-85, Methods, volume IV, Standardization Publisher, 1985;

Ordinance  No 15 on the engineering standards and rules for designing, building and operating sites and equipment intended for the production, transmission and distribution of heat energy (State Gazette, issue 68/2005, rev.6/2016)

Ordinance  No 26 on the structure and operation of nurseries and bay catering and the relevant health requirements (State Gazette, issue 103/2008, rev.36/2011)

Technical specifications.