SCOPE 52 ВИ

Sofia, 19.01.2024

of Patna I Stroitelna Laboratoriya EOOD

Patna I Stroitelna Laboratoriya

Management address: 4000 Plovdiv, 76, Dunav Blvd.

Laboratory addresses:

4230 Asenovgrad, Severna Industrialna Zona, Asphalt plant of Patishta

To perform testing of:

| Type of scope: Flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | 1.1 Rock materials (Aggregates) 1.2 Additive materials (Aggregates) | 1.1. Particle size distribution | БДС EN 933-1 (1.1; 1.2) |
|  |  | 1.2. Shape index | БДС EN 933-4 (1.1; 1.2) |
|  |  | 1.3. Overall flakiness index | БДС EN 933-3 (1.1; 1.2) |
|  |  | 1.4. Loose bulk density | БДС EN 1097-3 (1.1; 1.2) |
|  |  | 1.5. Magnesium sulfate value | БДС EN 1367-2 (1.1; 1.2) |
|  |  | 1.6. Water content | БДС EN 1097-5 (1.1; 1.2) |
|  |  | 1.7. Particle density: - apparent particle density, (pа); - oven-dried particle density,(prd); - saturated and surface-dried particle density, (pssd); | БДС EN 1097-6, cl. 7, cl. 8, cl. 9 (1.1; 1.2) |
|  |  | 1.8. Water absorption | БДС EN 1097-6, cl. 7, cl. 8, cl. 9 (1.1; 1.2) |
|  |  | 1.9. Percentage of fines | БДС EN 933-1 (1.1; 1.2) |
|  |  | 1.10. Sand equivalent | БДС EN 933-8 +A1 (1.1; 1.2) |
|  |  | 1.11. - Percentage of broken particles; - Percentage of totally broken particles; - Percentage of totally rounded particles; | БДС EN 933-5 (1.1; 1.2) |
|  |  | 1.12 Maximum dry density. Optimum water content. | БДС EN 13286-2 (1.1) |
|  |  | 1.13 California bearing ratio | БДС EN 13286-47 (1.1) |
| 2. | Bituminous mixtures | 2.1. Particle size distribution | БДС EN 12697-2+A1 |
|  |  | 2.2. Soluble binder content | БДС EN 12697-1 |
|  |  | 2.3. Maximum density | БДС EN 12697-5 |
|  |  | 2.4. Bulk density | БДС EN 12697-6 |
|  |  | 2.5. Air voids content | БДС EN 12697-8, cl. 4 |
|  |  | 2.6. Stability | БДС EN 12697-34 |
|  |  | 2.7. Flow | БДС EN 12697-34 |
|  |  | 2.8 Compression strength ratio (Water sensibility) | БДС EN 12697-12, cl. 5 |
|  |  | 2.9 Compaction degree | БДС EN 12697-9* |
|  |  | 2.10 Thickness of a bituminous layer | БДС EN 12697-36, cl. 6.1 |
|  |  | 2.11 Binder drainage | БДС EN 12697-18, cl. 5 |
| 3. | Construction soils | 3.1. Particle size distribution | БДС EN 933-1 |
|  |  | 3.2. Liquid limit | Ordinance № РД-02-20-2, Annex №15 |
|  |  | 3.3. Plastic limit. Plasticity index. | Ordinance № РД-02-20-2, Annex №16 |
|  |  | 3.4. Maximum bulk density of the skeleton. Optimum water content | БДС 17146 |
|  |  | 3.5. Water content | БДС 644** |
|  |  | 3.6. Elastic and deformation module by round plate load test: - Elastic module, Eavg; - Deformation modules E1, E2; - Deformation modules ratio E2/E1; | БДС 15130 |
|  |  | 3.7. Bulk density of the skeleton by the sand-replacement method | Methodology for determining the bulk density of construction soils in-place by the sand-replacement method of CHA at MRDPW:1999 |
| 4. | Hardened concrete | 4.1. Density | БДС EN 12390-7 |
|  |  | 4.2. Compressive strength | БДС EN 12390-3 |
| 5. | Fresh concrete | 5.1. Slump | БДС EN 12350-2 |
| 6. | Bitumen and bituminous binders | 6.1. Penetration | БДС EN 1426 |
|  |  | 6.2. Softening point | БДС EN 1427 |
|  |  | 6.3. Elastic recovery | БДС EN 13398 |

To perform sampling of:

| Type of scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Rock materials (Aggregates) Additive materials (Aggregates) | БДС EN 932-1, cl. 8.3 and cl. 8.8 |
| 2. | Bituminous mixtures | БДС EN 12697-27, cl. 4.1, cl. 4.3, cl. 4.7 |
| 3. | Fresh concrete | БДС EN 12350-1 |
| 4. | Construction soils | БДС EN 13286-1; БДС EN 932-1, cl. 8.8 |

Flexible scope:

Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.

*Repealed but not replaced standard with regard to the testing method.

References:

Annex № 15 Method for determination of liquid limit of soils to Art. 160, item 3 of Ordinance № РД-02-20-2/28.08.2018 for road design of the Ministry of Regional Development and Public Works (MRDPW), published in SG № 79/2018, amendment in SG № 90/2018, effective as of 26.10.2018;

Annex № 16 Method for determination of plastic limit and plasticity index of soils to Art. 160, item 3 of Ordinance № РД-02-20-2/28.08.2018 for road design of the Ministry of Regional Development and Public Works (MRDPW), published in SG № 79/2018, amendment in SG № 90/2018, effective as of 26.10.2018;

Methodology for determining the bulk density of construction soils in-place by the sand-replacement method (issue of MRDPW- Central Highways' Administration dated 1999);