SCOPE 2 ЛИ

Sofia, 23.02.2024

TRAKIYA BILD LTD.

CONSTRUCTION LABORATORY

Management and laboratory address: 4003 Plovdiv, 174 Vasil Levski Str.

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1 | Aggregates | 1.1. Particle size distribution | БДС EN 933-1 |
|  |  | 1.2. Percentage of fines passing the 0,063 mm sieve / Fines content/ | БДС EN 933-1 |
|  |  | 1.3. Flakiness index | БДС EN 933-3 |
|  |  | 1.4. Shape index | БДС EN 933-4 |
|  |  | 1.5. Water content | БДС EN 1097-5 |
|  |  | 1.6. Sand equivalent | БДС EN 933-8 +A1 |
|  |  | 1.7. Resistance to fragmentation - Los Angeles coefficient | БДС EN 1097-2, cl. 5 |
|  |  | 1.8. Elastic and deformation moduli E2/E1 | БДС EN 15130 |
| 2 | Hardened concrete | 2.1. Compressive strength | БДС EN 12390-3 |
|  |  | 2.2. Density | БДС EN 12390-7 |
| 3 | Construction soils | 3.1. Particle size distribution | БДС ЕN 933-1 |
|  |  | 3.2. Water content | БДС EN ISO 17892-1 |
|  |  | 3.3. Liquid limit | MRDPW, Ordinance № РД-02-20-2, Annex №15 |
|  |  | 3.4. Plastic limit. Plasticity index. | MRDPW, Ordinance № РД-02-20-2, Annex №16 |
|  |  | 3.5. Maximum bulk density of skeleton of soils and optimum water content of soils, Proctor method | БДС 17146 БДС EN 13286-2, cl. 7.1, cl. 7.2, cl. 7.4 |
|  |  | 3.6. California bearing ratio /CBR/ | БДС EN 13286-47 |
|  |  | 3.7. Elastic modulus and ratio of deformation moduli E2/E1 | БДС 15130 |

Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

References:

1) Ministry of Regional Development and Public Works (MRDPW) Ordinance № РД-02-20-2/ 28.08.2018 for road design, Annex № 15, published in SG № 79/25.09.2018. Method for determination of liquid limit of soils;

2) Ministry of Regional Development and Public Works (MRDPW) Ordinance № РД-02-20-2/ 28.08.2018 for road design, Annex № 16, published in SG № 79/25.09.2018. Method for determination of plastic limit and plasticity index of soils;