
ORDER
№ А 47
Sofia, 26.01.2024
Type C Inspection Body

at PND CONTROL OOD, city of Plovdiv

Registered address: 4002 Plovdiv, Smirnenski residential district, 54 Yordan Gavazov Str.

Office address: 4002 Plovdiv, 25 Silistra Str.

To perform inspections within the following scope:
	Scope type: Flexible*

	№ in              order
	Scope of ​inspection
	Type of inspection
	Inspected parameter/

characteristic
	Methods of testing/measuring used in the inspection
	Laws and regulations, standards,
specifications, schemes

	1
	2
	3
	4
	5
	6

	1.
	Electrical installations and equipment up to and above 1000 V


	Inspection of new facilities/equipment and/or facilities/ equipment already in use/operation

  
	Resistance of

earthing protection systems
	РПК 7.1-01
	Ordinance No. 3

(State Gazette (“SG”) No. 90 and 91/2004) Ordinance No. 16-116 (SG No. 26/2008)

ТС

	
	
	
	Resistance of lightning protection

earthing systems
	РПК 7.1-02
	Ordinance No. 4

(SG No. 6/2011)

ТС

	2.
	Electrical installations and equipment up to 1000 V


	Inspection of new facilities/equipment and/or facilities/ equipment already in use/operation  


	Insulation resistance
	БДС 1986, item 3.3 a), b), e), f)

РПК 7.1-03
	Ordinance No. 3 

(SG No. 90 and 91/2004)

Ordinance No. 16-116 (SG No. 26/2008) 

ТС 

	
	
	
	Impedance of “Phase - protective conductor” circuit
	РПК 7.1-04
	Ordinance No. 3 

(SG No. 90 and 91/2004)

Ordinance No. 16-116 (SG No. 26/2008) 
ТС 

	
	
	
	Zero sequence current circuit-breakers:

- breaking time

- contact voltage

- actuation current;


	РПК 7.1-05
	Ordinance No. 3 

(SG No. 90 and 91/2004)

Ordinance No. 16-116 (SG No. 26/2008) 

ТС 


	3.
	Ventilation

installations
	Inspection of new facilities/equipment and/or facilities/ equipment already in use/operation  
	- Air flow velocity;

- Air flow rate
	БДС 12.3.018

PПК 7.1-06
	Ordinance No. 15

(SG No. 68/2005) Ordinance No. 24

(SG No. 95/2003)

ТС

	4.
	Microclimate in working environments
	Inspection of new facilities/equipment and/or facilities/ equipment already in use/operation  


	- Relative air humidity

- Air temperature,

- Air velocity,
	Ordinance No. РД-07-3 

(SG No. 63/2014)

БДС 16686

PПК 7.1-07
	Ordinance No. 24

(SG No. 95/2003)

Ordinance No. 9

(SG No. 46/1994)

Ordinance No. 2

(SG Noд. 15/2007)

Ordinance No. 3

(SG No. 15/2007)

Ordinance No. 26

(SG No. 103/2008)

Ordinance No. РД-07-3 (SG No. 63/2014)

BDS 14776

ТС

	5.
	Artificial

lighting in working environments, residential and public use buildings
	Inspection of new facilities/equipment and/or facilities/ equipment already in use/operation  


	Illumination
	Methodical instructions 40 - 85

PПК 7.1-08
	Ordinance No. 24

(SG No. 95/2003)

Ordinance No. 2

(SG No. 15/2007)

Ordinance No. 3

(SG No. 15/2007)

Ordinance No. 26

(SG No. 103/2008)

Ordinance No. 9

(SG No. 46/1994)

Ordinance No. 49

(SG No. 7/1976)

BDS EN 12464-1

ТС 


* Introduction of new versions of standards/documents or superseding standards/documents is allowed. An updated list of standards/documents with their dated versions is maintained by the Conformity Assessment Body.

Legislation:

Ordinance No. 3 on the structure of electrical installations and power lines (SG No. 90 and No. 91/2004);

Ordinance No. 16-116 on the technical operation of electrical equipment (SG No. 26/2008); 

Ordinance No. 4 on the lightning protection of buildings, external facilities and open spaces (SG, No. 6/2011);
Methodical instructions 40-85: Methodical instructions for measurement and assessment of artificial lighting in buildings 40-85, Book of Methods, Volume IV, Standardization publishing house, 1985;

Ordinance No. 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG No. 46/1994);

Ordinance No. 2 on the health requirements for computer and internet centres for public use (SG No. 15/2007);

Ordinance No. 3 on the health requirements for kindergartens (SG No. 15/2007);

Ordinance No. 24 on the sanitary and hygienic requirements for discotheques (SG, No. 95/2003); 

Ordinance No. 49 on artificial lighting of buildings (SG No. 7/1976);

Ordinance No. 26 on the structure and the activity of kindergartens and children’s kitchens and the health requirements for them (SG No. 103/2008);

Ordinance No. РД-07-3 on the minimum requirements for the microclimate at workplaces (SG No. 63/2014);

Ordinance No. 15 on the technical rules and regulations for design, construction and operation of sites and facilities for production, transmission and distribution of heat (SG No. 68/2005). 

Technical specifications from the client.
52 А “Dr. G. M. Dimitrov” Blvd. 1797 Sofia Bulgaria

phone: +359 9766 401; fax: (+3592) 9766 415

e-mail: offICe@nab-bas.bg


Page 3 of 3

