SCOPE 306 ЛИ
Sofia, 05.04.2024
INSTITUTE OF FOOD PRESERVATION AND QUALITY, PLOVDIV
FOOD TESTING LABORATORY
Management address: 4003 Plovdiv, North District, 154 Vasil Aprilov Blvd. 
Laboratory address: 4003 Plovdiv, North District, 154 Vasil Aprilov Blvd. 

To perform testing of:
	Type of the scope: fixed

	№
	Tested products
	Type of test/ characteristic
	Testing methods
(standard/validated method)

	1
	2
	3
	4

	1.
	Canned meat, canned meat and vegetables
	1.1. Moisture / dry matter
	БДС 15437:1982

	
	
	1.2. pH
	БДС 11688:1993

	
	
	1.3. Free fat
	БДС 6997:1984

	
	
	1.4. Protein content according to Kjeldahl
	БДС 15438:1982

	
	
	1.5. Chlorides
	БДС 7168:1993 cl. 4
Method of Mohr

	
	
	1.6. Titratable acidity
	БДС 6996:1993 cl. 4
Routine method

	
	
	1.7. Carbohydrates
	ILM 3:2023 Intralaboratory method

	
	
	1.8. Energy value
	Regulation EU 1169/2011 Chapter IV, Section III, Art. 31, Annex XIV

	
	
	1.9. Mesophilic aerobic and facultative anaerobic microorganisms
	БДС 1035:1989

	
	
	1.10. Mesophilic anaerobic microorganisms
	БДС 1035:1989

	
	
	1.11. Thermophilic aerobic and facultative anaerobic microorganisms
	БДС 1035:1989

	
	
	1.12. Thermophilic anaerobic microorganisms
	БДС 1035:1989

	
	
	1.13. Moulds and yeasts
	БДС 1035:1989

БДС ISO 21527-1:2011

БДС ISO 21527-2:2011

	
	
	1.14. Clostridium perfringens
	БДС EN ISO 15213-2:2024

	
	
	1.15. Sulfite reducing Clostridia
	БДС EN ISO 15213-1:2023

	
	
	1.16. Salmonella (Salmonella spp.)
	БДС EN ISO 6579-1:2017/ A1:2020

	
	
	1.17. Coagulase positive

staphylococci (Staphylococcus aureus)
	БДС EN ISO 6888- 1:2021/ A1:2023

	
	
	1.18. Bacillus cereus
	БДС EN ISO 7932:2004/ A1:2020

	
	
	1.19. Coliforms
	ISO 4832:2006

	
	
	1.20. Enterobacteriaceae
	БДС EN ISO 21528-1:2017

БДС EN ISO 21528-2:2017

	
	
	1.21. Escherichia coli
	БДС ISO 16649-2:2014

	
	
	1.22. Total number of microorganisms
	БДС EN ISO 4833-1:2013/ A1:2022

БДС EN ISO 4833-2:2013/ A1:2022

БДС 1035:1989

	2.
	Fruits, vegetables and their products /canned fruits and vegetables; dried, chilled and frozen fruits and vegetables, concentrates, juices and 
sauces (1), 
Baby and diet food (2), 
Spices and teas (3)
	2.1. pH
	БДС 11688:1993 (1) (2)

	
	
	2.2. Free fat
	БДС 6997:1984(1) (2) (3)

	
	
	2.3. Protein
	БДС 14431:1978 (1) (2)

	
	
	2.4 Chlorides
	БДС 7168:1993 cl. 4 (1) (2) 

Method of Mohr

	
	
	2.5 Dry soluble residue / Soluble solids
	БДС 17257:1991 (1) (2) (3)

БДС EN 12143:2000 (1)

	
	
	2.6. Titratable acidity
	БДС 6996:1993 cl. 4 (1) (2) (3) 

Routine method

	
	
	2.7. Total ash
	БДС 7646:1982 (1) (2)

БДС ISO 928:2004 (3)

	
	
	2.8. Ash insoluble in 10% hydrochloric acid
	БДС 17317:1993 (1) (2)

БДС ISO 930:2004 (3)

	
	
	2.9. Ascorbic acid
	БДС 11812:1991 (1) (2)

cl. 1.1 

Titrimetric method

	
	
	2.10. Sorbic acid
	БДС 11712:1984 cl. 1 (1) (2)

Spectrophotometric method

	
	
	2.11. Benzoic acid
	БДС 11710:1988 (1) (2)

	
	
	2.12. Nitrates / nitrites
	БДС 16591:1987 (2)

	
	
	2.13. Carbohydrates, %
	ILM 3:2023 

	
	
	2.14. Energy value
	Regulation EU 1169/2011 Chapter IV, Section III, Art. 31, Annex XIV

	
	
	2.15. Colour of ASTA*
	БДС 466:1980 (3) cl. 4.2.1 Colour according to ASTA

	
	
	2.16. Mesophilic aerobic and facultative anaerobic microorganisms
	БДС 6916:1987

	
	
	2.17. Mesophilic anaerobic microorganisms
	БДС 6916:1987

	
	
	2.18. Thermophilic aerobic and facultative anaerobic microorganisms
	БДС 6916:1987

	
	
	2.19. Thermophilic anaerobic microorganisms
	БДС 6916:1987

	
	
	2.20. Moulds and yeasts
	БДС 6916:1987 

БДС ISO 21527-1, 2:2011

	
	
	2.21. Clostridium perfringens
	БДС EN ISO 15213-2:2024

	
	
	2.22. Sulfite reducing clostridia
	БДС EN ISO 15213-1:2023

	
	
	2.23. Salmonella (Salmonella spp.)
	БДС EN ISO 6579-1:2017/ A1:2020

	
	
	2.24. Coagulase positive staphylococci (Staphylococcus aureus)
	БДС EN ISO 6888-1:2022/ A1:2023

БДС EN ISO 6888-3:2005 +AC:2005

	
	
	2.25. Bacillus cereus
	БДС EN ISO 7932:2004/ A1:2020

	
	
	2.26. Coliforms
	ISO 4831:2006

ISO 4832:2006

	
	
	2.27. Enterobacteriaceae
	БДС ENISO 21528-1:2017

БДС EN ISO 21528-2:2017

	
	
	2.28. Escherichia coli
	БДС ISO 16649-2:2014

	
	
	2.29. Total number of microorganisms
	БДС EN ISO 4833-1:2013/ A1:2022

БДС EN ISO 4833-2:2013 /A1:2022 
БДС 6916:1987

	3.
	Washes and swabs from technological surfaces and personnel
	3.1. Total number of microorganisms
	БДС EN ISO 4833-1:2013/ A1:2022

БДС EN ISO 4833-2:2013/ A1:2022

	
	
	3.2. Coliforms
	ISO 4831:2006

ISO 4832:2006

	
	
	3.3. Escherichia coli
	БДС ISO 16649-2:2014

	
	
	3.4. Salmonella (Salmonella spp.)
	БДС EN ISO 6579-1:2017/ A1:2020

	
	
	3.5. Enterobacteriaceae
	БДС EN ISO 21528-2:2017

	
	
	3.6. Listeria monocytogenes
	БДС EN ISO 11290-1:2017

	
	
	3.7. Coagulase positive

staphylococci (Staphylococcus aureus)
	БДС EN ISO 6888-1:2022/ A1:2023

	4.
	Confectionery

	4.1. Moisture / dry matter
	БДС 5313:1985

	
	
	4.2. Total ash
	БДС 5313:1985

	
	
	4.3. Ash insoluble in 10% hydrochloric acid
	БДС 5313:1985

	
	
	4.4. Fat content
	БДС 5439:1985 cl. 2

Cold extraction

	
	
	4.5. Carbohydrates
	ILM 3:2023 Intralaboratory method

	
	
	4.6. Alkalinity / acidity
	БДС 5879:1979

	
	
	4.7. Content of nitrogen/protein
	БДС ISO 1871:2014

	
	
	4.8. Energy value
	Regulation EU 1169/2011 Chapter IV, Section III, Art.31, Annex XIV

	
	
	4.9. Total number of microorganisms
	БДС EN ISO 4833-1:2013/ A1:2022

БДС EN ISO 4833-2:2013/ A1:2022

	
	
	4.10. Coliforms
	ISO 4831:2006

ISO 4832:2006

	
	
	4.11. Escherichia coli
	БДС ISO 16649-2:2014

	
	
	4.12. Enterobacteriaceae
	БДС EN ISO 21528-1:2017

БДС EN ISO 21528-2:2017

	
	
	4.13. Bacillus cereus
	БДС EN ISO 7932-2004/ A1:2020

	
	
	4.14. Salmonella (Salmonella spp.)
	БДС EN ISO 6579-1:2017/ A1:2020

	
	
	4.15. Coagulase positive staphylococci (Staphylococcus aureus)
	БДС EN ISO 6888-1:2021/ A1:2023

БДС EN ISO 6888-3:2005 +AC:2005

	
	
	4.16. Sulfite reducing Clostridia
	БДС EN ISO 15213-1:2023

	
	
	4.17. Moulds and yeasts
	БДС ISO 21527-1:2011

БДС ISO 21527-2:2011

	5.
	Water - drinking, mineral, natural and bottled for drinking
	5.1. pH
	БДС 3424:1981 cl. 1

Potentiometric method

	
	
	5.2. Ammonium ions
	БДС 3587:1979 cl. 2.6.1 Quantitative method with Nessler’s reagent

	
	
	5.3. Total hardness
	БДС 3775:1987

	
	
	5.4. Sulphates
	БДС 3588:1977

	
	
	5.5. Total number of microorganisms
	БДС EN ISO 6222:2002

	
	
	5.6. Coliforms
	БДС EN ISO 9308-1:2014/ A1:2017

	
	
	5.7. Escherichia coli
	БДС EN ISO 9308-1:2014/ A1:2017

	
	
	5.8. Pseudomonas aeruginosa
	БДС EN ISO 16266:2008

	
	
	5.9. Clostridium perfringens
	БДС EN ISO 14189:2016

	
	
	5.10. Enterococci
	БДС EN ISO 7899- 2:2003

	6.
	Milk and dairy products
	6.1. Protein
	БДС 6231:1973 cl. 2.1

Kjeldahl method of arbitration

	
	
	6.2. Acidity
	БДС 1111:1980 cl. 4

Acidity according to Thorner

	
	
	6.3. Dry matter
	БДС 1109:1989

	
	
	6.4. Carbohydrates
	ILM 3:2023 Intralaboratory method

	
	
	6.5. Sodium chloride
	БДС 8274:1982 cl. 5

Method of Mohr

	
	
	6.6. Total number of microorganisms
	БДС EN ISO 4833-1:2013/ A1:2022

	
	
	6.7. Coliforms
	ISO 4831:2006

ISO 4832:2006

	
	
	6.8. Escherichia coli
	БДС ISO 16649-2:2014

	
	
	6.9. Coagulase positive

staphylococci (Staphylococcus aureus)
	БДС EN ISO 6888-1:2021/ A1:2023

	
	
	6.10. Sulfite reducing Clostridia
	БДС EN ISO 15213-1:2023

	
	
	6.11. Salmonella (Salmonella spp.)
	БДС EN ISO 6579-1:2017/ A1:2020

	
	
	6.12. Listeria monocytogenes
	БДС EN ISO 11290-1:2017

БДС EN ISO 11290-2:2017

	
	
	6.13. Moulds and yeasts
	БДС ISO 6611:2006

	7.
	Nuts, oilseeds and their products
	7.1. Oil content
	БДС EN ISO 659:2009 
БДС 12896:1975

	
	
	7.2. Total ash
	БДС ISO 749:2003

	
	
	7.3. Carbohydrates
	ILM 3:2023 Intralaboratory method

	
	
	7.4. Moisture and volatile substances
	БДС EN ISO 665:2020

	
	
	7.5. Bacillus cereus
	БДС EN ISO 7932:2004/ A1:2020

	
	
	7.6. Sulfite reducing Clostridia
	БДС EN ISO 15213-1:2023

	
	
	7.7. Total number of microorganisms
	БДС EN ISO 4833-1:2013/ A1:2022

	
	
	7.8. Coliforms
	ISO 4831:2006

ISO 4832:2006

	
	
	7.9. Escherichia coli
	БДС ISO 16649-2:2014

	
	
	7.10. Salmonella (Salmonella spp.)
	БДС EN ISO 6579- 1:2017/ A1:2020

	
	
	7.11. Coagulase positive staphylococci (Staphylococcus aureus)
	БДС EN ISO 6888-1:2021/ A1:2023

	
	
	7.12. Moulds and yeasts
	БДС ISO 21527-1:2011

	
	
	7.13. Enterobacteriaceae
	БДС EN ISO 21528-1:2017

БДС EN ISO 21528-2:2017


*Repealed but not replaced standard.
References:

- ILM 3:2023 Intralaboratory method - Method for determination of the content of carbohydrates in food
- Regulation (EU) № 1169/2011 of the European Parliament and of the Council of 25.10.2011 on the provision of food information to consumers, Annex XIV, Art. 31, Chapter III.
[image: image1.png]



52 А “Dr. G. M. Dimitrov” Blvd. 1797 Sofia Bulgaria
phone: +359 2 9766 401; fax: (+3592) 9766 415

e-mail: office@nab-bas.bg
       EA BAS                                      05.04.2024
                                    3/3

