ORDER 
No. A 88
Sofia, 28.02.2024
[bookmark: _GoBack]To perform inspection of:
	Scope type: Flexible*

	№

	Field of Inspection
	Type of Inspection
	Parameter of Inspection / Characteristic
	Test and Measurement Methods Used During Inspection
	Regulations, Standards,
Specifications, Schemes

	1
	2
	3
	4
	5
	6

	
1.


	
Ventilation facilities

	
Of new/operating sites/facilities 
	
Speed of air flow 
Air flow-rate
	
БДС 12.3.018
ПК 12
	Ordinance No 15, SG, issue 68/2005;
Ordinance No 24, SG, issue 95/2003
TS

	
	
	
	
Pressure (overall, static and dynamic)
	
БДС 12.3.018
ПК 12
	
TS

	2.
	Microclimate in working and household environment
	Of new and/or operational sites/facilities
	Air temperature; Relative humidity; 
Speed of air movement
	БДС 16686
Ordinance No. РД-07-3 SG, issue 63/2014
ПК 9
	Ordinance No 2, SG, issue 15/2007
Ordinance No 3, SG, issue 15/2007
Ordinance No 9, SG, issue 46/1994
Ordinance No 24, SG, issue 95/2003
Ordinance No. 26, SG, issue 103/2008
Ordinance No. РД-07-3, SG, issue 63/2014
БДС 14776
TS



	3.
	Artificial lighting in working and household environment
	On new and/or operational sites/facilities
	Lightening
	Methodical instructions for measurement and assessment of artificial illumination in buildings 1985
ПК 11

	Ordinance No 49 
SG, issue 7/1976; 
Ordinance No 24 
SG, issue 95/2003; 
Ordinance No 9
SG, issue 46/1994; 
Ordinance No 2 
SG, issue 15/2007; 
Ordinance No. 26 
SG, issue 103/2008; 
Ordinance No 3 
SG, issue 15/2007; 
БДС EN 12464 
TS 

	4.
	Noise in working environment
	Of new/ operating sites/facilities
	Daily level of noise exposition (dBA);
Average weekly level of noise exposition (dBA) 
Peak level of sound pressure (dBC)
	БДС EN ISO 9612 
(БДС ISO 1999);
ПК 10
	Ordinance No. 6
SG, issue 70 /2005;
TS


    *The introduction of new version of standards/documents or standards/documents which substitute them is permitted. Current list of standards/documents with their dated versions is submitted by OСС.

Ordinance No.РД-07-3 -for the minimum requirements for the microclimate at workplaces SG, issue 63/10.08.2014; 
Ordinance No. 2- for the health requirements at computer and internet premises for public use SG, issue 15/2007;
Ordinance No. 3- for the health requirements for kindergartens SG issue 15/2007;
Ordinance No. 6- for the minimum requirements for ensuring health and safety of the persons working at risks relevant to the noise exposition SG issue 70/2005;
Ordinance No. 9- for the health and hygiene requirements for the use of personal computers in education and extracurricular activities of students SG, issue 46/1994; 
Ordinance No. 15- for the technical rules and regulations for designing, building and operation of sites and facilities for production, transmission and distribution of heat energy SG, issue 68/2005; 
Ordinance No 24 – for the sanitary and hygienic requirements for nightclubs SG, issue 95/2003; 
Ordinance No 26- for the settlement and activities of kindergartens  and child catering and health requirements at them SG issue 103/2008;
Ordinance No. 49- for the artificial illumination of buildings SG, issue 7/1976; 
Methodical guidelines for the measurement and assessment of artificial illumination in buildings 40-85, Standartizatsia Publishing House, 1985 

